Government of Newfoundland and Labrador

Environment and Climate Change

Water Resources Management Division

r

Instructions: All applicants must complete items 1-11. Complete sections 12-17 as applicable. This form along with the Fee Schedule and drawings must be sent to the appropriate regional office.  For projects located in the Central, Western and Labrador regions, a duplicate submission must be sent to the St. John’s office, Attention Ms. Deneen Spracklin, P. Eng.  No duplicate submission is required for projects located in the Eastern region.  For more direction on the regulatory review process, refer to Section 1 of the Guidelines for the Design, Construction and Operation of Water and Sewerage Systems.

Notice: Please be advised that, in accordance with Government’s Proactive Disclosure Initiative, your permit will be posted online subject to any exceptions to disclosure provided under the Access to Information and Protection of Privacy Act, 2015.

A. General

As required under Sections 36, 37 and/or 48 of the Water Resources Act, SNL 2002, cW-4.01, the undersigned as owner or agent do hereby apply for your permission for the construction and installation of:

1.

2.	Name & address of proponent (owner) including contact person:

3.	Email address of proponent (owner):

4.	Location of project:

5.	Project description:

6.	Predesign report: Year: 				Author:

7.	Total service population: 	To date:				This project:							Future:

8.	Status of units for servicing:		Type					No. to date			This project		Future

House

School

Medical Institution

Industrial

Other (specify)

Number of units for water service only:				 	   Sanitary survey conducted:

9.    Permit Fee Submitted: $			 		Cheque #:

10.	Date:								Signature:

(If signed by an agent, attach written authorization duly executed by owner)

11.	Email address of Engineering Consultant (agent):

B. Water System

12.	Details of Water Source and Distribution System

Source:

Available yield: 									 (m3/day)    Source Reservoir Storage: 								 (m3)

Type (gravity or pumped):

Bacteriological condition of source:									Testing results submitted:

Chemical/physical water quality of source:								Testing results submitted:

Treatment proposed :																				  (Complete Section 11)

Type of disinfection proposed:											 Contact time provided: 						 (min.)

Future flows: estimated 				 (m3/day)   Present demand: estimated or metered (circle) 						 (m3/day)

Distribution system storage proposed (type): 												  Volume: 				 (m3)

Location of tank (Lat/Long):

Tank dimensions (w/l/h, h/d): 															  Tank Fill Rate: 				 (L/s)

Tank foundation elevation (m):				  Max tank water level (m):			  Min tank water level (m):

Expected tank residence time: 				    Tank mixing system: 					Chlorination booster:

Estimated line pressure: 				 (kPa)  Fire flows proposed: 					Hydrants for this project:

Noted problems:

13.	Water Treatment Plants:

Treatment Objective:

Treatment process proposed (e.g. conventional, membrane, etc.):

Plant capacity: 		 (m3/day)	Maximum daily demand: 		 (m3)	Design period:  		 (yrs)	Storage: 			 (m3)

Pretreatment:

Process description:

Disinfection:	Chlorination □		UV □		Other

Corrosion control proposed:     Soda ash □	  Lime □		Soda ash/lime combination □	Other:

Estimated sludge production: 				 (m3/year)	Sludge disposal:

Testing facilities at plant: 											Sanitary facilities:

Backflow prevention device(s) proposed:

Comments/other details:

C. Wastewater System

14.	Sanitary Sewers:

Sewage characteristics:	Domestic		Schools			Institutional  			Industrial		Other

% of total

BOD5 (mg/l)

TSS  (mg/l)

Technical study completed (if yes, study name and date):

Proposed sewer flows: 			 (l/s)  Capacity of receiving sewer  			(l/s) Condition of receiving sewer:

Storm water problems:

Location of new outfall (Lat/Long)

Length of outfall from last manhole: 				 (m)	  Depth of water cover over outfall pipe at LNT: 		  (m)

Serviced area: 					 (Ha)	Total flow: 						 (m3/day)

Outfall area description: (pond/river/harbour/ocean, dispersion, dilution, tidal action, prevailing winds, etc.)

Existing or potential problems (shoreline impacts, fisheries impacts, damaged outfall, etc.)

15.	Sewage Lift Stations	Number: 					Type (wet/dry/suction lift)

Capacity of each (l/s) 									Estimated load on each (l/s)

Location of new or upgraded lift station (Lat/Long):

Is there an overflow on the new or upgraded lift station (yes/no):

Provisions for electrical/mechanical failure

16.	Wastewater Treatment Plants:

Treatment process proposed (e.g. activated sludge, fixed film, etc.):

Plant capacity:	Hydraulic 			 (m3/day)	Organic BOD5 			 (kg/day)		TSS  		(kg/day)

Plant loading: 	Hydraulic: Average 			 (m3/day)		Peak: 				 (m3/day)

Organic: 			 (kg/day BOD5)		Industrial loading:			 (kg/day BOD5)		TSS  		(kg/day)

Included components (check ):

Pre/Primary:	 Bar screen □			Grit chamber □ 			Comminutor □		Microscreening □ 		Primary clarifier □

Secondary:		Extended aeration □	 	Contact stabilization □	Sequencing batch reactor □ 	Aerated lagoon □

Wetland □	  Rotating biological contactor □	Other

Disinfection:	Chlorination/dechlorination □			UV □		Other

Estimated sludge production 				 (m3/year)	Sludge digestion:	 Aerobic □		Anaerobic □   	None □

Sludge disposal

Provision for winter operation (enclosure, etc.)

Testing facilities at plant 											Sanitary facilities

Potable water provided:	Yes □	No □	If yes, backflow prevention device(s) proposed:

Proximity to residential/recreational areas:

Discharge location & area description: (pond/river/harbour/ocean, dispersion, dilution, tidal action, prevailing winds, etc.)

Existing and potential problems (shoreline impacts, fisheries impacts, damaged outfall, etc.)

D. Alterations to a Water Body

17.	Pipelines Crossing Streams

Included on drawings (check)	General site plan □		Cross-sectional plan □ 		Profile □

Location: (Lat/Long)

Channel slope 				Depth below stream bed  			 (m)

Physical description of stream bottom:

Material type:	Clay □ 	  	Sand □ 		Gravel □		Cobble □ 		Boulder □

Presence of vegetation: 		None □		Sparse □		Moderate □		Heavy □

Particle size: 		 (mm)			Depth to bedrock: 		 (m)		Manning(s n:

Hydraulic description:

Minimum flow: 			 (m3/s) 		Minimum velocity: 			 (m/s)

Maximum flow:			 (m3/s)		Maximum velocity:			 (m/s)

Construction Details (include method of dewatering, diversion, etc.)

If additional details are needed on the required information, please contact

Deneen Spracklin, P. Eng. at (709) 729-1158 or dspracklin@gov.nl.ca