## Disinfectant Analysis
Town of : | Any Town | [6 empty] | Town of : | Any Town
Hypochlorite Liquid | [7 empty] | Chlorine Gas
Commencement Year: |  |  | 2005
Annual Inflation Rate: |  |  | 1% |  |  |  |  | Annual Inflation Rate: |  |  | 1%
Rate of return |  |  | 5% |  |  |  |  | Rate of return |  |  | 5%
Annual Interest Rate: |  |  | 10% |  | 16925.5211 |  |  | Annual Interest Rate: |  |  | 10% |  | 35153.0053
Annual Consumption Growth Rate: |  |  | 1.5% |  |  |  |  | Annual Consumption Growth Rate: |  |  | 1.5%
Average Flow Rate: |  |  | 2.5 | L/S |  |  | ` | Average Flow Rate: |  |  | 2.5 | L/S
Dosage: |  |  | 5 | mg/l |  |  |  | Dosage: |  |  | 5 | mg/l
Capital Cost: |  |  | 104000 |  |  |  |  | Capital Cost: |  |  | 216000
Cost of Chlorine per litre |  |  | 1.24 |  |  |  |  | Cost of Chlorine per lb |  |  | 1
Concentration of Liquid Chlorine |  |  | 10.5%
Maintenance Cost 1st Year |  |  | 2340 |  |  |  |  | Maintenance Cost 1st Year |  |  | 1740
| Capital |  |  |  | Consumption | Cost per |  |  | Capital |  |  |  | Consumption | Cost per
Year | Cost | Chlorine | Maintenance | Total | CM | CM |  | Year | Cost | Chlorine | Maintenance | Total | CM | CM
2005 | 16925.5211 | 4046.9974 | 2340 | 23312.5185 | 78750 | 0.29603 |  | 2005 | 35153.0053 | 866.25 | 1740 | 37759.2553 | 78750 | 0.47948
2006 | 16925.5211 | 4310.0522 | 2363.4 | 23598.9733 | 79931.25 | 0.29524 |  | 2006 | 35153.0053 | 922.5563 | 1757.4 | 37832.9615 | 79931.25 | 0.47332
2007 | 16925.5211 | 4374.703 | 2387.034 | 23687.2581 | 81130.2187 | 0.29197 |  | 2007 | 35153.0053 | 936.3946 | 1774.974 | 37864.3739 | 81130.2187 | 0.46671
2008 | 16925.5211 | 4440.3235 | 2410.9043 | 23776.749 | 82347.172 | 0.28874 |  | 2008 | 35153.0053 | 950.4405 | 1792.7237 | 37896.1695 | 82347.172 | 0.4602
2009 | 16925.5211 | 4506.9284 | 2435.0134 | 23867.4629 | 83582.3796 | 0.28556 |  | 2009 | 35153.0053 | 964.6971 | 1810.651 | 37928.3534 | 83582.3796 | 0.45378
2010 | 16925.5211 | 4574.5323 | 2459.3635 | 23959.4169 | 84836.1153 | 0.28242 |  | 2010 | 35153.0053 | 979.1676 | 1828.7575 | 37960.9304 | 84836.1153 | 0.44746
2011 | 16925.5211 | 4643.1503 | 2483.9572 | 24052.6285 | 86108.657 | 0.27933 |  | 2011 | 35153.0053 | 993.8551 | 1847.0451 | 37993.9054 | 86108.657 | 0.44123
2012 | 16925.5211 | 4712.7976 | 2508.7967 | 24147.1154 | 87400.2869 | 0.27628 |  | 2012 | 35153.0053 | 1008.7629 | 1865.5155 | 38027.2837 | 87400.2869 | 0.43509
2013 | 16925.5211 | 4783.4895 | 2533.8847 | 24242.8953 | 88711.2912 | 0.27328 |  | 2013 | 35153.0053 | 1023.8944 | 1884.1707 | 38061.0703 | 88711.2912 | 0.42904
2014 | 16925.5211 | 4855.2419 | 2559.2235 | 24339.9865 | 90041.9606 | 0.27032 |  | 2014 | 35153.0053 | 1039.2528 | 1903.0124 | 38095.2704 | 90041.9606 | 0.42308
PW | 130694.3872 | 34694.393 | 18828.6835 | 184217.4637 | 842839.3314 |  |  | PW | 271442.1888 | 7426.2509 | 14000.8159 | 292869.2556 | 842839.3314
Total PW |  |  | 184217.4637 |  |  |  |  | Total PW |  |  | 292869.2556
Equivalent Annual Cost |  |  | 23857.0043 |  |  |  |  | Equivalent Annual Cost |  |  | 37927.9085
Ave Cost Per Cubic Meter |  |  | 0.28306 |  |  |  |  | Ave Cost Per Cubic Meter |  |  | 0.45
Ave Cost per 1000 Imp Gal |  |  | 1.2871 |  |  |  |  | Ave Cost per 1000 Imp Gal |  |  | 2.0462
Note:
Note: | [7 empty] | 1. Capital costs include building, electrical, mechancial & Chlorination costs.
1. Capital costs include building, electrical, mechancial & Chlorination costs. | [7 empty] | 2. Costs which are the same for both gas & sodium hypochlorite systems are not considered
2. Costs which are the same for both gas & sodium hypochlorite systems are not considered | [7 empty] | (i.e. power supply costs, building heating costs).
(i.e. power supply costs, building heating costs).
|  |  | Page 1 | [7 empty] | Page 2

## Sheet2
TOWN OF: | 0
SENSITIVITY ANALYSIS
CHANGE IN PRESENT WORTH
Variable |  | Gas |  |  | Hypochrorite
| +25% | 0% | -25% | +25% | 0% | -25%
Capital Cost | #REF! | #REF! | #REF! | 292869.2556 | 184217.4637 | #REF!
Dosage | #REF! | #REF! | #REF! | #REF! | 184217.4637 | #REF!
Average Flow Rate | #REF! | #REF! | #REF! | #REF! | 184217.4637 | #REF!
Consumption Growth Rate | #REF! | #REF! | #REF! | #REF! | 184217.4637 | #REF!
Interest Rate | #REF! | #REF! | #REF! | #REF! | 184217.4637 | #REF!
Inflation Rate | #REF! | #REF! | #REF! | 184401.6812 | 184217.4637 | 184033.2462
% CHANGE IN PRESENT WORTH
Variable |  | Gas |  |  | Hypochrorite
| +25% | 0% | -25% | +25% | 0% | -25%
Capital Cost | #REF! | 0% | #REF! | 58.98% | 0% | #REF!
Dosage | #REF! | 0% | #REF! | #REF! | 0% | #REF!
Average Flow Rate | #REF! | 0% | #REF! | #REF! | 0% | #REF!
Consumption Growth Rate | #REF! | 0% | #REF! | #REF! | 0% | #REF!
Interest Rate | #REF! | 0% | #REF! | #REF! | 0% | #REF!
Inflation Rate | #REF! | 0% | #REF! | 0.1% | 0% | -0.1%
OBSERVATIONS:

## Sheet3
Change in Dosage |  | Increase by 25 %
Town of : | AnyTown
HYPOCHLORITE - Projected Cash Flow vs Gas
Commencement Year: |  |  | 2005
Annual Inflation Rate: |  |  | 1%
Annual Interest Rate: |  |  | 10% |  | 16925.5211
Annual Consumption Growth Rate: |  |  | 1.5%
Average Flow Rate: |  |  | 2.5 | I/S
Dosage: |  |  | 10 | mg/l
Capital Cost: |  |  | 104000
Cost of Chlorine Ist Year |  |  | 1.55
Maintenance Cost 1st Year |  |  | 712
Consumption CM |  |  | 78840
| Capital |  |  |  | Consumption | Cost per
Year | Cost | Chlorine | Maintenance | Total | CM | CM
2005 | 16925.5211 | 1.55 | 712 | 17639.0711 | 78840 | 0.22373
2006 | 16925.5211 | 1.5887 | 1424 | 18351.1098 | 80022.6 | 0.22932
2007 | 16925.5211 | 1.6126 | 2136 | 19063.1336 | 81222.939 | 0.2347
2008 | 16925.5211 | 1.6368 | 2848 | 19775.1578 | 82441.2831 | 0.23987
2009 | 16925.5211 | 1.6613 | 3560 | 20487.1824 | 83677.9023 | 0.24483
2010 | 16925.5211 | 1.6862 | 4272 | 21199.2073 | 84933.0709 | 0.2496
2011 | 16925.5211 | 1.7115 | 4984 | 21911.2326 | 86207.0669 | 0.25417
2012 | 16925.5211 | 1.7372 | 5696 | 22623.2583 | 87500.1729 | 0.25855
2013 | 16925.5211 | 1.7633 | 6408 | 23335.2843 | 88812.6755 | 0.26275
2014 | 16925.5211 | 1.7897 | 7120 | 24047.3108 | 90144.8657 | 0.26676
PW | 104000 | 10.1615 | 20673.5674 | 124683.7289 | 843802.5763
Total PW |  |  | 124683.7289
Equivalent Annual Cost |  |  | 20291.7027
Ave Cost Per Cubic Meter |  |  | 0.24048
Ave Cost per 1000 Imp Gal |  |  | 1.0935
Note:
1. Capital costs include building,electrical,mechancial & Chlorination costs.
2. Costs which are the same for both gas & sodium hypochlorite systems are not considered
(i.e. power supply costs, building heating costs).
Change in Dosage |  | Decrease by 25 %
Town of : | AnyTown
HYPOCHLORITE - Projected Cash Flow vs Gas
Commencement Year: |  |  | 2005
Annual Inflation Rate: |  |  | 1%
Annual Interest Rate: |  |  | 10% |  | 16925.5211
Annual Consumption Growth Rate: |  |  | 1.5%
Average Flow Rate: |  |  | 2.5 | I/S
Dosage: |  |  | 10 | mg/l
Capital Cost: |  |  | 104000
Cost of Chlorine Ist Year |  |  | 0.93
Maintenance Cost 1st Year |  |  | 712
Consumption CM |  |  | 78840
| Capital |  |  |  | Consumption | Cost per
Year | Cost | Chlorine | Maintenance | Total | CM | CM
2005 | 16925.5211 | 0.93 | 712 | 17638.4511 | 78840 | 0.22372
2006 | 16925.5211 | 0.95325 | 1424 | 18350.4743 | 80022.6 | 0.22932
2007 | 16925.5211 | 0.96755 | 2136 | 19062.4886 | 81222.939 | 0.23469
2008 | 16925.5211 | 0.98206 | 2848 | 19774.5031 | 82441.2831 | 0.23986
2009 | 16925.5211 | 0.99679 | 3560 | 20486.5179 | 83677.9023 | 0.24483
2010 | 16925.5211 | 1.0117 | 4272 | 21198.5328 | 84933.0709 | 0.24959
2011 | 16925.5211 | 1.0269 | 4984 | 21910.548 | 86207.0669 | 0.25416
2012 | 16925.5211 | 1.0423 | 5696 | 22622.5634 | 87500.1729 | 0.25854
2013 | 16925.5211 | 1.058 | 6408 | 23334.579 | 88812.6755 | 0.26274
2014 | 16925.5211 | 1.0738 | 7120 | 24046.5949 | 90144.8657 | 0.26676
PW | 104000 | 6.0969 | 20673.5674 | 124679.6643 | 843802.5763
Total PW |  |  | 124679.6643
Equivalent Annual Cost |  |  | 20291.0412
Ave Cost Per Cubic Meter |  |  | 0.24047
Ave Cost per 1000 Imp Gal |  |  | 1.0934
Note:
1. Capital costs include building,electrical,mechancial & Chlorination costs.
2. Costs which are the same for both gas & sodium hypochlorite systems are not considered
(i.e. power supply costs, building heating costs).
Change in Dosage |  | Increase by 25 %
Town of : | AnyTown
Chlorine Gas - Projected Cash Flow VS Hypochlorite
Annual Inflation Rate: |  |  | 1%
Annual Interest Rate: |  |  | 10% |  | #REF!
Annual Consumption Growth Rate: |  |  | 1.5%
Average Flow Rate: |  |  | 2.5 | L/S
Dosage: |  |  | 10 | mg/l
Capital Cost: |  |  | #REF!
Cost of Chlorine Ist Year |  |  | #REF!
Maintenance Cost 1st Year |  |  | 909
Consumption CM |  |  | 78840
| Capital |  |  |  | Consumption | Cost per
Year | Cost | Chlorine | Maintenance | Total | CM | CM
2005 | #REF! | #REF! | 909 | #REF! | 78840 | #REF!
2006 | #REF! | #REF! | 1818 | #REF! | 80022.6 | #REF!
2007 | #REF! | #REF! | 2727 | #REF! | 81222.939 | #REF!
2008 | #REF! | #REF! | 3636 | #REF! | 82441.2831 | #REF!
2009 | #REF! | #REF! | 4545 | #REF! | 83677.9023 | #REF!
2010 | #REF! | #REF! | 5454 | #REF! | 84933.0709 | #REF!
2011 | #REF! | #REF! | 6363 | #REF! | 86207.0669 | #REF!
2012 | #REF! | #REF! | 7272 | #REF! | 87500.1729 | #REF!
2013 | #REF! | #REF! | 8181 | #REF! | 88812.6755 | #REF!
2014 | #REF! | #REF! | 9090 | #REF! | 90144.8657 | #REF!
PW | #REF! | #REF! | 26393.6415 | #REF! | 843802.5763
Total PW |  |  | #REF!
Equivalent Annual Cost |  |  | #REF!
Ave Cost Per Cubic Meter |  |  | #REF!
Ave Cost per 1000 Imp Gal |  |  | #REF!
Note:
1. Capital costs include building,electrical,mechancial & Chlorination costs.
2. Costs which are the same for both gas & sodium hypochlorite systems are not considered
(i.e. power supply costs, building heating costs).
Change in Dosage |  | Decrease by 25 %
Town of : | #REF!
Chlorine Gas - Projected Cash Flow VS Hypochlorite
Annual Inflation Rate: |  |  | 1%
Annual Interest Rate: |  |  | 10% |  | #REF!
Annual Consumption Growth Rate: |  |  | 1.5%
Average Flow Rate: |  |  | 2.5 | L/S
Dosage: |  |  | 10 | mg/l
Capital Cost: |  |  | #REF!
Cost of Chlorine Ist Year |  |  | #REF!
Maintenance Cost 1st Year |  |  | 909
Consumption CM |  |  | 78840
| Capital |  |  |  | Consumption | Cost per
Year | Cost | Chlorine | Maintenance | Total | CM | CM
0 | #REF! | #REF! | 909 | #REF! | 78840 | #REF!
1 | #REF! | #REF! | 1818 | #REF! | 80022.6 | #REF!
2 | #REF! | #REF! | 2727 | #REF! | 81222.939 | #REF!
3 | #REF! | #REF! | 3636 | #REF! | 82441.2831 | #REF!
4 | #REF! | #REF! | 4545 | #REF! | 83677.9023 | #REF!
5 | #REF! | #REF! | 5454 | #REF! | 84933.0709 | #REF!
6 | #REF! | #REF! | 6363 | #REF! | 86207.0669 | #REF!
7 | #REF! | #REF! | 7272 | #REF! | 87500.1729 | #REF!
8 | #REF! | #REF! | 8181 | #REF! | 88812.6755 | #REF!
9 | #REF! | #REF! | 9090 | #REF! | 90144.8657 | #REF!
PW | #REF! | #REF! | 26393.6415 | #REF! | 843802.5763
Total PW |  |  | #REF!
Equivalent Annual Cost |  |  | #REF!
Ave Cost Per Cubic Meter |  |  | #REF!
Ave Cost per 1000 Imp Gal |  |  | #REF!
Note:
1. Capital costs include building,electrical,mechancial & Chlorination costs.
2. Costs which are the same for both gas & sodium hypochlorite systems are not considered
(i.e. power supply costs, building heating costs).