## Manganese Assessment Tool (MAS) (hidden)
Instructions:
Manganese Assessment Tool (MAS) | 1) Click on blue cells and click on the drop down tab |  | Glossary:
| 2) Select the appropriate response for each step |  | Valid CM | Corrective Measures is valid with current source water/treatment process
3) Proceed through workbook and answer all steps
Source Water Characteristics | 4) Valid Corrective measures will appear in green |  | Valid CM with pH Adjustment | Corrective Measures is valid with the addition of a pH adjustment system
Water Source | 5) If no valid entries appear, insuffecient information provided
Number of Sources | 6) Attempt to obtain more water quality information to inform the assessment tool. If no valid entrie still appear a full assessment may be required. |  | Valid CM with Pretreatment | Corrective Measures is valid with the addition of treatment processes prior to the CM
Anoxic Hypoliminion *
Lake Turnover * |  |  | Valid CM with pH Adjust. & Pretreatment | CM is valid with the addition of a pH adjustment system and treatment processes prior to the CM
Contaminant Properties | Corrective Measures (CM) |  | Invalid CM | Corrective Measures is invalid with current source water/treatment process
Manganese Species | Selective Pumping | Invalid CM
Manganese Concentration
Frequency of Occurence | New Source Well(s) | Invalid CM
Existing Infastructure | Hypolimnetic Aeration | Invalid CM
Pre-Screening
Pre-Oxidation | Chemical Oxidation | Invalid CM
Coagualtion
Flocculation | Greensand Filter | Invalid CM
Clarification
Filtration | Multimedia + Greensand Filter | Invalid CM
Membrane
Chlorination | Ion Exchange | Invalid CM
Plant Flows | Prefiltration + Ion Exchange | Invalid CM
Flows
| PWDU/RO | Invalid CM
Water Parameters of Concern
pH | Adsorption | Invalid CM
Turbidity
Iron
DOC
* only relevant for surface water sources

## Arsenic Assessment TOOL (AAS) (hidden)
Arsenic Assessment Tool (AAS) | Instructions: |  | Glossary:
| 1) Click on blue cells and click on the drop down tab |  | Valid CM | Corrective Measures is valid with current source water/treatment process
2) Select the appropriate response for each step
Source Water Characteristics | 3) Proceed through workbook and answer all steps |  | Valid CM with pH Adjustment | Corrective Measures is valid with the addition of a pH adjustment system
Water Source | 4) Valid Corrective measures will appear in green
Number of Sources | 5) If no valid entries appear, insuffecient information |  | Valid CM with Pretreatment | Corrective Measures is valid with the addition of treatment processes prior to the CM
6) Attempt to obtain more water quality information to inform the assessment tool. If no valid entrie still appear a full assessment may be required.
Contaminant Properties |  |  | Valid CM with pH Adjust. & Pretreatment | CM is valid with the addition of a pH adjustment system and treatment processes prior to the CM
Arsenic Compound
Arsenic Species |  |  | Invalid CM | Corrective Measures is invalid with current source water/treatment process
Arsenic Concentration
Frequency of Occurence | Corrective Measures (CM)
| Selective Pumping | Invalid CM
Existing Infastructure
Pre-Screening | New Source Well(s) | Invalid CM
Pre-Oxidation
Coagualtion | Ion Exchange (IX) | Invalid CM
Flocculation
Clarification | Conventional Treatment | Invalid CM
Filtration
Membrane | Iron/Manganese Oxidation | Invalid CM
Chlorination
| Lime Softening | Invalid CM
Plant Flows
Flows | Adsoprtion Media | Invalid CM
Water Parameters of Concern | Cogulation Assissted Microfiltration | Invalid CM
pH
Turbidity | PWDU/RO | Invalid CM
Iron
Manganese
TDS
Sulfate
Calcium
Hardness
DOC

## Lead Assessment Tool
Lead Assessment Tool (LAS) |  |  | Glossary:
| Instructions: |  | Valid CM | Corrective Measures is valid with current source water/treatment process
Town: | 1) Click on blue cells and click on the drop down tab
2) Select the appropriate response for each step
Source Water Characteristics | 3) Proceed through workbook and answer all steps |  | Invalid CM | Corrective Measures is invalid with current source water/treatment process
Water Source | 4) Valid Corrective measures will appear in green
Number of Sources | 5) Inputting more information will provide a more detailed analysis and eliminate invalid CM's
Contaminant Properties | 6) If no valid entries appear, a full assessment may be required.
Lead Location
Lead Concentration
Frequency of Occurence
Corrective Measures (CM)
Existing Infastructure | pH Adjustment | Valid CM
Screening
Pre-Oxidation | Corrosion Inhibitor | Valid CM
Conventional Treatment
Membrane | Lead Service Line (LSL) Replacement | Valid CM
Chlorination
pH Adjustment | POU/POE Lead Filters | Valid CM
Plant Flows | Ion Exchange | Valid CM
Flows
| Reverse Osmosis | Valid CM
Water Parameters of Concern
pH
Turbidity
DOC

## WQ Data
Community:
Source:
Date:
Parameter | Units
Alkalinity | mg/L
Colour | TCU
Conductivity | uS/cm
Hardness | mg/L
pH
TDS | mg/L
Turbidity | NTU
DOC | mg/L
Iron | mg/L
Manganese | mg/L
Lead | mg/L
Calcium | mg/L
Sulphate | mg/L

## Technology Description
Technology Descriptions (Lead)
pH Adjustment | Corrosion Inhibitor | LSL & Lead Watermain Replacement
Corrosive water will react with lead piping and increase the rate of release of harmful lead ions. Corrosive water is caused by a variety of factors, including low pH (acidic). Surface water in Newfoundland and Labrador is generally characterized as being low pH and corrosive. As such, in drinking water systems with a low pH source water, pH adjustment can be added to boost the pH of the treated water and decrease the overall corrosivity. The decreased corrosivity will slow the release of lead from lead piping, but will not completely eliminate it. | Corrosive water will react with lead piping and increase the rate of release of harmful lead ions. Corrosion inhibitors are chemical additives that can be added to drinking water to reduce negative corrosive effects, including the release of lead from lead piping. Various corrosion inhibitor chemicals/products exist, including phosphates, silicates, and carbonates. Corrosion inhibitors will only slow the release of lead into a drinking water system and does not eliminate the source (lead piping). | One of the most common sources of lead in drinking water is a result of leaching from lead pipes and plumbing. The removal of lead service lines (LSL), lead watermains and lead plmubing is the most effective method to garuntee the removal of lead from a drinking water system. However, the repalcement of lead piping can be an expensive endevour depeding on the system. Moreover, the onus is on citizens to pay for any replacement to lead piping on private properties (Private LSL's and internal house plumbing) and can be
POU/POE Lead Filters | Ion Exchange | Reverse Osmosis
Point of use (POU) and point of entry (POE) filters are drinking water filters that are used in households at the point where water is being consumed (faucets, water dispenser, water pitchers). A variety of POU/POE filters exist and are designed to remove an assortment of water quality parameters. POU/POE filters designed specifically for the removal of lead exist and are an effective way to remove lead without the need for large water infastrucutre upgrades. POU/POE lead filters become exhausted overtime and will require regular replacement to ensure the continued removal of lead. | Ion exchange (IX) is a treatment process in which undesirable ions, including lead, exchange places with a harmless ion on a solid exchange resin. The cationic exchange occurs on a continuous basis until the media is exhausted. Once exhaustion is reached, the resin undergoes a recharge phase to remove the target ion from the media and replace it with harmless ion. Various natural ions will compete with lead for adsorption on the resin. As such, in source waters with high turbidity, prefiltration can significantly improve IX performance. | Reverse osmosis (RO) is a water filtration method that can address a variety of water quality issues. RO systems uses high pressue to push water throught an osmosis membrane, whilst simultaneously removing undesirable contaminants. RO systems are capable of removing lead from source water and function best with a low turbidity and low DOC water supply. As such, RO generally works best with groundwater systems or surface water that has undergone a prefiltration step.

## Lead data
source water characteristics | Plant Flows
Surface Water | < 35 L/min
Ground Water | > 35 L/min
Mixed
Unsure | pH
> 10
Number of Sources | 8-10
1 | 6-8
>1 | 4-6
Unsure
Turbidity
Arsenic Compound | > 1.0 NTU
Organic Arsenic | < 1.0 NTU
Inorganic Arsenic | Unknown
Combined
Unknown | Iron
> 0.3 mg/L
Lead Location | < 0.3 mg/L
Source Water | Unknown
Distribution System
Both | Manganese
> 0.02 mg/L
Arsenic Concentration | < 0.02 mg/L
All Sources [Pb]>MAC | Unknown
Not All Sources [Pb]>MAC
TDS
Frequency of Occurrence | > 250 mg/L
Seasonal | < 250 mg/L
Continuous | Unknown
Pre-Screening | Sulfate
Present | > 40 mg/L
Absent | < 40 mg/L
Unknown | Unknown
Pre-Oxidation | Calcium
Present | Present
Absent | Absent
Unknown | Unknown
Coagualtion | Hardness
Present | > 60 mg-CaCO3/L
Absent | < 60 mg-CaCO3/L
Unknown | Unknown
Flocculation | DOC
Present | > 3.0 mg/L
Absent | < 3.0 mg/L
Unknown | Unknown
Clarification
Present
Absent
Unknown
Filtration
Present
Absent
Unknown
Membrane
Present
Absent
Unknown
Chlorination
Present
Absent
Unknown