| Date & Time Issued: |  |  |  |  |  |  |  |  |  |  |  | Date & Time Expires: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Job Site/Space I.D. |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Job Supervisor: |  |  |  |  |  |  |  |  |  |  |  | Equipment to be worked on: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Work to be performed: |  |  |  |  |  |  |  |  |  |  |  |
| Standby Personnel: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1. | Atmospheric Checks: |  |  |  | Time |  |  |  |  |  |  |  |  |  | Oxygen |  |  |  |  |  |  |  |  |  |  |  |  |  | % |  |  |  |  |  |  | Toxic |  |  |  |  |  |  |  |  |  |  | ppm |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Explosive |  |  |  |  |  |  |  |  |  |  |  |  |  | % LFL |  |  |  |  |  |  | Carbon Monoxide |  |  |  |  |  |  |  |  |  |  | ppm |
| 2. | Tester’s Signature: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3. | Source Isolation: (No Entry) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | N/A |  |  |  | Yes |  |  |  |  | No |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Pumps or lines blinded, disconnected or blocked |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4. | Ventilation Modification: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Mechanical |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Natural ventilation only |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5. | Atmospheric check after isolation and ventilation: |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Time: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Oxygen |  |  |  |  |  |  | % |  |  |  | >19.5% |  |  |  |  | Toxic |  |  |  |  |  |  |  |  |  |  |  |  |  | ppm <10ppm H2S |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Explosive |  |  |  |  |  |  | % LFL |  |  |  | <10% |  |  |  |  | Carbon Monoxide |  |  |  |  |  |  |  |  |  |  |  |  |  | ppm < 35 ppm CO |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Tester’s Signature: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6. | Communications procedures: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 7. | Rescue procedures: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 8. | Entry, Standby, and backup persons |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  |  |  | No |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Successfully completed required training? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Is Training current? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 9. | Equipment: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | N/A |  |  | Yes |  |  |  | No |  |  |  |  |  |  |
|  | Direct reading gas monitor tested |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Safety harnesses and lifelines for entry and standby persons |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Hoisting equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Powered communications |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | SCBAs for entry and standby persons |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | All electric equipment listed for Class I, Division I, Group D and nonsparking tools |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 10. | Periodic atmospheric tests: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Oxygen: |  |  |  |  | % |  | Time |  |  |  |  |  |  |  |  |  |  | % |  | Time |  |  |  |  |  |  |  |  |  |  |  | % |  | Time |  |  |  |  |  |  |  |  | % | Time |  |  |
|  | Explosive: |  |  |  |  | % |  | Time |  |  |  |  |  |  |  |  |  |  | % |  | Time |  |  |  |  |  |  |  |  |  |  |  | % |  | Time |  |  |  |  |  |  |  |  | % | Time |  |  |
|  | Toxic: |  |  |  |  | % |  | Time |  |  |  |  |  |  |  |  |  |  | % |  | Time |  |  |  |  |  |  |  |  |  |  |  | % |  | Time |  |  |  |  |  |  |  |  | % | Time |  |  |
|  | Carbon Monoxide: |  |  |  |  | % |  | Time |  |  |  |  |  |  |  |  |  |  | % |  | Time |  |  |  |  |  |  |  |  |  |  |  | % |  | Time |  |  |  |  |  |  |  |  | % | Time |  |  |
| We have reviewed the work authorized by this permit and the information contained herein. Written instructions and safety procedures have been received and are understood. Entry cannot be approved if any are checked in the “NO” column. This permit is not valid unless appropriate items are completed. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Permit Prepared by: (Supervisor) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Approved by: (Unit Supervisor) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Reviewed by: (CS Operations Personnel) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| This Permit is to be kept at job site. Return job site copy to Safety Office following job completion. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |