| #### Town: |  |  |  |  |  |  | Hydrant No. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Location: |  |  |  |  |  |  | Date: |  |  |  |  |  |
| Caps: | Missing | Replaced |  |  | Greased |  | #### Paint: |  |  | O.K. | Repainted |  |
| Chains: | Missing | Replaced |  |  | Freed |  | Opr. Nut: |  |  | O.K. | Greased | Replaced |
| Nozzles: | Caulked | Replaced |  |  |  |  | Valve & Seat: |  |  | O.K. | Replaced |  |
| Packing: | O.K. | Tightened |  |  | Replaced |  | Drainage: |  |  | O.K. | Corrected |  |
| Flushed : |  | Minutes |  | Nozzle Opened |  |  |  |  |  |  |  |  |
| #### Pressure: | Static |  |  |  | Residual |  |  |  |  | Flow |  | gpm |
| Any other Defects |  |  |  |  |  |  |  |  |  |  |  |  |
| Inspection Date |  |  |  |  |  |  |  | By |  |  |  |  |
| Defects Corrected on |  |  |  |  |  |  |  | By |  |  |  |  |