## Sheet1
Draft 6/05/2011
|  | Proposed?? | Alberta | Alberta | BC | Manitoba | Sask | GNWT | NL On | NL Off | Federal/NEB | Federal/EnvCan | USEPA
|  | Alberta Numbers below are guestimates | Petroleum Registry | Specified Gas Emitters Regulation | Reported as (Flare, Fuel, Vent or Shrinkage?) | Reported as (Flare, Fuel, Vent or Shrinkage?) | Reported as (Flare, Fuel, Vent or Shrinkage?) | Reported as (Flare, Fuel, Vent or Shrinkage?) | Reported as (Flare, Fuel, Vent or Shrinkage?) | Reported as (Flare, Fuel, Vent or Shrinkage?) | Reported as (Flare, Fuel, Vent or Shrinkage?) | Reported as (Flare, Fuel, Vent or Shrinkage?)
|  |  | Reported as (Flare, Fuel, Vent or Shrinkage?) |  |  |  |  | as per NEB
1 | Fuel Gas to Flare (enhance combustion) | Flare | Fuel | Flare | Fuel | not reported | Fuel | Flare |  | Flare | Flare | Flare | Flare
| It it a regulatory requirement? | Likely impact approx 3000 facilities in AB? (sour facilities with need to add sweet gas to flare) | Yes- Specified in D60 and D17 would trigger noncompliances if changed to flare |  |  |  |  | No |  |  | No
| Willing to consider changing? |  | Would consider separate reporting of fuel gas to flare - would require changes to Pet Registry and consultation process |  |  |  |  | * |  |  | *
2 | Fuel Gas for Flare Pilots | Flare | Fuel | Flare | Flare | not reported | Fuel or Flare | Flare |  | Flare | Flare | Flare | Flare?
| It it a regulatory requirement? | Likely impact 3,000 plus facilities in AB? | Yes- Specified in D60 and D17 would trigger noncompliances if changed to flare |  |  |  |  | No |  |  | No
| Willing to consider changing? |  | Would consider separate reporting of fuel gas to flare - would require changes to Pet Registry and consultation process |  |  |  |  | * |  |  | *
3 | Purge gas to flare | Flare | Fuel | Flare | Flare | not reported | Fuel or Flare | Flare |  | Flare | Flare | Flare | Flare
| It it a regulatory requirement? | Likely impact 3,000 plus facilities in AB? (sour facilities with tankage) | Yes- Specified in D60 and D17 would trigger noncompliances if changed to flare |  |  |  |  | No |  |  | No
| Willing to consider changing? |  | Would consider separate reporting of fuel gas to flare - would require changes to Pet Registry and consultation process |  |  |  |  | * |  |  | *
4 | Vented Fuel Gas | Vent | Fuel | Vent | Vented | not reported | Fuel | Vented |  | Vented | Vented | Vented | Vented
| It it a regulatory requirement? |  | Yes- Specified in D60 and D17 |  |  |  |  | Yes |  |  | Yes
| Willing to consider changing? |  | Would consider separate reporting of fuel gas to vent - would require changes to Pet Registry and consultation process |  |  |  |  | * |  |  | *
5 | Upset Acid Gas Flaring | Flare | Flare | Flare | Flare | not reported | Flare | Flare |  | Flare | Flare | Flare | Likely only fuel and not the acid gas? Would include uncombusted fuel.
| It it a regulatory requirement? |  | Yes |  |  |  |  | Yes |  |  | Yes
| Willing to consider changing? |  | No
6 | Continuous acid gas flaring | Flare | Acid Gas Shrinkage | Flare | Acid Gas Shrinkage | not reported | Flare | Flare |  | Flare | Flare | Flare | Likely only fuel and not the acid gas? Would include uncombusted fuel.
| It it a regulatory requirement? | Likely affects approximately 100 AB facilities | Yes- Specified in D60 and D17 would trigger noncompliances if acid gas shrinkage was changed to flare |  |  |  |  | No |  |  | No
| Willing to consider changing? |  | Would consider. |  |  |  |  | * |  |  | *
[8 empty] | The NEB has the option to condition the reporting of flaring as part of an authorization or certificate |  |  | The NEB has the option to condition the reporting of flaring as part of an authorization or certificate
Flare and Vent Gas Reporting
Instructions – please fill out the excel spreadsheet by adding your province/territory. The numbered questions below correspond to the 6 questions in the spreadsheet above.
Fuel Gas Questions
1. How is fuel that is added to the flare reported? This would include the addition of sweet gas to sour gas or to acid gas for the purpose of increasing the heating value of the gas to improve combustion efficiency or to improve the dispersion of SO2 (to minimize ground level concentrations of SO2).
2. How is fuel gas for flare pilots reported?
3. How is fuel gas that is used as purge gas/blanket gas,to prevent backflash and routed to flare, reported?
4. How do you report vented fuel gas that is used to drive pneumatic pumps (e.g. chemical injection pumps) or pneumatic controllers/instrumentation?
Acid Gas (CO2 and H2S) Flaring
5. How is upset acid gas flaring that is normally conserved (either through sulphur recovery or acid gas injection) reported when it is flared?
6. How is acid gas, that is under normal operations flared, reported?
Notes for Alberta:
For gas plants and other facilities we encourage companies to add fuel gas to improve combustion efficiency. There is a requirement for new facilities to meet a minimum heating value of 20 MJ/m3 to help ensure complete combustion. Existing facilities that have not had problems with stable combustion and/or odours can operate as low as 12 MJ/m3.
Sour gas or acid gas flaring must be modeled to ensure that when gas is flared the Alberta Ambient Air Quality ground level objective for SO2 is met. The maximum ambient level is 450 ug/m3 SO2 on a 1 hr average basis http://environment.alberta.ca/0994.html Fuel Gas will be added in cases where wider dispersion is needed to meet this requirement.
Any gas that is used as fuel must be reported as fuel gas in Alberta. The intent is that where gas is being used as fuel to improve combustion/dispersion or drive equipment it should be reported as fuel.
In Alberta, gas plants with small amounts of H2S in the inlet (<1 t/d sulphur equivalent) are allowed to flare acid gas on a continuous basis. This acid gas flared is reported as acid gas shrinkage.
Alberta restricts the amount of flaring that occurs over the year at gas plants to 0.5% percent of raw gas receipts. Volumes of acid gas which are continuously flared (as per approval) or volumes of fuel gas which are added to the flare are not part of this 0.5% restriction.
Notes for British Columbia
1. Alberta requirements related to minimum heating value, continuous acid gas flaring and upset acid gas flaring apply in B.C.
2. Fuel gas used for pilots, purge gas and vented gas sent to flare is reported as flared gas in British Columbia. There are two reasons for doing so:
a. Public perception – it is difficult to say that a facility is not flaring when there is a visible flame at the top of the flare stack.
b. Decision tree analysis to reduce/eliminate flaring applies to pilot / purge / vented gas. At many facilities, the biggest flaring reductions have resulted from changes such as improved flare pilot technology, optimization of purge gas rates, improved blanket gas regulation and repair of leaks to the flare system.
Notes for Manitoba:
Manitoba regulations do not require the measurement or reporting of daily gas either flared or vented.
However, when facilities are licensed volumes of gas (vented or flared) must show compliance with Ambient Air Quality Guidelines.
Reservoirs in Manitoba, for the most part, have very low oil to gas ratios so accurate measurement of gas volumes is difficult.
There is also a secondary issue of not having infrastructure in place to collect gas and direct it to market.
Notes for Saskatchewan:
Saskatchewan does not have any specific reporting guidelines or specifications that would dictate how an operator must report the quantities of gas referenced by these questions. As a result these gas quantities may be being reported in a variety of ways in Saskatchewan depending on the operator. The answers below would be our best guess.
Saskatchewan is moving toward standardizing definitions with Alberta and is in the process of joining the Petroleum Registry of Alberta.
Notes for Newfoundland Offshore
1. Reportable Flaring
The metering captures all flow to the flare tip so the reported flaring includes all of the waste streams
The definition of the flared gas includes:
1) pilot
2) tank vapour
3) upset /emergency blowdown
4) purge
5) acid gas
6) fuel not compressed that would be sent to reservoir
7) fuel not used as fuel /ingen sets
8) Offshore Newfoundland has not used combustion management relating to heating value and dispersion
Notes from GWNT/NEB
Applications for an authorization must include information on the estimated rate, quantity and period of flaring and venting. We generally require companies comply with the Guideline for Ambient Air Quality Standards in the NWT. If a company exceeds the amount of flaring as indicated in the application or authorization it must be reported as an incident. Additional reporting requirements may be required as a condition of the authorization or certificate. Generally our producing companies report flaring and/or emissions either as condition requirements or as part of their annual reports. Exploratory companies may report flaring in their end of season reports. Under the regulations any produced fluid that is flared must be measured and recorded (rate of flow and volume). Producing companies are also assessed on a conservation of resources basis, meaning how much companies are producing vs. what is being flared.
There is no specific definition for flaring In the Canada Oil and Gas Operations Act (COGOA) or its Drilling and Production Regulations. However “the waste” definition under COGOA includes: the escape or flaring of gas that could be economically recovered and processes or economically injected into an underground reservoir.
Notes from Environment Canada
At Environment Canada, industrial sector emissions are reported under different programs. These include the National Inventory (Canada’s submission to the Intergovernmental Panel on Climate Change), and the Greenhouse Gas Inventory (s.46), the National Pollutant Registry Inventory. Upstream oil and gas sector emissions were also reported by industry in 2008 during the Regulatory Framework for Air Emissions regulatory development under the Turning the Corner Plan (aka Clean Air Regulatory Agenda).