## Header Sheet
APPENDIX D: | Results of Fluoride analysis using ion-selective electrode (ISE) after alkaline fusion, silver analysis using ICP-OES after nitric acid digestion and LOI were determined gravimetrically. Please note that analysis and quality assurance are data from various areas around the province and were analyzed in the same batch. Samples from Dead Wolf Pond (NTS 2D/10) include laboratory numbers 7834976 to 7834994, 7834996 to 7835003, 7835006 to 7835015, Central Newfoundland (NTS 12A/07) include laboratory number 7835005, while samples from southwest Newfoundland (NTS 11O)/16 and 11P/13) include 7834971, 7834973 and 7834975. One sample, 7834969, was taken from the Avalon Peninsula (NTS 1N/10). Data included in the workbook tabs is as follows:
Results Ag28 ppm | Results for silver using ICP-OES after nitric acid digestion. Units in parts per million (ppm).
Results F9 ppm | Results for fluoride using ion-selective electrode (ISE) after alkaline fusion. Units in parts per million (ppm).
Results LOI pct | Results for Loss on Ignition (LOI) were determined gravimetrically. Units in weight percent (pct).
Combined Results Ag28 F9 LOI | Combined results of Ag28, F9 and LOI from previous tabs.
Ag28 ppm CRM | Results of the certified reference materials (CRM) for Ag28.
F9 ppm CRM | Results of the certified reference materials (CRM) for F9.
LOI pct CRM | Results of the certified reference materials (CRM) for LOI.
Ag28 F9 and LOI Lab Duplicates | Laboratory duplicate pairs results.
Ag28 F9 and LOI Field Duplicates | Field duplicate pairs results.
Precision Charts (PC) | Thompson-Howarth precision plots of lab duplicate pairs for elements analyzed in the "Ag28 F9 LOI Lab Duplicates" tab (Thompson and Howarth, 1978). In these precision plots, the mean of each pair of duplicates is plotted against their absolute difference; both axes are scaled logarithmically (Thompson and Howarth, 1978). A series of parallel lines indicates precision of gradually increasing absolute value, from ±1% to ±200%. Analytical (lab) duplicates are denoted by closed circles.
PC Lab vs Field Duplicates | Thompson-Howarth precision plots of "Ag28 F9 LOI Lab Duplicate" vs. "Ag28 F9 LOI Field Duplicate". In these precision plots, the mean of each pair of duplicates is plotted against their absolute difference; both axes are scaled logarithmically (Thompson and Howarth, 1978). A series of parallel lines indicates precision of gradually increasing absolute value, from ±1% to ±200%. Field duplicates are denoted by open circles, and analytical (lab) duplicates by closed circles; the absolute value of the precision for the former is invariably greater (i.e., the reproducibility is worse).
Metadata | Information including references and explanation of abbreviations used.

## Ag28_Results
LAB_NUMBER | FIELD_NUMBER | AG28_PPM
DL |  | 0.1
7834969 | 23JO5000 | -0.1
7834970 | 7834969 | -0.1
7834971 | 23JO5002 | -0.1
7834973 | 23JO5004 | -0.1
7834975 | 23JO5006 | -0.1
7834976 | 23JO5007 | -0.1
7834977 | 23JO5008 | -0.1
7834978 | 23JO5009 | -0.1
7834979 | 23JO5010 | -0.1
7834980 | TILL-1 | -0.1
7834981 | 23JO5011 | -0.1
7834982 | 23JO5012 | -0.1
7834983 | 23JO5013 | -0.1
7834984 | 23JO5014 | -0.1
7834985 | 23JO5015 | -0.1
7834986 | 23JO5016 | -0.1
7834987 | 23JO5017 | -0.1
7834988 | 23JO5018 | -0.1
7834989 | 23JO5019 | -0.1
7834990 | 7834985 | -0.1
7834991 | 23JO5020 | -0.1
7834992 | 23JO5021 | -0.1
7834993 | 23JO5022 | -0.1
7834994 | 23JO5023 | -0.1
7834996 | 23JO5025 | -0.1
7834997 | 23JO5026 | -0.1
7834998 | 23JO5027 | -0.1
7834999 | 23JO5028 | -0.1
7835000 | TILL-2 | -0.1
7835001 | 23JO5029 | -0.1
7835002 | 23JO5030 | -0.1
7835003 | 23JO5031 | -0.1
7835005 | 23JO5033 | -0.1
7835006 | 23JO5034 | -0.1
7835007 | 23JO5035 | -0.1
7835008 | 23JO5036 | -0.1
7835009 | 23JO5037 | -0.1
7835010 | 7835005 | -0.1
7835011 | 23JO5038 | -0.1
7835012 | 23JO5039 | -0.1
7835013 | 23JO5040 | -0.1
7835014 | 23JO5041 | -0.1
7835015 | 23JO5042 | -0.1

## F9_PPM_Results
LAB_NUMBER | FIELD_NUMBER | F9_PPM | Dup
DL |  | 5
7834969 | 23JO5000 | 108 | d
7834970 | 7834969 | 119 | d
7834971 | 23JO5002 | 353
7834973 | 23JO5004 | 296
7834975 | 23JO5006 | 338
7834976 | 23JO5007 | 289
7834977 | 23JO5008 | 259
7834978 | 23JO5009 | 188
7834979 | 23JO5010 | 224
7834980 | TILL-1 | 367
7834981 | 23JO5011 | 234
7834982 | 23JO5012 | 208
7834983 | 23JO5013 | 224
7834984 | 23JO5014 | 257
7834985 | 23JO5015 | 244 | d
7834986 | 23JO5016 | 272
7834987 | 23JO5017 | 229
7834988 | 23JO5018 | 308
7834989 | 23JO5019 | 330
7834990 | 7834985 | 281 | d
7834991 | 23JO5020 | 324
7834992 | 23JO5021 | 345
7834993 | 23JO5022 | 389
7834994 | 23JO5023 | 391
7834996 | 23JO5025 | 320
7834997 | 23JO5026 | 289
7834998 | 23JO5027 | 209
7834999 | 23JO5028 | 243
7835000 | TILL-2 | 491
7835001 | 23JO5029 | 231
7835002 | 23JO5030 | 305
7835003 | 23JO5031 | 341
7835005 | 23JO5033 | 251 | d
7835006 | 23JO5034 | 311
7835007 | 23JO5035 | 290
7835008 | 23JO5036 | 264
7835009 | 23JO5037 | 185
7835010 | 7835005 | 239 | d
7835011 | 23JO5038 | 270
7835012 | 23JO5039 | 276
7835013 | 23JO5040 | 287
7835014 | 23JO5041 | 160
7835015 | 23JO5042 | 224

## LOI_Results
LAB_NUMBER | FIELD_NUMBER | LOI_PCT
DL |  | 0.1
7834969 | 23JO5000 | 0.66026
7834970 | 7834969 | 0.63069
7834971 | 23JO5002 | 1.1705
7834973 | 23JO5004 | 4.5618
7834975 | 23JO5006 | 1.7895
7834976 | 23JO5007 | 3.7435
7834977 | 23JO5008 | 1.8787
7834978 | 23JO5009 | 2.2505
7834979 | 23JO5010 | 3.3698
7834980 | TILL-1 | 6.24
7834981 | 23JO5011 | 3.2766
7834982 | 23JO5012 | 2.9309
7834983 | 23JO5013 | 1.0396
7834984 | 23JO5014 | 7.0749
7834985 | 23JO5015 | 6.6287
7834986 | 23JO5016 | 6.5574
7834987 | 23JO5017 | 6.4018
7834988 | 23JO5018 | 2.6156
7834989 | 23JO5019 | 3.2577
7834990 | 7834985 | 6.8508
7834991 | 23JO5020 | 2.5273
7834992 | 23JO5021 | 4.7363
7834993 | 23JO5022 | 6.3031
7834994 | 23JO5023 | 2.9215
7834996 | 23JO5025 | 1.8996
7834997 | 23JO5026 | 2.273
7834998 | 23JO5027 | 2.6437
7834999 | 23JO5028 | 3.6775
7835000 | TILL-2 | 6.3727
7835001 | 23JO5029 | 13.1402
7835002 | 23JO5030 | 3.4141
7835003 | 23JO5031 | 3.5465
7835005 | 23JO5033 | 2.0973
7835006 | 23JO5034 | 5.2099
7835007 | 23JO5035 | 1.6867
7835008 | 23JO5036 | 1.9034
7835009 | 23JO5037 | 2.8571
7835010 | 7835005 | 2.3395
7835011 | 23JO5038 | 3.371
7835012 | 23JO5039 | 2.3793
7835013 | 23JO5040 | 3.5943
7835014 | 23JO5041 | 6.6099
7835015 | 23JO5042 | 5.2805

## Combined Results Ag28 F9 LOI
LAB_NUMBER | FIELD_NUMBER | AG28_PPM | F9_PPM | LOI_PCT
DL |  | 0.1 | 5 | 0.1
7834969 | 23JO5000 | -0.1 | 108 | 0.66026
7834970 | 7834969 | -0.1 | 119 | 0.63069
7834971 | 23JO5002 | -0.1 | 353 | 1.1705
7834973 | 23JO5004 | -0.1 | 296 | 4.5618
7834975 | 23JO5006 | -0.1 | 338 | 1.7895
7834976 | 23JO5007 | -0.1 | 289 | 3.7435
7834977 | 23JO5008 | -0.1 | 259 | 1.8787
7834978 | 23JO5009 | -0.1 | 188 | 2.2505
7834979 | 23JO5010 | -0.1 | 224 | 3.3698
7834980 | TILL-1 | -0.1 | 367 | 6.24
7834981 | 23JO5011 | -0.1 | 234 | 3.2766
7834982 | 23JO5012 | -0.1 | 208 | 2.9309
7834983 | 23JO5013 | -0.1 | 224 | 1.0396
7834984 | 23JO5014 | -0.1 | 257 | 7.0749
7834985 | 23JO5015 | -0.1 | 244 | 6.6287
7834986 | 23JO5016 | -0.1 | 272 | 6.5574
7834987 | 23JO5017 | -0.1 | 229 | 6.4018
7834988 | 23JO5018 | -0.1 | 308 | 2.6156
7834989 | 23JO5019 | -0.1 | 330 | 3.2577
7834990 | 7834985 | -0.1 | 281 | 6.8508
7834991 | 23JO5020 | -0.1 | 324 | 2.5273
7834992 | 23JO5021 | -0.1 | 345 | 4.7363
7834993 | 23JO5022 | -0.1 | 389 | 6.3031
7834994 | 23JO5023 | -0.1 | 391 | 2.9215
7834996 | 23JO5025 | -0.1 | 320 | 1.8996
7834997 | 23JO5026 | -0.1 | 289 | 2.273
7834998 | 23JO5027 | -0.1 | 209 | 2.6437
7834999 | 23JO5028 | -0.1 | 243 | 3.6775
7835000 | TILL-2 | -0.1 | 491 | 6.3727
7835001 | 23JO5029 | -0.1 | 231 | 13.1402
7835002 | 23JO5030 | -0.1 | 305 | 3.4141
7835003 | 23JO5031 | -0.1 | 341 | 3.5465
7835005 | 23JO5033 | -0.1 | 251 | 2.0973
7835006 | 23JO5034 | -0.1 | 311 | 5.2099
7835007 | 23JO5035 | -0.1 | 290 | 1.6867
7835008 | 23JO5036 | -0.1 | 264 | 1.9034
7835009 | 23JO5037 | -0.1 | 185 | 2.8571
7835010 | 7835005 | -0.1 | 239 | 2.3395
7835011 | 23JO5038 | -0.1 | 270 | 3.371
7835012 | 23JO5039 | -0.1 | 276 | 2.3793
7835013 | 23JO5040 | -0.1 | 287 | 3.5943
7835014 | 23JO5041 | -0.1 | 160 | 6.6099
7835015 | 23JO5042 | -0.1 | 224 | 5.2805

## Ag28_CRM
LAB_NUMBER | CONTROL | AG28_PPM
TILL-1 |  | Ag ppm
Rec Val |  | 0.2
Avg |  | 0
UCL |  | 0.2
LCL |  | -0.3
7834980 | TILL-1 | -0.1
TILL-2 |  | Ag ppm
Rec Val |  | 0.2
Avg |  | 0.1
UCL |  | 0.3
LCL |  | -0.2
7835000 | TILL-2 | -0.1

## F9_PPM_CRM
Lab_NUMBER | CONTROL | F9_PPM
TILL-1
Mean |  | 378
LCL |  | 283
UCL |  | 472
7834980 | TILL-1 | 367
TILL-2
Mean |  | 465
LCL |  | 349
UCL |  | 582
7835000 | TILL-2 | 491

## CRM_LOI
LAB_NUMBER | CONTROL | LOI_PCT
TILL-1
AVG |  | 6.4
REC VAL |  | 6.3
UCL |  | 6.8
LCL |  | 6.1
7834980 | TILL-1 | 6.24
TILL-2
AVG |  | 6.9
REC VAL |  | 6.8
UCL |  | 7.3
LCL |  | 6.4
7835000 | TILL-2 | 6.3727

## F9_LOI_Ag28 Lab Duplicates
LAB_NUMBER | FIELD_NUMBER | SAMPLE_DUPLICATE | LOI_PCT | F9_PPM | Ag ppm
7834969 | 23JO5000 | ORIGINAL | 0.66026 | 108 | -0.1
7834970 | 7834969 | DUPLICATE | 0.63069 | 119 | -0.1
7834985 | 23JO5015 | ORIGINAL | 6.6287 | 244 | -0.1
7834990 | 7834985 | DUPLICATE | 6.8508 | 281 | -0.1
7835005 | 23JO5033 | ORIGINAL | 2.0973 | 251 | -0.1
7835010 | 7835005 | DUPLICATE | 2.3395 | 239 | -0.1

## F9_LOI_Ag28 Field Duplicates
LAB_NUMBER | FIELD_NUMBER | SAMPLE_DUPLICATE | AG28_PPM | F9_PPM | LOI_PCT
DL |  |  | 0.1 | 5 | 0.1
7834985 | 23JO5015 | ORIGINAL | -0.1 | 244 | 6.6287
7834986 | 23JO5016 | DUPLICATE | -0.1 | 272 | 6.5574
7835007 | 23JO5035 | ORIGINAL | -0.1 | 290 | 1.6867
7835008 | 23JO5036 | DUPLICATE | -0.1 | 264 | 1.9034

## Precision Charts_F9_LOI_Ag
Fluoride Precision Tolerance Ranges
< 40 ppm -100%
≥ 40 ppm < 100 ppm – 50%
≥ 100 ppm < 200 ppm - 40%
≥ 200 ppm – 25%

## MetadataAg28_F9_LOI
REFERENCES
Finch, C., Roldan, R., Walsh, L., Kelly, J. and Amor, S.D.
2018: Analytical methods for chemical analysis of geological materials. Government of
Newfoundland and Labrador, Department of Natural Resources, Geological Survey, Open File
NFLD/3316, 67 pages.
Ficklin, H.E.
1970: A Rapid Method for the Determination of Fluorine in Rocks and Soils, Using an Ion Selective Electrode.
U.S. Geological Survey, Paper 700C, pages 186-188.
Govindaraju, K.
1994: Special Issue of Geostandards Newsletter, Working Group "Analytical Standards of Minerals, Ores and Rocks,
Vandoeuvre-lès-Nancy, France, 158 pages.
Lichte, F.E., Golightly, D.W. and Lamothe, P.J.
1987: Inductively Coupled Plasma-Atomic Emission Spectrometry. In Methods for
Geochemical Analysis. U.S. Geological Survey Bulletin 1770, pages B1-B10
Maxwell, J.A.
1968: Rock and Mineral Analysis. John Wiley and Sons, New York, London, Sydney and
Toronto, 584 pages.
Riddle, C.
1993: Analysis of Geological Materials. Marcel Dekker, INC, 270 Madison Avenue, New
York, New York, 10016, 463 pages
ACRONYMS
Avg | Average of All Laboratory Determinations
CRM | Certified Reference Material
DL | Detection Limit
DUP | Laboratory Duplicates
ICP-OES | Inductively Coupled Plasma-Optical Emission Spectrometry
LCL | Lower Control Limit (average -2 standard deviations)
ppm | Parts Per Million
Rec Val | Recommended Value/Certified Value
UCL | Upper Control Limit (average +2 standard deviations)