Date & Time Issued:  ______________ Date & Time Expires:  ____________________  Job Site/Space I.D.  __________________

Job Supervisor:  __________________ Equipment to be worked on ________________  Work to be performed _______________

Standby Personnel:  ___________________________________   _____________________________  _____________________

1.  Atmospheric Checks:  Time ______________________  Oxygen _________________%          Toxic  _________________ ppm

Carbon

Explosive _______________ % LFL      Monoxide_____________ ppm

2.  Tester’s Signature _______________________________________________________

3.  Source Isolation:  (No Entry)                                                   N/A         Yes         No

Pumps or lines blinded, disconnected or blocked             □             □            □

4.   Ventilation Modification:

Mechanical                                                                    □             □            □

Natural ventilation only                                                □             □            □

5.   Atmospheric check after isolation and ventilation:      Time:  ___________

Oxygen  _________%	>19.5%  Toxic                       __________ ppm <10ppm H2S

Explosive ________ %LFL    	<10%     Carbon Monoxide   __________ ppm <35 ppm CO

6.  Communications procedures:  ______________________________________________________________________________

7.  Rescue procedures:  _____________________________________________________________________________________

______________________________________________________________________________________________________

8.  Entry, Standby, and Backup Persons                                                  Yes      No

Successfully completed required training?                                □         □

Is Training current?                                                                     □        □

9.  Equipment:                                                                                                                      	             N/A          Yes            No

Direct reading gas monitor tested						□	□	□

Safety harnesses and lifelines for entry and standby persons			□	□	□

Hoisting equipment								□	□	□

Powered communications							□	□	□

SCBAs for entry and standby persons						□	□	□

All electric equipment listed for Class 1, Division 1, Group D and nonsparking tools	□	□	□

10.  Periodic atmospheric tests:

Oxygen:	_________%	Time _______ _____ %	Time ____ _____%	Time _____ _____%  Time _____

Explosive	: _________%	Time _______ _____ %	Time ____ _____%	Time _____ _____%  Time _____

Toxic: 	_________%	Time _______ _____ %	Time ____ _____%	Time _____ _____%  Time _____

Carbon Monoxide:   ______%	Time _______ _____ %	Time ____ _____%	Time _____ _____%  Time _____

We have reviewed the work authorized by this permit and the information contained herein.  Written instructions and safety procedures have been received and are understood.  Entry cannot be approved if any □ are checked in the “NO” column.  This permit is not valid unless appropriate items are completed.

Permit Prepared by:  (Supervisor)  _________________________  Approved by:  (Unit Supervisor)  _________________________

Reviewed by:  (CS Operations Personnel) _______________________________________________________________________

This permit is to be kept at job site.  Return job site copy to Safety Office following job completion.