| Equipment | Maintenance Done | Comments | Initials |
| --- | --- | --- | --- |
| Ejector |  |  |  |
| Vacuum Regulator |  |  |  |
| Check Valve Assembly |  |  |  |
| Chlorine Rate Valve |  |  |  |
| Diaphragm Assembly |  |  |  |

|  |  |  | Comments |
| --- | --- | --- | --- |
| Chlorinator Rotometer Working | Yes | No |  |
| Flow Meter Checked | Yes | No |  |
| Inspect Equipment Lubrication | Yes | No |  |
| Check Valve Operation | Yes | No |  |
| Check Vacuum Regulator | Yes | No |  |
| Check Tubing, Connections, Gaskets | Yes | No |  |

REVIEWED	Name:  							Signature:  						Date: