Field Data for Main Break Evaluation

1.	Date of Break:			Time  _______________     a.m.       p.m.

2.	Type of Main:  _________________  Size   ___________ Joint  __________ Cover _________ (m)     ___________ (mm)

Thickness at point of failure:  __________ in.

3.	Nature of Break:    Circumferential      Longitudinal      Circumferential & Longitudinal         Blow-out       Joint

Split at Corporation        Sleeve        Miscellaneous:  ____________________________________

4.	Apparent Cause      Water Hammer (surge)       Defective pipe        Corrosion       Deterioration       Improper Bedding

of Break:                  Excessive Operating Pressure      Differential Settlement      Temp. Change         Contractor

Misc.  ________________________________________

5.	Street Surface:       Paved      Unpaved                       6.  Traffic:      Heavy       Medium       Light

7.	Type of Street Surface  _____________     8.  Type of Soil  _______________  9.  Corrosion      Inside       Outside

10.	Conditions Found:     Rocks      Voids                  11.  Proximity to other Utilities  _____________________________

Depth of Frost  ___________ (m)     Depth of Snow  _____________ (m)

Office Data for Main Evaluation

1.	Weather Conditions:    Previous two Weeks ____________________________________________________________

Sudden Change in Air Temperature?         Yes       No       Temp.  _______ C0    Rise  ________ C0   Fall  _________ C0

Sudden Change in Water Temperature?    Yes       No       Temp.  _______ C0    Rise  ________ C0   Fall  ________   C0

2.	Type                                                       Class or Thickness _____________________  Date Laid

Operating Pressure  _____________ __PSI   Previous Break Reported  _______________________________________

3.             Initial Installation Data

Trench Preparation:          Native Material        Sand Bedding            Gravel Bedding

Backfill:      Native Material      Pit Run       Sand & Gravel     Sand       Gravel      Crushed Rock     Other

Settlement:            Natural             Water          Compactors        Vibrators       Other

Additional Data for Local Utility Use

- Location of Break _______________________________________________________________ Map No.  _______

- Reported by  __________________________________________________________________________________

- Damage to Paving and/or Private Property __________________________________________________________

_____________________________________________________________________________________________

- Repairs Made (Materials, Labour, Equipment)  _______________________________________________________

_____________________________________________________________________________________________

5.	       Repair Difficulties (if any)  ________________________________________________________________________

____________________________________________________________________________________________

6.              Installing Contractor  ___________________________________________________________________________

REVIEWED	Name:

Signature:

Date: