- General

Type of Tank:		Steel		Concrete

Location of Tank:		Above grade	Below grade

Tank Dimensions:  _________________________________________________________________________________

Tank Description:  _________________________________________________________________________________

Volume of Treated Water:  _____________________________________________m3

Tank Output metered:     	Yes		No

Output Meter Reading:  ________________ m3

Date:

- Inspection (every 6 months)

|  | Yes | No | Comments |
| --- | --- | --- | --- |
| Water Level Checked |  |  |  |
| Control Valves in Normal open/close positions |  |  |  |
| Control Valves accessible |  |  |  |
| Control valves free of leaks |  |  |  |
| Alarm panel clear |  |  |  |
| Tank exterior free from signs of damage |  |  |  |
| Tank catwalk/ladder free from signs of damage |  |  |  |
| Tank vents free from signs of damage |  |  |  |
| Tank foundation free from signs of damage |  |  |  |

- Maintenance (3 years)

Tank Interior inspected:  ___________________________________________________

Silt Removed:  ___________________________________________________________

|  | Yes | No | Comments |
| --- | --- | --- | --- |
| Tank interior shows no signs of pitting |  |  |  |
| Tank interior shows no signs of corrosion |  |  |  |
| Tank interior shows no signs of spotting |  |  |  |
| Tank interior shows no sign of rot |  |  |  |
| Tank interior shows no signs of other deterioration |  |  |  |
| Tank interior shows no signs of local or general failure |  |  |  |

Check valve internally inspected:  ____________________________

Tank water level indicator tested for accuracy and freedom of movement:  ___________________________________

Name:

Signature:

Date: