| Maintenance Assurance Manual Confined Space Permit | Report No.: CP 1 Page 1 of 1 |
| --- | --- |

Date: ______________________________		Location: ________________________________________________

Structure entered: ____________________________________		Time in: _________		Time out: ________

Permit Issued: _____________________________		Permit expires: _____________________________

Oxygen reading: __________% (> 19.5% < 23.5%)		H2S reading: ________________ppm (max. 10ppm)

Explosive: ____________% LEL (max. 10%)			Carbon Monoxide: ___________ppm (< 35ppm CO)

Instrument No. __________________________	Field Calibration: _____________________________________

1.	Description of hazards: ____________________________________________________________________________

N/A	Complete		Other

2.	Unit pumped out					  □	       □		   □

3.	All valves off and/or hoses disconnected 		  □	       □		   □

4.	All valves tagged, dated, and signed			  □	       □		   □

5. 	Drive mechanisms locked out and tried			  □	       □		   □

6.    	Hot work permit completed				  □	       □		   □

7.  	Protective Equipment and Rescue Devices:

a. Forced ventilation used				  □	       □		   □

b. Harness on person(s) entering			  □	       □		   □

c. Lifeline on person(s) entering			  □	       □		   □

d. Five (5) minute escape capsule with

person(s) entering				  □	       □		   □

e. SCBA on person(s) entering			  □	       □		   □

f. Harness on and lifeline near watcher

g. Extra SCBA for watcher				  □	       □		   □

h. Emergency procedures and communication

signals reviewed					  □	       □		   □

8.	Other conditions: _________________________________________________________________________________

_____________________________________________________________________________________________________

9.	Special procedures and/or equipment: ________________________________________________________________

_____________________________________________________________________________________________________

Person(s) entering: __________________________________________________________________________________

Watch person: _____________________________________

Atmospheric tester: _________________________________

Supervisor: ________________________________________