| Maintenance Assurance Manual Hot Work Permit | Report No.: HW 1 Page 1 of 1 |
| --- | --- |

Note: A Hot Work Permit must be completed for all operations performed within a confined space that require workers to weld, cut, or use other open flame or a spark producing devices in a confined space.  Only workers trained in confined space hot work and emergency procedures shall be allowed to perform hot work under this permit.

Instructions:

1.	Complete permit and eliminate or control all hazardous conditions before hot work begins.

2.	Do not cut, weld, or use other open flame or spark producing equipment until the proper precautions have been 	taken.  Do not bring gas cylinders into the confined space.

3.	Remove welding hoses, leads, etc. from confined space when not in use.

Manhole No. or Location of Confined Space if other than MH:

Permit Issued: Date: ________________________ Time: ______________________ AM/PM

Type of Hot Work: □ Cut □ Weld □ Grind □ Repair □ Other: ____________________________________________

Equipment:

Fire Watch: (Name)

Person(s) Performing Hot Work:

| Precautions Taken (check YES or NO) | YES | NO |
| --- | --- | --- |
| Are all atmospheric tests acceptable? |  |  |
| Have flame/spark producing devices been inspected and in good condition? |  |  |
| Have all flammable/combustible materials, combustible dust and ignitable residues been removed or purged from the confined space? |  |  |
| Is a proper type fire extinguisher available and has it been inspected? |  |  |
| Is a fire watch posted? |  |  |
| Is all electrical equipment intrinsically safe? |  |  |
| Will ventilation remove fumes and smoke at the source? |  |  |
| Are proper type respirators available and in use when required? |  |  |
| Is welding and other equipment safety located, grounded and spark controlled? |  |  |

NOTE: If any of the about questions are answered “NO” do not perform hot work.  Contact your immediate supervisor.

Entry Supervisor:  ______________________________________________________

Time Permit Cancelled:  _________________________ AM / PM