## Project 1
Item No | Code * | Description * | UOM | Quantity | Cost Allowance Price | Group ID * | Group Name * | Group Type
| 1005 | 1. Maintain Existing Water System (Part 14.2) | Lump-Sum | 1 |  | 1005 | Maintain Existing Services | Standard
| 1005 | 2. Maintain Existing Sewer System (Part 15.1) | Lump-Sum | 1 |  | 1005 | Maintain Existing Services | Standard
| 1010 | 1. Mobilization & Demobilization (not greater than 5% if on the Island, or 10% if in Labrador, or 15% north of Cartwright, of Sub-Total Before HST) | Lump-Sum | 1 |  | 1010 | Mobilization & Demobilization | Standard
| 1020 | 1. Pole Relocation/Shoring/Bracing | Lump-Sum | 1 | 1000 | 1020 | Cash Allowance | Cost Allowance
| 1020 | 2. Contribution in Aid (Hydro/Utilities) | Lump-Sum | 1 | 1000 | 1020 | Cash Allowance | Cost Allowance
| 1020 | 3. Supply of Water (Section 01005 Parts 14.1 & 14.3) | Lump-Sum | 1 | 1000 | 1020 | Cash Allowance | Cost Allowance
| 1020 | 4. Supply of Sewer Service (Section 01005 Part 15.2) | Lump-Sum | 1 | 1000 | 1020 | Cash Allowance | Cost Allowance
| 1020 | 5. Overhaul | Lump-Sum | 1 | 1000 | 1020 | Cash Allowance | Cost Allowance
| 1020 | 6. Other (Specify) | Lump-Sum | 1 | 1000 | 1020 | Cash Allowance | Cost Allowance
| 1020 | 7. Overhaul | Cubic Meter Kilometer | 1 | 1000 | 1020 | Cash Allowance | Cost Allowance
| 1020 | 8. Fuel Adjustment | Lump-Sum | 1 | 1000 | 1020 | Cash Allowance | Cost Allowance
| 1020 | 9. Liquid Asphalt (SGC #1) | Lump-Sum | 1 | 1000 | 1020 | Cash Allowance | Cost Allowance
| 1020 | 10. Petroleum Products Cost (SGC #3) | Lump-Sum | 1 | 1000 | 1020 | Cash Allowance | Cost Allowance
| 1020 | 11.Excavation for Geotechnical as Directed by Owner | Lump-Sum | 1 | 1000 | 1020 | Cash Allowance | Cost Allowance
| 1500 | 1. Consultant Site Office | Lump-Sum | 1 |  | 1500 | Temporary Facilities | Standard
| 1560 | 1. Silt Fence | Meter | 1 |  | 1560 | Environmental Requirements | Standard
| 1570 | 1. Flagpersons Wages | Hour | 1 |  | 1570 | Traffic Regulations | Standard
| 1570 | 2. Traffic Control | Lump-Sum | 1 |  | 1570 | Traffic Regulations | Standard
| 1580 | 1. Project Sign - Provincial | Lump-Sum | 1 |  | 1580 | Projects Signs & Signposts & Installation | Standard
| 1580 | 2. Project Sign - Federal | Lump-Sum | 1 |  | 1580 | Projects Signs & Signposts & Installation | Standard
| 1580 | 3. Other Signs | Lump-Sum | 1 |  | 1580 | Projects Signs & Signposts & Installation | Standard
| 1582 | 1.1 Type A - X (specify sign) | Each | 1 |  | 1582 | Sign and Signpost Installations | Standard
| 1582 | 1.2 Type B - X (specify sign) | Each | 1 |  | 1582 | Sign and Signpost Installations | Standard
| 1582 | 1.3 Type C - L/W (specify sign) | Each | 1 |  | 1582 | Sign and Signpost Installations | Standard
| 1582 | 1.4 Type D - L/W (specify sign) | Each | 1 |  | 1582 | Sign and Signpost Installations | Standard
| 1582 | 2. Other Signs | Each | 1 |  | 1582 | Sign and Signpost Installations | Standard
| 1710 | 1. Fencing | Meter | 1 |  | 1710 | Reinstatement and Cleaning | Standard
| 1710 | 2. Ditching | Meter | 1 |  | 1710 | Reinstatement and Cleaning | Standard
| 1710 | 3. Remove, Relocate and/or Reinstall Culverts | Meter | 1 |  | 1710 | Reinstatement and Cleaning | Standard
| 1710 | 4. Other Structures (specify) | Other | 1 |  | 1710 | Reinstatement and Cleaning | Standard
| 1710 | 5. Manual Seeding | Square Meter | 1 |  | 1710 | Reinstatement and Cleaning | Standard
| 1710 | 6. Temporary Cover for Seed Protection | Square Meter | 1 |  | 1710 | Reinstatement and Cleaning | Standard
| 1710 | 7. Hydraulic Seeding & Mulching | Square Meter | 1 |  | 1710 | Reinstatement and Cleaning | Standard
| 1710 | 8. Terraseeding | Square Meter | 1 |  | 1710 | Reinstatement and Cleaning | Standard
| 1710 | 9. Supply & Placing Topsoil | Square Meter | 1 |  | 1710 | Reinstatement and Cleaning | Standard
| 1710 | 10. Supply & Placing Agricultural Limestone | Square Meter | 1 |  | 1710 | Reinstatement and Cleaning | Standard
| 1710 | 11. Supply & Application of Fertilizer | Square Meter | 1 |  | 1710 | Reinstatement and Cleaning | Standard
| 1710 | 12. Supply & Placement of Sods | Square Meter | 1 |  | 1710 | Reinstatement and Cleaning | Standard
| 2070 | 1. Removal of Concrete Base | Square Meter | 1 |  | 2070 | Sitework, Demolition & Removal of Structures | Standard
| 2070 | 2. Removal of Concrete Pavement | Square Meter | 1 |  | 2070 | Sitework, Demolition & Removal of Structures | Standard
| 2070 | 3. Removal of Asphalt Covered Concrete Pavement | Square Meter | 1 |  | 2070 | Sitework, Demolition & Removal of Structures | Standard
| 2070 | 4. Removal of Concrete Sidewalk | Square Meter | 1 |  | 2070 | Sitework, Demolition & Removal of Structures | Standard
| 2070 | 5. Removal of Curb & Gutter | Meter | 1 |  | 2070 | Sitework, Demolition & Removal of Structures | Standard
| 2070 | 6. Removal of Catch Basins, Maintenance Holes & Ditch Inlets | Each | 1 |  | 2070 | Sitework, Demolition & Removal of Structures | Standard
| 2070 | 7. Removal of Fences | Meter | 1 |  | 2070 | Sitework, Demolition & Removal of Structures | Standard
| 2070 | 8. Removal of Guide Rails | Meter | 1 |  | 2070 | Sitework, Demolition & Removal of Structures | Standard
| 2070 | 9. Removal of Sanitary Sewers | Meter | 1 |  | 2070 | Sitework, Demolition & Removal of Structures | Standard
| 2070 | 10. Removal of Water Lines | Meter | 1 |  | 2070 | Sitework, Demolition & Removal of Structures | Standard
| 2070 | 11. Removal of Culverts | Meter | 1 |  | 2070 | Sitework, Demolition & Removal of Structures | Standard
| 2070 | 12. Removal of Storm Sewers | Meter | 1 |  | 2070 | Sitework, Demolition & Removal of Structures | Standard
| 2070 | 13. Removal of Bridges | Each | 1 |  | 2070 | Sitework, Demolition & Removal of Structures | Standard
| 2070 | 14. Removal of Mass Concrete | Cubic Meter | 1 |  | 2070 | Sitework, Demolition & Removal of Structures | Standard
| 2070 | 15. Removal of Asbestos Cement Pipe | Meter | 1 |  | 2070 | Sitework, Demolition & Removal of Structures | Standard
| 2070 | 16. Removal of Other Items | Other | 1 |  | 2070 | Sitework, Demolition & Removal of Structures | Standard
| 2104 | 1. Manual Seeding | Square Meter | 1 |  | 2104 | Landscaping, Seeding, Sodding & Tree Preservation | Standard
| 2104 | 2. Temporary Cover for Seed Protection | Square Meter | 1 |  | 2104 | Landscaping, Seeding, Sodding & Tree Preservation | Standard
| 2104 | 3. Hydraulic Seeding & Mulching | Square Meter | 1 |  | 2104 | Landscaping, Seeding, Sodding & Tree Preservation | Standard
| 2104 | 4. Terraseeding | Square Meter | 1 |  | 2104 | Landscaping, Seeding, Sodding & Tree Preservation | Standard
| 2104 | 5. Supply & Placing Topsoil | Square Meter | 1 |  | 2104 | Landscaping, Seeding, Sodding & Tree Preservation | Standard
| 2104 | 6. Supply & Placing Agricultural Limestone | Square Meter | 1 |  | 2104 | Landscaping, Seeding, Sodding & Tree Preservation | Standard
| 2104 | 7. Supply & Application of Fertilizer | Square Meter | 1 |  | 2104 | Landscaping, Seeding, Sodding & Tree Preservation | Standard
| 2104 | 8. Supply & Placement of Sods | Square Meter | 1 |  | 2104 | Landscaping, Seeding, Sodding & Tree Preservation | Standard
| 2104 | 9. Shrub & Tree Preservation | Each | 1 |  | 2104 | Landscaping, Seeding, Sodding & Tree Preservation | Standard
| 2111 | 1. Clearing | Hectare | 1 |  | 2111 | Clearing & Grubbing | Standard
| 2111 | 2. Grubbing | Hectare | 1 |  | 2111 | Clearing & Grubbing | Standard
| 2111 | 3. Clearing & Grubbing | Hectare | 1 |  | 2111 | Clearing & Grubbing | Standard
| 2111 | 4. Close Cut Clearing | Hectare | 1 |  | 2111 | Clearing & Grubbing | Standard
| 2111 | 5. Underbrush Clearing & Grubbing | Hectare | 1 |  | 2111 | Clearing & Grubbing | Standard
| 2111 | 6. Isolated Trees Clearing & Grubbing | Each | 1 |  | 2111 | Clearing & Grubbing | Standard
| 2215 | 1. Mass Rock Excavation | Cubic Meter | 1 |  | 2215 | Site Work & Site Grading | Standard
| 2215 | 2. Mass Common Excavation | Cubic Meter | 1 |  | 2215 | Site Work & Site Grading | Standard
| 2215 | 3. Imported Mass Common Backfill | Cubic Meter | 1 |  | 2215 | Site Work & Site Grading | Standard
| 2215 | 4. Supply, Placing & Spreading Topsoil | Square Meter | 1 |  | 2215 | Site Work & Site Grading | Standard
| 2223 | 1.1 Main Trench Excavation - Rock | Cubic Meter | 1 |  | 2223 | Excavation, Trenching & Backfilling | Standard
| 2223 | 1.2 Main Trench Excavation - Common | Cubic Meter | 1 |  | 2223 | Excavation, Trenching & Backfilling | Standard
| 2223 | 2.1 Service Trench Excavation - Rock | Cubic Meter | 1 |  | 2223 | Excavation, Trenching & Backfilling | Standard
| 2223 | 2.2 Service Trench Excavation - Common | Cubic Meter | 1 |  | 2223 | Excavation, Trenching & Backfilling | Standard
| 2223 | 3. Imported Common Backfill | Cubic Meter | 1 |  | 2223 | Excavation, Trenching & Backfilling | Standard
| 2223 | 4. Sheeting & Bracing Left in Place | Square Meter | 1 |  | 2223 | Excavation, Trenching & Backfilling | Standard
| 2223 | 5.1 Granular Pipe Bedding - Type 1 | Cubic Meter | 1 |  | 2223 | Excavation, Trenching & Backfilling | Standard
| 2223 | 5.2 Granular Pipe Bedding - Type 2 | Cubic Meter | 1 |  | 2223 | Excavation, Trenching & Backfilling | Standard
| 2223 | 5.3 Granular Pipe Bedding - Type 3 | Cubic Meter | 1 |  | 2223 | Excavation, Trenching & Backfilling | Standard
| 2223 | 5.3.1 Granular Pipe Bedding - Type 3 Imported | Cubic Meter | 1 |  | 2223 | Excavation, Trenching & Backfilling | Standard
| 2223 | 6. Rock Under bedding | Cubic Meter | 1 |  | 2223 | Excavation, Trenching & Backfilling | Standard
| 2223 | 7. Trucking, Handling, Stockpiling, Filling, and Conditioning, and Reuse of Wet Common Material | Cubic Meter | 1 |  | 2223 | Excavation, Trenching & Backfilling | Standard
| 2223 | 8.1 Supply & Placement of Marking Tape - Plastic | Meter | 1 |  | 2223 | Excavation, Trenching & Backfilling | Standard
| 2223 | 8.2 Supply & Placement of Marking Tape - Metal | Meter | 1 |  | 2223 | Excavation, Trenching & Backfilling | Standard
| 2224 | 1.1 Mass Excavation & Backfill - Rock | Cubic Meter | 1 |  | 2224 | Roadway Excavation, Embankment & Compaction | Standard
| 2224 | 1.2 Mass Excavation & Backfill - Common | Cubic Meter | 1 |  | 2224 | Roadway Excavation, Embankment & Compaction | Standard
| 2224 | 2.1 Imported Backfill - Rock | Cubic Meter | 1 |  | 2224 | Roadway Excavation, Embankment & Compaction | Standard
| 2224 | 2.2 Imported Backfill - Common | Cubic Meter | 1 |  | 2224 | Roadway Excavation, Embankment & Compaction | Standard
| 2224 | 3. Placing & Spreading Topsoil | Square Meter | 1 |  | 2224 | Roadway Excavation, Embankment & Compaction | Standard
| 2231 | 1. Scarifying & Reshaping incl. Compaction | Square Meter | 1 |  | 2231 | Scarifying & Reshaping | Standard
| 2232 | 1. Reshaping up to 100 mm incl. Compaction | Square Meter | 1 |  | 2232 | Reshaping Only | Standard
| 2233 | 1. Class "A" Granular Base | Cubic Meter | 1 |  | 2233 | Selected Granular Base & Sub Base Materials | Standard
| 2233 | 2. Class "B" Granular Sub-Base | Cubic Meter | 1 |  | 2233 | Selected Granular Base & Sub Base Materials | Standard
| 2250 | 1. Calcium Chloride | Metric Ton/Tonne | 1 |  | 2250 | Calcium Chloride | Standard
| 2270 | 1. Rip-Rap Hand Laid Dry Wall | Cubic Meter | 1 |  | 2270 | Rip-Rap Protection | Standard
| 2270 | 2. Rip-Rap Hand Laid with Sod | Cubic Meter | 1 |  | 2270 | Rip-Rap Protection | Standard
| 2270 | 3. Rip-Rap Grouted | Cubic Meter | 1 |  | 2270 | Rip-Rap Protection | Standard
| 2270 | 4. Rip-Rap Random | Cubic Meter | 1 |  | 2270 | Rip-Rap Protection | Standard
| 2271 | 1. Supply & Placement of Armour Stone (Size X) | Cubic Meter | 1 |  | 2271 | Armour Stone Protection | Standard
| 2271 | 2. Supply & Placement of Armour Stone (Size Y) | Cubic Meter | 1 |  | 2271 | Armour Stone Protection | Standard
| 2271 | 3. Supply & Placement of Armour Stone (Size Z) | Cubic Meter | 1 |  | 2271 | Armour Stone Protection | Standard
| 2272 | 1. Supply & Placement of Gabions incl. Fill by Hand (wire type) | Cubic Meter | 1 |  | 2272 | Gabions | Standard
| 2282 | 1. Standard Type Guide Rail | Meter | 1 |  | 2282 | Supply & Installation of Guide Rail | Standard
| 2282 | 2. Guide Rail with Additional Posts | Meter | 1 |  | 2282 | Supply & Installation of Guide Rail | Standard
| 2282 | 3. Type "A" Guide Rail | Meter | 1 |  | 2282 | Supply & Installation of Guide Rail | Standard
| 2282 | 4. Type "B" Guide Rail | Meter | 1 |  | 2282 | Supply & Installation of Guide Rail | Standard
| 2282 | 5. Sloped & Buried Guide Rail Section | Each | 1 |  | 2282 | Supply & Installation of Guide Rail | Standard
| 2283 | 1.1 Salvage & Reinstallation of Guide Rail - On New Posts | Meter | 1 |  | 2283 | Salvage & Reinstallation of Guide Rail | Standard
| 2283 | 1.2 Salvage & Reinstallation of Guide Rail - On Salvaged Posts | Meter | 1 |  | 2283 | Salvage & Reinstallation of Guide Rail | Standard
| 2284 | 1. Handrail | Meter | 1 |  | 2284 | Handrail | Standard
| 2410 | 1. Supply & Placement of Bedding Gravel | Cubic Meter | 1 |  | 2410 | Sub-Drains | Standard
| 2410 | 2. Supply & Placement of Granular Filter Material | Cubic Meter | 1 |  | 2410 | Sub-Drains | Standard
| 2410 | 3. Supply & Placement of Sub-Drains (size) | Meter | 1 |  | 2410 | Sub-Drains | Standard
| 2434 | 1. Supply & Placement of Pipe Culvert (size) (thickness) (type) | Meter | 1 |  | 2434 | Pipe Culverts | Standard
| 2434 | 2. Supply & Placement of Cut-off Collars | Each | 1 |  | 2434 | Pipe Culverts | Standard
| 2434 | 3. Supply & Placement Prefab. End Sections | Each | 1 |  | 2434 | Pipe Culverts | Standard
| 2434 | 4. Supply & Placement of Debris Racks | Each | 1 |  | 2434 | Pipe Culverts | Standard
| 2434 | 5. Supply & Placement of Concrete Head Walls | Cubic Meter | 1 |  | 2434 | Pipe Culverts | Standard
| 2481 | 1.1 Channel Evcavation - Rock | Cubic Meter | 1 |  | 2481 | Channel Excavation, Cleaning & Deepening | Standard
| 2481 | 1.2 Channel Evcavation - Common | Cubic Meter | 1 |  | 2481 | Channel Excavation, Cleaning & Deepening | Standard
| 2481 | 2. Cleaning & Deepening of Existing Channels | Meter | 1 |  | 2481 | Channel Excavation, Cleaning & Deepening | Standard
| 2496 | 1. Timber Cribwork | Cubic Meter | 1 |  | 2496 | Timber Crib work | Standard
| 2528 | 1. Supply & Place Granular Base Material | Cubic Meter | 1 |  | 2528 | Concrete Walk, Curb & Gutters | Standard
| 2528 | 2. Concrete Walks (width) (thickness) | Meter | 1 |  | 2528 | Concrete Walk, Curb & Gutters | Standard
| 2528 | 3. Combined Curb & Sidewalk (width) (thickness) | Meter | 1 |  | 2528 | Concrete Walk, Curb & Gutters | Standard
| 2528 | 4.1 Driveway Ramps - With Curb, (width) (thickness) | Meter | 1 |  | 2528 | Concrete Walk, Curb & Gutters | Standard
| 2528 | 4.2 Driveway Ramps - Without Curb, (width) (thickness) | Meter | 1 |  | 2528 | Concrete Walk, Curb & Gutters | Standard
| 2528 | 5. Curb & Gutter | Meter | 1 |  | 2528 | Concrete Walk, Curb & Gutters | Standard
| 2528 | 6. Curb | Meter | 1 |  | 2528 | Concrete Walk, Curb & Gutters | Standard
| 2547 | 1. Supply & Placement of Asphalt Tack Coat | Square Meter | 1 |  | 2547 | Asphalt Tack Coat | Standard
| 2552 | 1.1 Asphaltic Concrete - Base Course | Metric Ton/Tonne | 1 |  | 2552 | Hot Mix Asphalt Concrete Paving | Standard
| 2552 | 1.2 Asphaltic Concrete - Surface Course | Metric Ton/Tonne | 1 |  | 2552 | Hot Mix Asphalt Concrete Paving | Standard
| 2552 | 1.3 Asphaltic Concrete - Asphalt Concrete Adjustment | Metric Ton/Tonne | 1 |  | 2552 | Hot Mix Asphalt Concrete Paving | Standard
| 2552 | 2.1 Asphaltic Concrete Walkways - (thickness) (width) | Meter | 1 |  | 2552 | Hot Mix Asphalt Concrete Paving | Standard
| 2552 | 3.1 Asphaltic Concrete Ditch - (thickness) (width) | Meter | 1 |  | 2552 | Hot Mix Asphalt Concrete Paving | Standard
| 2574 | 1. Removal of Asphalt Pavement | Square Meter | 1 |  | 2574 | Reshaping & Patching Asphalt Pavement | Standard
| 2574 | 2. Patching of Asphalt Pavement | Square Meter | 1 |  | 2574 | Reshaping & Patching Asphalt Pavement | Standard
| 2574 | 3. Removal and Replacement of Asphalt Pavement (For Road Projects only) | Square Meter | 1 |  | 2574 | Reshaping & Patching Asphalt Pavement | Standard
| 2574 | 4. Temporary Patching of Asphalt Pavement | Square Meter | 1 |  | 2574 | Reshaping & Patching Asphalt Pavement | Standard
| 2574 | 5. Cutting of Asphalt Pavement | Meter | 1 |  | 2574 | Reshaping & Patching Asphalt Pavement | Standard
| 2575 | 1. Cold Planing | Square Meter | 1 |  | 2575 | Cold Planing | Standard
| 2576 | 1. Pulverizing | Square Meter | 1 |  | 2576 | Pulverizing | Standard
| 2577 | 1. Pavement Crack Cleaning & Filling | Meter | 1 |  | 2577 | Pavement Crack Cleaning & Filling | Standard
| 2580 | 1. Pavement Marking | Lump-Sum | 1 |  | 2580 | Pavement Marking | Standard
| 2601 | 1.1 Supply & Placement of Pre-Cast Maintenance Holes Diameter 2 m or less | Each | 1 |  | 2601 | Maintenance Holes, Catch Basins, Ditch Inlets & Valve Chambers | Standard
| 2601 | 1.2 Supply & Placement of Pre-Cast Maintenance Holes Diameter > 2 m to 2.5 m | Each | 1 |  | 2601 | Maintenance Holes, Catch Basins, Ditch Inlets & Valve Chambers | Standard
| 2601 | 1.3 Supply & Placement of Pre-Cast Maintenance Holes Diameter > 2.5 m to 3.0 m | Each | 1 |  | 2601 | Maintenance Holes, Catch Basins, Ditch Inlets & Valve Chambers | Standard
| 2601 | 1.4 Supply & Placement of Pre-Cast Maintenance Holes Diameter > 3.0 m to 3.5 m | Each | 1 |  | 2601 | Maintenance Holes, Catch Basins, Ditch Inlets & Valve Chambers | Standard
| 2601 | 1.5 Supply & Placement of Pre-Cast Maintenance Holes Diameter > 3.5 m to 4.0 m | Each | 1 |  | 2601 | Maintenance Holes, Catch Basins, Ditch Inlets & Valve Chambers | Standard
| 2601 | 1.6 Supply & Placement of Pre-Cast Maintenance Holes Diameter > 4.0 m to 4.5 m | Each | 1 |  | 2601 | Maintenance Holes, Catch Basins, Ditch Inlets & Valve Chambers | Standard
| 2601 | 1.7 Supply & Placement of Pre-Cast Maintenance Holes Diameter > 4.5 m to 5.0 m | Each | 1 |  | 2601 | Maintenance Holes, Catch Basins, Ditch Inlets & Valve Chambers | Standard
| 2601 | 1.8 Supply & Placement of Pre-Cast Maintenance Holes Diameter > 5.0 m to 5.5 m with Safety Landing | Each | 1 |  | 2601 | Maintenance Holes, Catch Basins, Ditch Inlets & Valve Chambers | Standard
| 2601 | 1.9 Supply & Placement of Pre-Cast Maintenance Holes Diameter > 6.0 m to 6.5 m with Safety Landing (etc.) | Each | 1 |  | 2601 | Maintenance Holes, Catch Basins, Ditch Inlets & Valve Chambers | Standard
| 2601 | 2. Supply & Placement of Maintenance Hole Inflow Protectors | Each | 1 |  | 2601 | Maintenance Holes, Catch Basins, Ditch Inlets & Valve Chambers | Standard
| 2601 | 3. Outfall Structures | Each | 1 |  | 2601 | Maintenance Holes, Catch Basins, Ditch Inlets & Valve Chambers | Standard
| 2601 | 4. Drop Maintenance Holes | Each | 1 |  | 2601 | Maintenance Holes, Catch Basins, Ditch Inlets & Valve Chambers | Standard
| 2601 | 5. Special Maintenance Holes | Each | 1 |  | 2601 | Maintenance Holes, Catch Basins, Ditch Inlets & Valve Chambers | Standard
| 2601 | 6. Catch Basins | Each | 1 |  | 2601 | Maintenance Holes, Catch Basins, Ditch Inlets & Valve Chambers | Standard
| 2601 | 7. Cast-in-Place Maintenance Holes | Each | 1 |  | 2601 | Maintenance Holes, Catch Basins, Ditch Inlets & Valve Chambers | Standard
| 2601 | 8. Adjustment of Maintenance Hole/Catch Basin Tops | Each | 1 |  | 2601 | Maintenance Holes, Catch Basins, Ditch Inlets & Valve Chambers | Standard
| 2601 | 9. Sealing Existing Maintenance Hole/Catch Basin Tops | Each | 1 |  | 2601 | Maintenance Holes, Catch Basins, Ditch Inlets & Valve Chambers | Standard
| 2650 | 1. (Pumping Station Identifier), (Pumps), (Size in K.W.), See Contract Documents | Lump-Sum | 1 |  | 2650 | Sewage Pumping Stations | Standard
| 2650 | 2. Supply and Commission Portable Diesel Generator | Lump-Sum | 1 |  | 2650 | Sewage Pumping Stations | Standard
| 2702 | 1.1 Supply & Placement of Sanitary Sewer - Main Line (size) (type) (thickness) (insulation) | Meter | 1 |  | 2702 | Pipe Sewer Construction | Standard
| 2702 | 1.2.1 Supply & Placement of Sanitary Sewer - Service Line (size) (type) (thickness) (insulation) | Meter | 1 |  | 2702 | Pipe Sewer Construction | Standard
| 2702 | 1.2.2 Supply & Placement of Sanitary Sewer - Service Line - long radius bends | Each | 1 |  | 2702 | Pipe Sewer Construction | Standard
| 2702 | 2. Supply & Placement of Storm Sewer (size) (type) (thickness) | Meter | 1 |  | 2702 | Pipe Sewer Construction | Standard
| 2702 | 3. Supply & Install Tees c/w Bends | Each | 1 |  | 2702 | Pipe Sewer Construction | Standard
| 2702 | 4. Supply & Installation of End Caps | Each | 1 |  | 2702 | Pipe Sewer Construction | Standard
| 2702 | 5. Supply & Installation of Plugs | Each | 1 |  | 2702 | Pipe Sewer Construction | Standard
| 2702 | 6. CCTV Camera Inspection Services | Meter | 1 |  | 2702 | Pipe Sewer Construction | Standard
| 2702 | 7. Break Into & Connect to Existing Maintenance Holes | Each | 1 |  | 2702 | Pipe Sewer Construction | Standard
| 2702 | 8. Locate and Connect to Existing Sewer Mains | Each | 1 |  | 2702 | Pipe Sewer Construction | Standard
| 2702 | 9. Locate and Connect to Existing Sewer Stubs | Each | 1 |  | 2702 | Pipe Sewer Construction | Standard
| 2704 | 1. Outfall Sewer Pipe (size) (type) (thickness) | Meter | 1 |  | 2704 | Sanitary Sewer Outfall Pipe | Standard
| 2704 | 2. Concrete for Bedding and Encasement Pipes | Cubic Meter | 1 |  | 2704 | Sanitary Sewer Outfall Pipe | Standard
| 2704 | 3. Other bedding (specify) | Cubic Meter | 1 |  | 2704 | Sanitary Sewer Outfall Pipe | Standard
| 2704 | 4. Tees, Caps, Plugs, Other Fittings Concrete Head Blocks, Cradles, Supports (Specify) | Each | 1 |  | 2704 | Sanitary Sewer Outfall Pipe | Standard
| 2704 | 5. Underwater Video and/or Photo Inspection | Lump-Sum | 1 |  | 2704 | Sanitary Sewer Outfall Pipe | Standard
| 2710 | 1. Supply & Installation Foundation & Under Slab Drainage | Lump-Sum | 1 |  | 2710 | Foundation & Under Slab Drainage | Standard
| 2713 | 1. Supply & Installation of Water Main (type) (class) (size) (insulation) | Meter | 1 |  | 2713 | Water Mains | Standard
| 2713 | 2. Supply & Installation of Service Connections to ROW (type) (class) (size) (insulation) | Meter | 1 |  | 2713 | Water Mains | Standard
| 2713 | 3. Supply & Install of Fire Hydrants (depth) (insulation) | Each | 1 |  | 2713 | Water Mains | Standard
| 2713 | 4.1 Supply & Installation of Fitting (size) (insulation) - Wyes | Each | 1 |  | 2713 | Water Mains | Standard
| 2713 | 4.2 Supply & Installation of Fitting (size) (insulation) - Crosses | Each | 1 |  | 2713 | Water Mains | Standard
| 2713 | 4.3 Supply & Installation of Fitting (size) (insulation) - Reducers | Each | 1 |  | 2713 | Water Mains | Standard
| 2713 | 4.4 Supply & Installation of Fitting (size) (insulation) - End Caps/Plugs | Each | 1 |  | 2713 | Water Mains | Standard
| 2713 | 4.5 Supply & Installation of Fitting (size) (insulation) - Bends | Each | 1 |  | 2713 | Water Mains | Standard
| 2713 | 4.6 Supply & Installation of Fitting (size) (insulation) - Tees | Each | 1 |  | 2713 | Water Mains | Standard
| 2713 | 4.7 Supply & Installation of Fitting (size) (insulation) - Corporation Stops | Each | 1 |  | 2713 | Water Mains | Standard
| 2713 | 4.8 Supply & Installation of Fitting (size) (insulation) - Saddles | Each | 1 |  | 2713 | Water Mains | Standard
| 2713 | 4.9 Supply & Installation of Fitting (size) (insulation) - Curb Stops & Boxes | Each | 1 |  | 2713 | Water Mains | Standard
| 2713 | 4.10 Supply & Installation of Fitting (size) (insulation) - Sleeve-type Couplings | Each | 1 |  | 2713 | Water Mains | Standard
| 2713 | 5. Supply & Install Sounding Point/Marker (size) | Each | 1 |  | 2713 | Water Mains | Standard
| 2713 | 6. Supply & Install of Hydrant Extensions (length) (insulation) | Each | 1 |  | 2713 | Water Mains | Standard
| 2713 | 7. Colour Coded Painting of Hydrants | Each | 1 |  | 2713 | Water Mains | Standard
| 2713 | 8. Supply & Install Valves Including Valve Boxes (size) (insulation) | Each | 1 |  | 2713 | Water Mains | Standard
| 2713 | 9. Supply & Placement of Valve Chambers | Each | 1 |  | 2713 | Water Mains | Standard
| 2713 | 10. Supply & Placement of Joint Restraints (size) | Each | 1 |  | 2713 | Water Mains | Standard
| 2713 | 11. Supply & Install Combination Air Release - Vacuum Relief Valves (size) | Each | 1 |  | 2713 | Water Mains | Standard
| 2713 | 12. Supply & Install Valve Box Extensions | Each | 1 |  | 2713 | Water Mains | Standard
| 2713 | 13. Adjust Existing Valve Boxes to Grade | Each | 1 |  | 2713 | Water Mains | Standard
| 2713 | 14. Swabbing of Water Lines (size) | Meter | 1 |  | 2713 | Water Mains | Standard
| 2713 | 15. Locating & Connecting to Existing System | Each | 1 |  | 2713 | Water Mains | Standard
| 2724 | 1. Supply & Installation of Sewage Force Mains (size) (class) (type) (insulation) | Meter | 1 |  | 2724 | Sewage Force Mains | Standard
| 2724 | 2. Supply & Installation Combination Air Release -Vacuum Relief Valve & Chamber | Each | 1 |  | 2724 | Sewage Force Mains | Standard
| 2724 | 3. Supply & Installation of Fittings - Bends (size) (insulation) | Each | 1 |  | 2724 | Sewage Force Mains | Standard
| 2724 | 4. Force Main Connection to Maintenance Holes | Each | 1 |  | 2724 | Sewage Force Mains | Standard
| 2724 | 5. Break Into & Connect to Existing Maintenance Hole | Each | 1 |  | 2724 | Sewage Force Mains | Standard
| 2724 | 6. Swabbing of Force Main (size) | Meter | 1 |  | 2724 | Sewage Force Mains | Standard
| 2729 | 1. Drilling Unconsolidated Formation | Meter | 1 |  | 2729 | Water Wells | Standard
| 2729 | 2. Drilling in Consolidated Formation | Meter | 1 |  | 2729 | Water Wells | Standard
| 2729 | 3. Supply & Installation of Casing (type) (size) | Meter | 1 |  | 2729 | Water Wells | Standard
| 2729 | 4. Supply & Install Drive Shoe | Each | 1 |  | 2729 | Water Wells | Standard
| 2729 | 5. Supply & Installation of Well Screen (size) | Lump-Sum | 1 |  | 2729 | Water Wells | Standard
| 2729 | 6. Supply & Placement of Gravel Packing | Kilogram | 1 |  | 2729 | Water Wells | Standard
| 2729 | 7. Supply & Placement of Grouting (40 kg bags) | Each | 1 |  | 2729 | Water Wells | Standard
| 2729 | 8. Well Development | Hour | 1 |  | 2729 | Water Wells | Standard
| 2729 | 9. Disinfection of Well | Lump-Sum | 1 |  | 2729 | Water Wells | Standard
| 2729 | 10. Test Pumping of Well | Hour | 1 |  | 2729 | Water Wells | Standard
| 2729 | 11. Water Quality Testing | Lump-Sum | 1 |  | 2729 | Water Wells | Standard
| 2729 | 12. Supply & Installation of Well Seals (size) | Each | 1 |  | 2729 | Water Wells | Standard
| 2831 | 1. Supply & Erection of Chain Link Fence, Including Brace Panels & Gate Openings Requirements | Meter | 1 |  | 2831 | Chain Link Fences & Gates | Standard
| 2831 | 2. Supply & Install Barb Wire & Brackets | Meter | 1 |  | 2831 | Chain Link Fences & Gates | Standard
| 2831 | 3. Supply & Erection of Chain Link Gates (size) | Each | 1 |  | 2831 | Chain Link Fences & Gates | Standard
| 2832 | 1. Supply & Erection of Wire Fences | Meter | 1 |  | 2832 | Wildlife Wire Fences | Standard
| 2832 | 2. Supply & Erection of Wire Gates | Each | 1 |  | 2832 | Wildlife Wire Fences | Standard
| 2897 | 1. Supply & Install Filter Fabric | Square Meter | 1 |  | 2897 | Filter Fabrics (Geotextile) | Standard
| 3300 | 1. Cast-In-Place Concrete | Cubic Meter | 1 |  | 3300 | Cast-In-Place Concrete | Standard
| 3300 | 2. Concrete Bedding | Cubic Meter | 1 |  | 3300 | Cast-In-Place Concrete | Standard
| 3300 | 3. Concrete Pipe Encasement | Cubic Meter | 1 |  | 3300 | Cast-In-Place Concrete | Standard
| 3300 | 4. Concrete Supports | Cubic Meter | 1 |  | 3300 | Cast-In-Place Concrete | Standard
| 3300 | 5. Concrete Thrust Blocks | Cubic Meter | 1 |  | 3300 | Cast-In-Place Concrete | Standard
| 3300 | 6. Concrete Cut Off Walls | Cubic Meter | 1 |  | 3300 | Cast-In-Place Concrete | Standard
| 3306 | 1. Underwater Concrete | Cubic Meter | 1 |  | 3306 | Underwater Concreting | Standard
| 3306 | 2. Underwater Video and/or Photo Inspection | Lump-Sum | 1 |  | 3306 | Underwater Concreting | Standard
| HST | Harmonized Sales Tax (HST) | Lump-Sum | 1 |  | HST | Harmonized Sales Tax | Standard

## Project 2
Item No | Code * | Description * | UOM | Quantity | Cost Allowance Price | Group ID * | Group Name * | Group Type
* = Mandatory

## Project 3
Item No | Code * | Description * | UOM | Quantity | Cost Allowance Price | Group ID * | Group Name * | Group Type
* = Mandatory

## Project 4
Item No | Code * | Description * | UOM | Quantity | Cost Allowance Price | Group ID * | Group Name * | Group Type
* = Mandatory

## Project 5
Item No | Code * | Description * | UOM | Quantity | Cost Allowance Price | Group ID * | Group Name * | Group Type
* = Mandatory

## ref (hidden)
Standard | Acre
Cost Allowance | Acre Feet Of Water
Assembly
Bags
Bale
Ball
Bar
Barrel
Basket
Board Feet
Book
Bottle
Box
Brick
Bulk
Bundle
Bushel
Calendar Day
Calendar Month
Can
Canister
Card
Carton
Cartridge
Case
Centerline-foot
Centum Cubic Feet
Clip
Coil
Cone
Container
Copy
Crate
Cubic Centimeter
Cubic Decimeter
Cubic Foot/Feet
Cubic Meter
Cubic Meter Kilometer
Cubic Meter/Kilometer
Cubic Yard
Cylinder
Day
Decimeter
Delivery Charge
Dollar
Dose
Dozen
Drum
Each
Envelope
Flat
Foot/Feet
Gallon
Gram
Gram2
Gross
Half Gallon
Half Pint
Hank
Hectare
Hole
Hour
Hourly Rate
Hundred
Hundred Feet
Hundred Weight
Inch
Jar
Job
Joint
Keg
Kilogram
Kilolitre
Kilometer
Kilometer/Days
Kilowatt
Kit
Lane Kilometer
Length
Linear Foot/Feet
Linear Inch
Linear Kilometer
Linear Meter
Linear Yard
Liter
Load
Lot
Lump-Sum
Meter
Metric Ton/Tonne
Mile
Milliliter
Millimeter
Million
Minute
Month
Other
Ounce
Pack
Package
Packet
Pad
Page
Pail
Pair
Pallet
Pass Kilometer
Percent
Piece
Pint
Pound
Pug
Quart
Quarterly
Quire
Ream
Reel
Report
Roll
Round
Sack
Second
Section
Semi Annual
Set
Sheet
Short Ton
Sleeve
Speedpak
Spool
Square
Square Centimeter
Square Decimeter
Square Foot/Feet
Square Inch
Square Kilometer
Square Meter
Square Yard
Station
Station Meter
Strip
Tank
Thousand
Thousand Feet
Ton
Tonne Kilometer
Trip
Troy Ounce
Truck Load
Tub
Tube
Unit
Unit/day
United States Dollar
Vertical Feet
Vertical Meter
Vial
Week
Weekend
Weight
Yard
Year