User’s Guide

Municipal Water, Sewer and Roads Master Specification Construction

[THIS PAGE INTENTIONALLY LEFT BLANK]

INTRODUCTION

The Municipal Water, Sewer and Roads Master Construction Specification has been prepared for municipal infrastructure contracts in the Province of Newfoundland and Labrador.

The preparation of this document was undertaken with the prime objective of bringing about significant reductions in the cost of design and construction of municipal infrastructure through:

.1	The development of uniform practices;

.2	The elimination of the need to prepare full specification documents for each project;

.3	The reduction of retraining of key personnel transferred from one point to another;

.4	The elimination of disputes arising over misinterpretation of specifications;

Its use should simplify the preparation, and improve, the average quality of specifications for municipal services.

THE CONSULTANT MUST BE AWARE THAT THE MUNICIPAL WATER, SEWER AND ROADS MASTER CONSTRUCTION SPECIFICATION DOES NOT ELIMINATE THE NECESSITY FOR DETAILED DESIGN. ANY CONSULTANT WHO USES THIS DOCUMENT IN PREPARING CONTRACT DOCUMENTS MUST RECOGNIZE THAT THEY RETAIN FULL RESPONSIBILITY FOR THE OVERALL COMPLETENESS OF THEIR CONTRACT DOCUMENTS.

The Consultant shall not re-type any part of this Master Construction Specifications for use in their own documents. The original Master Documents must be used at all times. This includes both this Master Construction Specifications and all associated Project Documents listed below.

Any deviations from or additions to the Master Construction Specifications need to be detailed in the Project Specific Specification (01000).

The Consultant however, must alter the MERX Schedule of Quantities and Prices (.xlsx file) template version for use in their particular project documents. In this instance, the Consultant must confirm and use the same numbering system, format and units as provided in the Sample Schedule of Quantities & Prices in the Municipal Water, Sewer and Roads Master Specification Construction Specification. Rows for items in the Sample Schedule of Quantities & Prices which are not work items under the tendered documents must be deleted (not hidden) from the MERX Schedule of Quantities and Prices.

PREPARATION OF PROJECT DOCUMENTS

Project documents are the documents which are prepared to supplement the Master Construction Specifications. Project documents are the only documents to be prepared and issued for each specific project. They include the following:

- Instructions to Bidders

- General Conditions of Unit Price Contract or Stipulated Price Contract

- Supplementary General Conditions

- Agreement Between Owner and Contractor for Unit Price Contract or Stipulated Price Contract (Sample)

- Certificate of Insurance Form (Sample). Altered if additional insurances are required.

- Project Specific Specifications (01000)

- MERX Schedule of Quantities and Prices (Unit Price Contract or Stipulated Price Contract)

- Tender Amendments Template

- Contract Drawings

- Standard Forms (Use samples included in Master Construction Specifications)

It is recommended for the purpose of understanding during the tender process, that the following statement should be included immediately inside the front cover of the Project Documents:

THESE PROJECT DOCUMENTS HAVE BEEN PREPARED FOR USE WITH AND REQUIRE BEING READ IN CONJUNCTION WITH THE MUNICIPAL WATER, SEWER AND ROADS MASTER CONSTRUCTION SPECIFICATIONS, (CONSULTANT TO INSERT APPLICAPLE DATE) REVISION, AS PUBLISHED BY THE PROVINCE OF NEWFOUNDLAND AND LABRADOR. THIS PUBLICATION IS AVAILABLE ON THE DEPARTMENT WEBSITE AT THE FOLLOWING LINK:

https://www.gov.nl.ca/ti/mi/mwsr/#spec

.1	PROJECT SPECIFIC SPECIFICATION

.1	Project Specific Specification is prepared to add to the existing Master Construction Specifications when necessary. Project Specific Specification is not to be used to modify the Master Construction Specifications but to add additional sections when required.

.2	Projects for Buildings should use the Building Design and Construction NL Master Specification for Public Funded Buildings. The BDC specification is a design meant to be altered as required. Consultants are to provide a track change version for Owner and MI review.

.4	Make every effort to keep Project Specific Specifications to a minimum. Certain supplements are required for all projects as follows:

.1	Project description

.2	Project Schedule and Requirements

.3	Site access conditions

.4	Technical Sections for items not included in the Master Construction Specifications.

.5	Measurement for payment for additional items.

.2	DRAWINGS

.1	The specifications are to be accompanied by a detailed set of drawings used in conjunction with the standard drawings in the specifications.

.3	FLAG PERSON HOURS

When developing the number of flag persons hours the consultants should apply the number of working hours from the March 2020 Revised (25% reduction from previous) SGC 5.0 and consider three (3) flag persons per hour as a normal situation. See Circular issued on April 2, 2020.  https://www.gov.nl.ca/ti/files/MI-circular-Reference-to-Revised-Version-of-the-Previous-SGC-19.2-2020-Apr-02.pdf

.2	MERX QUANTITIES ADJUSTMENTS

Section 2233 requires that some quantities noted in the MERX Schedule of Quantities and Prices shall be 110 % of the calculated quantities based on theoretical limits.

Section 2552 requires that some quantities noted in the MERX Schedule of Quantities and Prices shall be 105 % of the calculated quantities based on theoretical limits.

.3	Record Documents

The Consultant shall be responsible for the final compilation of record drawings for submission to the Department in PDF and AutoCAD 2012 or earlier format. The Contractor is required to assist and provide data as noted in Section 1720.