# GENERAL

## SECTION INCLUDES

### Title and description of Work.

### Contractor use of premises.

### Owner occupancy.

## WORK COVERED BY CONTRACT DOCUMENTS

### Work of this Contract comprises general construction renovation of___, located at___; and further identified as___.

### Work not included in this contract comprises of

### Work covered by the contract documents includes Commissioning of the facility as per Section 01 91 13.13 – Commissioning (Cx) Requirements including engagement of third party structural engineer for verification of equipment structural support.

### The Work under this Contract will be substantially performed within Enter Expected Project Length months from the date of notification of award of contract.

## CONTRACTOR USE OF PREMISES

### Contractor has unrestricted use of site.

### Coordinate use of premises under direction of Owner.

### Obtain and pay for use of additional storage or work areas needed for operations under this Contract.

### Remove or alter existing work to prevent injury or damage to portions of existing work which remain.

### Repair or replace portions of existing work which have been altered during construction operations to match existing or adjoining work, as directed by Owner.

## OWNER OCCUPANCY

### Owner will occupy premises during entire construction period for execution of normal operations.

### Cooperate with Owner in scheduling operations to minimize conflict and to facilitate Owner usage.

## RELATED WORK

### .1	The following specification sections are referenced to indicate work responsibilities as specified and carried in other sections.

#### Section 21 05 00 – Common Work Results for Fire Suppression.

#### Section 21 05 01 – Common Work Results for Mechanical.

#### Section 22 05 00 – Common Work Results for Plumbing.

#### Section 23 05 00 – Common Work Results for HVAC.

#### Section 25 05 01 – EMCS – General Requirements.

#### Section 26 05 00 – Common Work Results – Electrical.

## on-site DOCUMENTS

### Maintain at job site documents as indicated in Section 01 31 00 – Project Management and Coordination.

## CONTRACT DOCUMENTS

### Legends and schedules in the Issued for Tender Drawings take precedence over the Technical Specifications with respect to products and materials identified.

# PRODUCTS (NOT APPLICABLE)

# EXECUTION (NOT APPLICABLE)

END OF SECTION