# GENERAL

## SECTION INCLUDES

### Inspecting and testing by inspecting firms or testing laboratories designated by Owner.

## RELATED REQUIREMENTS SPECIFIED ELSEWHERE

### Particular requirements for inspection and testing to be carried out by testing laboratory designated by Owner are specified under various sections.

## APPOINTMENT AND PAYMENT

### Owner will appoint and pay for services of testing laboratory except as follows:

#### Inspection and testing required by laws, ordinances, rules, regulations or orders of public authorities.

#### Inspection and testing performed exclusively for Contractor's convenience.

#### Testing, adjustment and balancing of conveying systems, mechanical and electrical equipment and systems.

#### Mill tests and certificates of compliance.

#### Tests specified to be carried out by Contractor under the supervision of Owner.

### Where tests or inspections by designated testing laboratory reveal Work not in accordance with contract requirements, pay costs for additional tests or inspections as required by Owner to verify acceptability of corrected work.

## CONTRACTOR'S RESPONSIBILITIES

### Provide labour, equipment and facilities to:

#### Provide access to Work to be inspected and tested.

#### Facilitate inspections and tests.

#### Make good Work disturbed by inspection and test.

#### Provide storage on site for laboratory's exclusive use to store equipment and cure test samples.

### Notify Owner sufficiently in advance of operations to allow for assignment of laboratory personnel and scheduling of test.

### Where materials are specified to be tested, deliver representative samples in required quantity to testing laboratory.

### Pay costs for uncovering and making good Work that is covered before required inspection or testing is completed and approved by Owner.

# PRODUCTS (NOT APPLICABLE)

# EXECUTION (NOT APPLICABLE)

END OF SECTION