# GENERAL

## RELATED SECTIONS

### Section 02 82 00.02 – Asbestos Abatement

## REFERENCES AND CODES

### Perform Work in accordance with National Building Code of Canada (NBC) including all amendments up to tender closing date and other codes of provincial or local application provided that in case of conflict or discrepancy, more stringent requirements apply.

### Specific design and performance requirements listed in specifications or indicated on Drawings may exceed minimum requirements established by referenced Building Code; these requirements will govern over the minimum requirements listed in Building Code:

#### Meet or exceed requirements of:

##### Contract documents.

##### Specified standards, codes and referenced documents.

## HAZARDOUS MATERIAL DISCOVERY

### Asbestos: stop work immediately should materials believed to contain asbestos be encountered in during the execution of the work and notify Owner. Do not proceed until written instructions have been received from Owner. Perform asbestos abatement and repair in accordance with Newfoundland and Labrador Asbestos Abatement Regulations, Latest Edition.

### Mould: stop work immediately should material resembling mould be encountered during the execution of work and notify Owner. Do not proceed until written instructions have been received from Owner.

## BUILDING SMOKING ENVIRONMENT

### Comply with smoking restrictions.

## RELICS AND ANTIQUITIES

### Protect relics, antiquities, items of historical or scientific interest such as cornerstones and contents, commemorative plaques, inscribed tablets, and similar objects found during course of work.

### Give immediate notice to Owner and await Owner’s written instructions before proceeding with work in this area.

### Relics, antiquities and items of historical or scientific interest remain Her Majesty’s property.

# PRODUCTS (NOT APPLICABLE)

# EXECUTION (NOT APPLICABLE)

# END OF SECTION