# GENERAL

## GENERAL

### Conduct cleaning and disposal operations to comply with local ordinances and anti-pollution laws.

### Store volatile waste in covered metal containers and remove from premises at end of each working day.

### Provide adequate ventilation during use of volatile or noxious substances. Use for building ventilation systems is not permitted for this purpose.

## RELATED SECTION

### Section 01 77 00 - Closeout Procedures.

## PROJECT CLEANLINESS

### Maintain Work in tidy condition, free from accumulation of waste products and debris, other than that caused by Owner or other Contractors.

### Remove waste materials and debris from site at the end of each working day. Do not burn waste materials on site.

### Clear snow and ice from access to building.

### Make arrangements with and obtain permits from authorities having jurisdiction for disposal of waste and debris.

### Provide on-site containers for collection of waste materials and debris.

### Clean interior areas prior to start of finish work, maintain areas free of dust and other contaminants during finishing operations.

### Store volatile waste in covered metal containers, and remove from premises at end of each working day.

### Provide adequate ventilation during use of volatile or noxious substances. Use of building ventilation systems is not permitted for this purpose.

### Use only cleaning materials recommended by manufacturer of surface to be cleaned, and as recommended by cleaning material manufacturer.

### Schedule cleaning operations so that resulting dust, debris and other contaminants will not fall on wet, newly painted surfaces nor contaminate building systems.

### Provide and use marked separate bins for recycling. Refer to Section 01 74 21 – Construction/Waste Management and Disposal.

### Dispose of waste materials and debris at designated dumping areas off site.

## FINAL CLEANING

### Refer to General Conditions.

### When Work is Substantially Performed, remove surplus products, tools, construction machinery and equipment not required for performance of remaining Work.

### Remove waste products and debris other than that caused by others, and leave Work clean and suitable for occupancy.

### When the Work is Totally Performed, remove surplus products, tools, construction machinery and equipment. Remove waste products and debris other than that caused by the Owner or other Contractors.

### Remove waste materials from the site at regularly scheduled times or dispose of as directed by the Owner. Do not burn waste materials on site.

### Make arrangements with and obtain permits from authorities having jurisdiction for disposal of waste and debris.

### Leave the work broom clean before the inspection process commences.

### Clean and polish glass, mirrors, hardware, wall tile, stainless steel, chrome, porcelain enamel, baked enamel, plastic laminate, and mechanical and electrical fixtures. Replace broken, scratched or disfigured glass.

### Remove stains, spots, marks and dirt from decorative work, electrical and mechanical fixtures, furniture fitments, walls, floors and ceilings.

### Clean lighting reflectors, lenses, and other lighting surfaces.

### Vacuum clean and dust building interiors, behind grilles, louvres and screens.

### Wax, seal, shampoo or prepare floor finishes, as recommended by manufacturer.

### Inspect finishes, fitments and equipment and ensure specified workmanship and operation.

### Broom clean and wash exterior walks, steps and surfaces; rake clean other surfaces of grounds.

### Remove dirt and other disfiguration from exterior surfaces.

### Clean roofs, gutters, downspouts and drainage systems. Clean areaways and sunken wells.

### Sweep and wash clean paved areas.

### Clean equipment and fixtures to a sanitary condition; clean or replace filters of mechanical equipment.

### Remove snow and ice from access to building.

### Remove debris and surplus materials from crawl areas and other accessible concealed spaces.

## WASTE MANAGEMENT AND DISPOSAL

### Separate waste materials in accordance with Section 01 74 21 - Construction/Demolition Waste Management and Disposal.

# PRODUCTS (NOT APPLICABLE)

# EXECUTION (not applicable)

END OF SECTION