# GENERAL

## RELATED SECTIONS

### Section 01 74 00 - Cleaning.

### Section 01 78 00 - Closeout Submittals.

### Section 01 91 13.13 - Commissioning (Cx) Requirements.

## FINAL INSPECTION AND DECLARATION PROCEDURES

### Contractor's Inspection:  The Contractor and all Subcontractors shall conduct an inspection of Work, identify deficiencies and defects; repair as required. Notify the Owner in writing of satisfactory completion of the Contractor's Inspection and that corrections have been made. Request an Owner’s Consultant's Inspection.

### Owner’s Inspection: Owner and the Contractor will perform an inspection of the Work to identify obvious defects or deficiencies. The contractor shall correct Work accordingly.

### Completion: submit written certificate that the following have been performed:

#### Work has been completed and inspected for compliance with Contract Documents.

#### Defects have been corrected and deficiencies have been completed.

#### Equipment and systems have been tested, adjusted and balanced and are fully operational.

#### Certificates required by Fire Commissioner, Utility companies have been submitted.

#### Operation of systems have been demonstrated to Owner's personnel.

#### Commissioning of building systems: completed in accordance with section 01 91 13.13 – Commissioning (Cx) Requirements and copies of final Commissioning Report submitted to Owner.

#### Work is complete and ready for Final Inspection.

### Final Inspection: When items noted above are completed, request final inspection of Work by the Owner, representative of DTI and the Contractor.  If Work is deemed incomplete by the Owner, complete outstanding items and request a reinspection.

### Declaration of Substantial Performance: When the Owner considers deficiencies and defects have been corrected and it appears requirements of Contract have been substantially performed, make application for Certificate of Substantial Performance. Refer to General Conditions for specifics to application.

### Commencement of Lien and Warranty Periods: The date of DTI acceptance of the submitted declaration of Substantial Performance shall be the date for commencement for the warranty period and commencement of the lien period.

### Declaration of Total Performance: When the Owner considers final deficiencies and defects have been corrected and it appears requirements of the Contract have been totally performed, make application for certificate of Total Performance. Refer to General Conditions for specifics to application. If Work is deemed incomplete by the Consultant, complete the outstanding items and request a reinspection.

## REINSPECTION

### Should status of work require reinspection by Owner due to failure of work to comply with Contractor’s claims for inspection, Owner will deduct amount of compensation for reinspection services from payment to Contractor.

Part 2 	PRODUCTS (NOT APPLICABLE)

# PART 3 	EXECUTION (NOT APPLICABLE)

END OF SECTION