# GENERAL

## RELATED SECTIONS

### Section 01 74 21 – Construction/Demolition Waste Management and Disposal.

### Section 03 05 05 – Concrete Testing and Inspection.

### Section 03 10 00 – Concrete Forming and Accessories.

### Section 03 30 00 - Cast-in-Place Concrete.

## REFERENCES

### American Concrete Institute (ACI)

#### SP-66, ACI Detailing Manual, 2004.

### American Society for Testing and Materials International (ASTM)

#### ASTM A1022/A1022M, Standard Specification for Deformed and Plain Stainless Steel Wire and Welded Wire for Concrete Reinforcement.

#### ASTM A1064/A1064M, Standard Specification for Carbon-Steel Wire and Welded Wire Reinforcement, Plain and Deformed, for Concrete.

### Canadian Standards Association (CSA)

#### CSA-A23.1/A23.2, Concrete Materials and Methods of Concrete Construction/Methods of test and Standard Practices for Concrete.

#### CSA-A23.3, Design of Concrete Structures.

#### CSA-G30.18, Carbon Steel Bars for Concrete Reinforcement.

#### CSA-G40.20/G40.21, General Requirements for Rolled or Welded Structural Quality Steel /Structural Quality Steel.

#### CAN/CSA-G164, Hot Dip Galvanizing of Irregularly Shaped Articles.

#### CSA W186, Welding of Reinforcing Bars in Reinforced Concrete Construction.

#### .4	Reinforcing Steel Institute of Canada (RSIC)

#### .1	RSIC, Reinforcing Steel Manual of Standard Practice.

## SUBMITTALS

### Indicate on shop drawings, bar bending details, lists, quantities of reinforcement, sizes, spacings, locations of reinforcement and mechanical splices if approved by Owner, with identifying code marks to permit correct placement without reference to structural drawings. Indicate sizes, spacings and locations of chairs, spacers and hangers. Prepare reinforcement drawings in accordance with Reinforcing Steel Manual of Standard Practice - by Reinforcing Steel Institute of Canada. SP-66, ACI Detailing Manual, 2004, American Concrete Institute.

### Detail lap lengths and bar development lengths to CSA-A23.3, unless otherwise indicated.

### Submit drawings stamped and signed by professional engineer registered or licensed in the Province of Newfoundland and Labrador.

# PRODUCTS

## MATERIALS

### Substitute different size bars only if permitted in writing by Owner.

### Reinforcing steel: billet steel, grade 400, deformed bars to CAN/CSA-G30.18, unless indicated otherwise.

### Cold-drawn annealed steel wire ties: to ASTM A1064/A1064M.

### Welded steel wire fabric: to ASTM A1064/A1064M. Provide in flat sheets only.

### Chairs, bolsters, bar supports, spacers: to CSA-A23.1/A23.2.

### Mechanical splices: subject to approval of Owner.

### Plain round bars: to CSA-G40.20/G40.21.

### Tie wire: 1.5 mm diameter annealed wire.

## FABRICATION

### Fabricate reinforcing steel in accordance with CSA-A23.1A23.2, SP-66, and Reinforcing Steel Manual of Standard Practice by the Reinforcing Steel Institute of Canada.

### Obtain Owner’s approval for locations of reinforcement splices other than those shown on placing drawings.

### Upon approval of Owner, weld reinforcement in accordance with CSA W186.

### Ship bundles of bar reinforcement, clearly identified in accordance with bar bending details and lists.

## SOURCE QUALITY CONTROL

### Upon request, provide Owner with certified copy of mill test report of reinforcing steel, showing physical and chemical analysis, minimum 4 weeks prior to commencing reinforcing work.

### Upon request inform Owner of proposed source of material to be supplied.

# EXECUTION

## FIELD BENDING

### Do not field bend or field weld reinforcement except where indicated or authorized by Owner.

### When field bending is authorized, bend without heat, applying a slow and steady pressure.

### Replace bars which develop cracks or splits.

## PLACING REINFORCEMENT

### Place reinforcing steel as indicated on reviewed placing drawings and in accordance with CSA-A23.1/A23.2.

### Use plain round bars as slip dowels in concrete. Paint portion of dowel intended to move within hardened concrete with one coat of asphalt paint. When paint is dry, apply a thick even film of mineral lubricating grease.

### Prior to placing concrete, obtain Owner approval of reinforcing material and placement.

### Ensure cover to reinforcement is maintained during concrete pour.

### Cutting or puncturing vapour retarder is not permitted; repair damage and reseal vapour retarder before placing concrete.

END OF SECTION