# GeneraL

## SUMMARY

### Section includes maintenance of unit masonry consisting of brick clay masonry restoration and cleaning as follows:

#### Mock-ups of proposed work.

#### Repairing unit masonry, including replacing units.

#### Repointing joints with mortars and sealants of building.

#### Preliminary cleaning, including removing plant growth; utilizing:

##### Cold water wash and job-mixed mould, mildew, and algae remover.

#### Cleaning exposed unit masonry surfaces, utilizing:

##### Mild-acidic cleaner.

### Types of items not described in this Section:

#### Cleaning utilizing other means.

#### Paint and tar removal.

#### Unused anchor removal.

#### Painting steel uncovered during the work.

#### Reanchoring veneers.

## REFERENCES

### American Society for Testing and Materials (ASTM)

#### ASTM C67M, Standard Test Methods for Sampling and Testing Brick and Structural Clay Tile.

#### ASMT C1330, Standard Specification for Cylindrical Sealant Backing for Use with Cold Liquid-Applied Sealants.

### Canadian Standards Association (CSA)

#### CSA A82.56, Specification for Aggregate for Masonry Mortar.

#### CAN/CSA A179, Mortar and Grout for Unit Masonry.

#### CAN/CSA A3002, Masonry and Mortar Cement.

## DEFINITIONS

### Low-Pressure Spray: 690 to 2750 kPa; 0.25 to 0.4 L/s.

### High-Pressure Spray: 5510 to 8250 kPa; 0.25 to 0.4 L/s.

## ACTION SUBMITTALS

### Product Data:

#### For each type of product indicated include recommendations for application and use. Include test data substantiating that products comply with requirements.

## Quality Assurance

### Restoration Specialist Qualifications:

#### Engage an experienced masonry restoration and cleaning firm to perform work of this Section. Firm shall have completed work similar in material, design, and extent to that indicated for this Project with a record of successful in-service performance. Experience installing standard unit masonry is not sufficient experience for masonry restoration work.

##### At Contractor's option, work may be divided between two specialist firms: one for cleaning work and one for repair work.

##### Field Supervision: Restoration specialist firms shall maintain experienced fulltime supervisors on Project site during times that clay masonry restoration and cleaning work is in progress. Supervisors shall not be changed during Project except for causes beyond the control of restoration specialist firm.

##### Restoration Worker Qualifications: Persons who are experienced in restoration work of types they will be performing.

#### Chemical-Cleaner Manufacturer Qualifications: A firm regularly engaged in producing masonry cleaners that have been used for similar applications with successful results, and with factory-trained representatives who are available for consultation and Project site inspection and assistance at no additional cost.

#### Source Limitations: Obtain each type of material for masonry restoration (face brick, cement, sand, etc.) from one source with resources to provide materials of consistent quality in appearance and physical properties.

#### Cleaning and Repair Appearance Standard: Cleaned and repaired surfaces are to have a uniform appearance as viewed from 6.0 m away by Owner. Perform additional general cleaning, and spot cleaning of small areas that are noticeably different, so that surface blends smoothly into surrounding areas.

#### Mock-ups: Provide mock-ups in accordance with requirements of Section 01 43 39 – Mock Up requirements.

##### Prepare mock-ups of restoration and cleaning to demonstrate aesthetic effects and set quality standards for materials and execution and for fabrication and installation.

##### Masonry Repair: Prepare sample areas for each type of masonry material indicated to have repair work performed. If not otherwise indicated, size each mock-up not smaller than two (2) adjacent whole units or approximately 1200 mm in least dimension. Erect sample areas in existing walls unless otherwise indicated, to demonstrate quality of materials, workmanship, and blending with existing work. Include the following as a minimum:

###### Replacement: Four brick units replaced.

###### Patching: Three small holes at least 25 mm in diameter for each type of masonry material indicated to be patched, so as to leave no evidence of repair.

##### Repointing: Rake out joints in two (2) separate areas, each approximately 900 mm high by 1200 mm wide for each type of repointing required and repoint one of the areas.

##### Cleaning: Clean an area approximately 2.3 m2 for each type of masonry and surface condition.

###### Test cleaners and methods on samples of adjacent materials for possible adverse reactions. Do not use cleaners and methods known to have deleterious effect.

###### Allow a waiting period of not less than seven (7) days after completion of sample cleaning to permit a study of sample panels for negative reactions.

##### Approval of mock-ups does not constitute approval of deviations from the Contract Documents contained in mock-ups unless Owner specifically approves such deviations in writing.

##### Approved mock-ups may become part of the completed Work if undisturbed at time of Substantial Completion.

#### Conduct conference at Project site. Review methods and procedures related to masonry restoration and cleaning including.

## DELIVERY, STORAGE AND HANDLING

### Deliver masonry units to Project site strapped together in suitable packs or pallets or in heavy-duty cartons.

### Deliver other materials to Project site in manufacturer's original and unopened containers, labelled with manufacturer's name and type of products.

### Store cementitious materials on elevated platforms, under cover, and in a dry location. Do not use cementitious materials that have become damp.

### Store sand where grading and other required characteristics can be maintained and contamination avoided.

## PROJECT CONDITIONS

### Weather Limitations: Proceed with installation only when existing and forecasted weather conditions permit masonry restoration and cleaning work to be performed according to manufacturers' written instructions and specified requirements.

### Repair masonry units and repoint mortar joints only when air temperature is between 4° and 32° C and is predicted to remain so for at least seven (7) days after completion of the Work unless otherwise indicated.

### Cold-Weather Requirements: Comply with the following procedures for masonry repair and mortar-joint pointing unless otherwise indicated:

#### When air temperature is below 4° C, heat mortar ingredients, masonry repair materials, and existing masonry walls to produce temperatures between 4° and 49° C.

#### When mean daily air temperature is below 4° C, provide enclosure and heat to maintain temperatures above 0° C within the enclosure for seven (7) days after repair and pointing.

### Hot-Weather Requirements: Protect masonry repair and mortar-joint pointing when temperature and humidity conditions produce excessive evaporation of water from mortar and repair materials. Provide artificial shade and wind breaks and use cooled materials as required to minimize evaporation. Do not apply mortar to substrates with temperatures of 32° C and above unless otherwise indicated.

### For manufactured repair materials, perform work within the environmental limits set by each manufacturer.

### Clean masonry surfaces only when air temperature is 4° C and above and is predicted to remain so for at least Seven (7) days after completion of cleaning.

## SEQUENCING AND SCHEDULING

### Order materials for pointing mortar immediately after approval of mock-ups. Take delivery of and store at Project site a sufficient quantity to complete Project.

### Perform masonry restoration work in the following sequence:

#### Remove plant growth.

#### Inspect for open mortar joints and repair before cleaning to prevent the intrusion of water and other cleaning materials into the wall.

#### Clean masonry surfaces.

#### Rake out mortar from joints surrounding masonry to be replaced and from joints adjacent to masonry repairs along joints.

#### Repair masonry, including replacing existing masonry with new masonry materials.

#### Rake out mortar from joints to be repointed.

#### Point mortar and sealant joints.

#### After repairs and repointing have been completed and cured, perform a final cleaning to remove residues from this work.

#### Inspect for open mortar joints and repair before cleaning to prevent the intrusion of water and other cleaning materials into the wall.

#### Clean masonry surfaces.

### As scaffolding is removed, patch anchor holes used to attach scaffolding. Patch holes in masonry units to comply with 3.3 Masonry Unit Patching. Patch holes in mortar joints to comply with 3.7 Repointing Masonry.

# Products

## MASONRY MATERIALS

### Face Brick: Provide face brick, including specially moulded, ground, cut, or sawed shapes where required to complete masonry restoration work.

#### Provide units with colours, colour variation within units, surface texture, size, and shape to match existing brickwork and with physical properties

##### For existing brickwork that exhibits a range of colours or colour variation within units, provide brick that proportionally matches that range and variation rather than brick that matches an individual colour within that range.

#### Special Shapes:

##### Provide specially moulded, 100 percent solid shapes for applications where core holes or frogs could be exposed to view or weather when in final position and where shapes produced by sawing would result in sawed surfaces being exposed to view.

##### Provide specially ground units, shaped to match patterns, for arches and where indicated.

##### Mechanical chopping or breaking brick, or bonding pieces of brick together by adhesive, are not acceptable procedures for fabricating special shapes.

## MORTAR MATERIALS

### Mortar: CAN/CSA A3002 and CAN/CSA A179.

### Masonry cement: CAN/CSA A3002 and CAN/CSA A179.

### Sand: to CSA A82.56. Passing a 1.18mm sieve.

### Mortar Pigments: Natural and synthetic iron oxides, compounded for mortar mixes. Use only pigments with a record of satisfactory performance in masonry mortars.

### Water: Potable.

## MANUFACTURED REPAIR MATERIALS

### Masonry Patching Compound: Factory-mixed cementitious product that is custom manufactured for patching masonry.

#### Use formulation that is vapour and water permeable (equal to or more than the masonry unit), exhibits low shrinkage, has lower modulus of elasticity than the masonry units being repaired, and develops high bond strength to all types of masonry.

#### Use formulation having working qualities and retardation control to permit forming and sculpturing where necessary.

#### Formulate patching compound used for patching brick in colours and textures to match each masonry unit being patched. Provide sufficient number of colours to enable matching the colour, texture, and variation of each unit.

## CLEANING MATERIALS

### Water: Potable.

### Job-Mixed Mould, Mildew, and Algae Remover: Solution prepared by mixing 0.5 L of tetrasodium polyphosphate, 5.0 L of 5% sodium hypochlorite (bleach), and 15 L of hot water for every 20 L of solution required.

### Mild Acidic Cleaner: Manufacturer's standard mildly acidic cleaner containing no muriatic (hydrochloric), hydrofluoric, or sulfuric acid; or ammonium bifluoride or chlorine bleaches.

## ACCESSORY MATERIALS

### Sealant Materials:

#### Provide manufacturer's standard chemically curing, elastomeric sealant(s) of base polymer and characteristics that comply with applicable requirements in Section 07 92 00 - Joint Sealants.

#### Provide colours of exposed sealants to match colours of masonry adjoining installed sealant unless otherwise indicated.

### Joint-Sealant Backing:

#### Cylindrical Sealant Backings: ASTM C1330, Type C (closed-cell material with a surface skin) or Type B (bicellular material with a surface skin), and of size and density to control sealant depth and otherwise contribute to producing optimum sealant performance.

#### Bond-Breaker Tape: Polyethylene tape or other plastic tape recommended by sealant manufacturer for preventing sealant from adhering to rigid, inflexible joint-filler materials or joint surfaces at back of joint where such adhesion would result in sealant failure. Provide self-adhesive tape where acceptable.

### Setting Buttons: Resilient plastic buttons, nonstaining to masonry, sized to suit joint thicknesses and bed depths of masonry units without intruding into required depths of pointing materials.

### Miscellaneous Products: Select materials and methods of use based on the following, subject to approval of a mock-up:

#### Previous effectiveness in performing the work involved.

#### Little possibility of damaging exposed surfaces.

#### Consistency of each application.

#### Uniformity of the resulting overall appearance.

#### Do not use products or tools that could do the following:

##### Remove, alter, or in any way harm the present condition or future preservation of existing surfaces, including surrounding surfaces not in contract.

##### Leave a residue on surfaces.

## MORTAR MIXES

### Measure cementitious materials and sand in a dry condition by volume or equivalent weight. Do not measure by shovel; use known measure. Mix materials in a clean, mechanical batch mixer.

#### Thoroughly mix cementitious materials and sand together before adding any water. Then mix again adding only enough water to produce a damp, unworkable mix that will retain its form when pressed into a ball. Maintain mortar in this dampened condition for 15 to 30 minutes. Add remaining water in small portions until mortar reaches desired consistency. Use mortar within one hour of final mixing; do not retemper or use partially hardened material.

### Produce mortar of colour required by using specified ingredients. Do not alter specified proportions without Owner’s approval.

#### Where mortar pigments are indicated, do not exceed a pigment-to-cement ratio of 1:10 by weight.

### Do not use admixtures in mortar unless otherwise indicated.

### Pointing Mortar: CAN/CSA A179, Type N using property specification with maximum of 2% ammonium stearate or calcium stearate per cement weight.

## CHEMICAL CLEANING SOLUTIONS

### Dilute chemical cleaners with water to produce solutions not exceeding concentration recommended by chemical-cleaner manufacturer.

### Acidic Cleaner Solution for Brick: Dilute with water to produce hydrofluoric acid content of 3% or less, but not greater than that recommended by chemical-cleaner manufacturer.

# Execution

## PROTECTION

### Protect persons, motor vehicles, surrounding surfaces of building being restored, building site, plants, and surrounding buildings from harm resulting from masonry restoration work.

#### Erect temporary protective covers over walkways and at points of pedestrian and vehicular entrance and exit that must remain in service during course of restoration and cleaning work.

### Comply with chemical-cleaner manufacturer's written instructions for protecting building and other surfaces against damage from exposure to its products. Prevent chemical cleaning solutions from coming into contact with people, motor vehicles, landscaping, buildings, and other surfaces that could be harmed by such contact.

#### Cover adjacent surfaces with materials that are proven to resist chemical cleaners used unless chemical cleaners being used will not damage adjacent surfaces. Use materials that contain only waterproof, UV-resistant adhesives.

#### Keep wall wet below area being cleaned to prevent streaking from runoff.

#### Do not clean masonry during winds of sufficient force to spread cleaning solutions to unprotected surfaces.

#### Neutralize and collect alkaline and acid wastes for disposal off Owner's property.

#### Dispose of runoff from cleaning operations by legal means and in a manner that prevents soil erosion, undermining of paving and foundations, damage to landscaping, and water penetration into building interiors.

### Prevent mortar from staining face of surrounding masonry and other surfaces.

#### Cover sills, ledges, and projections to protect from mortar droppings.

#### Keep wall area wet below rebuilding and pointing work to discourage mortar from adhering.

#### Immediately remove mortar in contact with exposed masonry and other surfaces.

#### Clean mortar splatters from scaffolding at end of each day.

### Remove any gutters and downspouts adjacent to masonry and store during masonry restoration and cleaning. Reinstall when masonry restoration and cleaning are complete.

#### Provide temporary rain drainage during work to direct water away from building.

## BRICK REMOVAL AND REPLACEMENT

### Remove bricks that are damaged, spalled, or deteriorated in addition to those areas that may be specifically indicated. Carefully demolish or remove entire units from joint to joint, without damaging surrounding masonry, in a manner that permits replacement with full-size units.

#### When removing single bricks, remove material from center of brick and work toward outside edges.

### Support and protect remaining masonry that surrounds removal area. Maintain flashing, reinforcement, lintels, and adjoining construction in an undamaged condition.

### Notify Owner of unforeseen detrimental conditions including voids, cracks, bulges, and loose units in existing masonry backup, rotted wood, rusted metal, and other deteriorated items.

### Remove, in an undamaged condition, as many whole bricks as possible.

#### Remove mortar, loose particles, and soil from brick by cleaning with hand chisels, brushes, and water.

#### Remove sealants by cutting close to brick with utility knife and cleaning with solvents.

#### Store brick for reuse. Store off ground, on skids, and protected from weather.

#### Deliver cleaned brick not required for reuse to Owner unless otherwise indicated.

### Clean bricks surrounding removal areas by removing mortar, dust, and loose particles in preparation for replacement.

### Replace removed damaged brick with other removed brick and salvaged brick in good quality, where possible, or with new brick matching existing brick, including size. Do not use broken units unless they can be cut to usable size.

### Install replacement brick into bonding and coursing pattern of existing brick. If cutting is required, use a motor-driven saw designed to cut masonry with clean, sharp, unchipped edges.

#### Maintain joint width for replacement units to match existing joints.

#### Use setting buttons or shims to set units accurately spaced with uniform joints.

### Lay replacement brick with completely filled bed, head, and collar joints. Butter ends with sufficient mortar to fill head joints and shove into place. Wet both replacement and surrounding bricks that have ASTM C67 initial rates of absorption (suction) of more than 30 g/194 cm2 per minute. Use wetting methods that ensure that units are nearly saturated but surface is dry when laid.

#### Rake out mortar used for laying brick before mortar sets and point new mortar joints in repaired area to comply with requirements for repointing existing masonry, and at same time as repointing of surrounding area.

#### When mortar is sufficiently hard to support units, remove shims and other devices interfering with pointing of joints.

## MASONRY UNIT PATCHING

### Patch the following masonry units unless another type of replacement or repair is indicated:

#### Units indicated to be patched.

#### Units with holes.

#### Units with chipped edges or corners.

#### Units with small areas of deep deterioration.

### Remove and replace existing patches unless otherwise indicated or approved by Owner.

### Patching Bricks:

#### Remove loose material from masonry surface. Carefully remove additional material so patch will not have feathered edges but will have square or slightly undercut edges on area to be patched and will be at least 6.0 mm thick, but not less than recommended by patching compound manufacturer.

#### Mask adjacent mortar joint or rake out for repointing if patch will extend to edge of masonry unit.

#### Mix patching compound in individual batches to match each unit being patched. Combine one or more colours of patching compound, as needed, to produce exact match.

#### Rinse surface to be patched and leave damp, but without standing water.

#### Brush-coat surfaces with slurry coat of patching compound according to manufacturer's written instructions.

#### Place patching compound in layers as recommended by patching compound manufacturer, but not less than 6.0 mm or more than 50 mm thick. Roughen surface of each layer to provide a key for next layer.

#### Trowel, scrape, or carve surface of patch to match texture and surrounding surface plane or contour of the masonry unit. Shape and finish surface before or after curing, as determined by testing, to best match existing masonry unit.

#### Keep each layer damp for 72 hours or until patching compound has set.

## CLEANING MASONRY, GENERAL

### Proceed with cleaning in an orderly manner; work from top to bottom of each scaffold width and from one end of each elevation to the other. Ensure that dirty residues and rinse water will not wash over cleaned, dry surfaces.

### Use only those cleaning methods indicated for each masonry material and location.

#### Do not use wire brushes or brushes that are not resistant to chemical cleaner being used. Do not use plastic-bristle brushes if natural-fibre brushes will resist chemical cleaner being used.

#### Use spray equipment that provides controlled application at volume and pressure indicated, measured at spray tip. Adjust pressure and volume to ensure that cleaning methods do not damage masonry.

##### Equip units with pressure gages.

#### For chemical-cleaner spray application, use low-pressure tank or chemical pump suitable for chemical cleaner indicated, equipped with cone-shaped spray tip.

#### For high-pressure water-spray application, use fan-shaped spray tip that disperses water at an angle of at least 40 degrees.

#### For steam application, use steam generator capable of delivering live steam at nozzle.

### Perform each cleaning method indicated in a manner that results in uniform coverage of all surfaces, including corners, mouldings, and interstices, and that produces an even effect without streaking or damaging masonry surfaces.

### Water Application Methods:

#### Water-Spray Applications: Unless otherwise indicated, hold spray nozzle at least 150 mm from surface of masonry and apply water in horizontal back and forth sweeping motion, overlapping previous strokes to produce uniform coverage.

### Chemical-Cleaner Application Methods: Apply chemical cleaners to masonry surfaces to comply with chemical-cleaner manufacturer's written instructions; use brush or spray application. Do not spray apply at pressures exceeding 345 kPa. Do not allow chemicals to remain on surface for periods longer than those indicated or recommended by manufacturer.

### Rinse off chemical residue and soil by working upward from bottom to top of each treated area at each stage or scaffold setting. Periodically during each rinse, test pH of rinse water running off of cleaned area to determine that chemical cleaner is completely removed.

#### Apply neutralizing agent and repeat rinse if necessary to produce tested pH of between 6.7 and 7.5.

### After cleaning is complete, remove protection no longer required. Remove tape and adhesive marks.

## PRELIMINARY CLEANING

### Preliminary Cleaning: Before beginning general cleaning, remove extraneous substances that are resistant to cleaning methods being used. Extraneous substances include paint, calking, asphalt, and tar.

#### Carefully remove heavy accumulations of material from surface of masonry with a sharp chisel. Do not scratch or chip masonry surface.

#### Remove paint and calking with alkaline paint remover.

##### Repeat application up to two times if needed.

#### Remove asphalt and tar with solvent-type paint remover.

##### Apply paint remover only to asphalt and tar by brush without prewetting.

##### Allow paint remover to remain on surface for 10 to 30 minutes.

##### Repeat application if needed.

## CLEANING BRICKWORK

### Cold-Water Wash: Use cold water applied by high-pressure spray.

### Mould, Mildew, and Algae Removal:

#### Wet masonry with cold water applied by low-pressure spray.

#### Apply mould, mildew, and algae remover by brush or low-pressure spray.

#### Scrub masonry with medium-soft brushes until mould, mildew, and algae are thoroughly dislodged and can be removed by rinsing. Use small brushes for mortar joints and crevices. Dip brush in mould, mildew, and algae remover often to ensure that adequate fresh cleaner is used and that masonry surface remains wet.

#### Rinse with cold water applied by high-pressure spray to remove mould, mildew,and algae remover and soil.

#### Repeat cleaning procedure above where required to produce cleaning effect established by mock-up.

### Mild Acidic Chemical Cleaning:

#### Wet masonry with cold water applied by low-pressure spray.

#### Apply cleaner to masonry in two applications by brush or low-pressure spray. Let cleaner remain on surface for period indicated below:

##### As recommended by chemical-cleaner manufacturer.

##### As established by mock-up.

##### Two to three minutes.

#### Rinse with cold water applied by high-pressure spray to remove chemicals and soil.

#### Repeat cleaning procedure above where required to produce cleaning effect established by mock-up. Do not repeat more than once. If additional cleaning is required, use a steam cleaning.

## REPOINTING MASONRY

### Rake out and repoint joints to the following extent:

#### Joints where mortar is missing or where they contain holes.

#### Cracked joints where cracks can be penetrated at least 6.0 mm by a knife blade 0.7 mm thick.

#### Cracked joints where cracks are 1.6 mm or more in width and of any depth.

#### Joints where they sound hollow when tapped by metal object.

#### Joints where they are worn back 6.0 mm or more from surface.

#### Joints where they are deteriorated to point that mortar can be easily removed by hand, without tools.

#### Joints where they have been filled with substances other than mortar.

#### Joints indicated as sealant-filled joints.

### Do not rake out and repoint joints where not required.

### Rake out joints as follows, according to procedures demonstrated in approved mock-up:

#### Remove mortar from joints to depth of two (2) times joint width, but not less than 13 mm or not less than that required to expose sound, unweathered mortar.

#### Remove mortar from masonry surfaces within raked-out joints to provide reveals with square backs and to expose masonry for contact with pointing mortar. Brush, vacuum, or flush joints to remove dirt and loose debris.

#### Do not spall edges of masonry units or widen joints. Replace or patch damaged masonry units as directed by Owner.

##### Cut out center of mortar bed joints using angle grinders with diamond impregnated metal blades. Remove remaining mortar by hand with chisel and resilient mallet. Strictly adhere to approved quality-control program.

### Notify Owner of unforeseen detrimental conditions including voids in mortar joints, cracks, loose masonry units, rotted wood, rusted metal, and other deteriorated items.

### Pointing with Mortar:

#### Rinse joint surfaces with water to remove dust and mortar particles. Time rinsing application so, at time of pointing, joint surfaces are damp but free of standing water. If rinse water dries, dampen joint surfaces before pointing.

#### Apply pointing mortar first to areas where existing mortar was removed to depths greater than surrounding areas. Apply in layers not greater than 9.0 mm until a uniform depth is formed. Fully compact each layer thoroughly and allow it to become thumbprint hard before applying next layer.

#### After low areas have been filled to same depth as remaining joints, point all joints by placing mortar in layers not greater than 9.0 mm. Fully compact each layer and allow to become thumbprint hard before applying next layer. Where existing masonry units have worn or rounded edges, slightly recess finished mortar surface below face of masonry to avoid widened joint faces. Take care not to spread mortar beyond joint edges onto exposed masonry surfaces or to featheredge the mortar.

#### When mortar is thumbprint hard, tool joints to match original appearance of joints as demonstrated in approved mock-up. Remove excess mortar from edge of joint by brushing.

#### Cure mortar by maintaining in thoroughly damp condition for at least 72 consecutive hours including weekends and holidays.

##### Acceptable curing methods include covering with wet burlap and plastic sheeting, periodic hand misting, and periodic mist spraying using system of pipes, mist heads, and timers.

##### Adjust curing methods to ensure that pointing mortar is damp throughout its depth without eroding surface mortar.

#### Hairline cracking within the mortar or mortar separation at edge of a joint is unacceptable. Completely remove such mortar and repoint.

### Pointing with Sealant:

#### After raking out, keep joints dry and free of mortar and debris.

#### Clean and prepare joint surfaces according to Section 07 92 00 - Joint Sealants. Prime joint surfaces unless sealant manufacturer recommends against priming. Do not allow primer to spill or migrate onto adjoining surfaces.

#### Fill sealant joints with specified joint sealant according to Section 07 92 00 - Joint Sealants and the following:

##### Install cylindrical sealant backing beneath the sealant, except where space is insufficient. There, install bond-breaker tape.

##### Install sealant using only proven installation techniques that will ensure that sealant will be deposited in a uniform, continuous ribbon, without gaps or air pockets, and with complete wetting of the joint bond surfaces equally on both sides. Fill joint flush with surrounding masonry and matching the contour of adjoining mortar joints.

##### Install sealant as recommended by sealant manufacturer but within the following general limitations, measured at the center (thin) section of the bead:

###### Fill joints to a depth equal to joint width, but not more than 13 mm deep or less than 6.0 mm deep.

##### Do not allow sealant to overflow or spill onto adjoining surfaces, or to migrate into the voids of adjoining surfaces, particularly rough textures. Remove excess and spillage of sealant promptly as the work progresses. Clean adjoining surfaces by the means necessary to eliminate evidence of spillage, without damage to adjoining surfaces or finishes, as demonstrated in an approved mock-up.

#### Cure sealant according to Section 07 92 00 - Joint Sealants.

### Where repointing work precedes cleaning of existing masonry, allow mortar to harden at least 30 days before beginning cleaning work.

## FINAL CLEANING

### After mortar has fully hardened, thoroughly clean exposed masonry surfaces of excess mortar and foreign matter; use wood scrapers, stiff-nylon or -fibre brushes, and clean water, spray applied at low pressure.

#### Do not use metal scrapers or brushes.

#### Do not use acidic or alkaline cleaners.

### Wash adjacent woodwork and other non-masonry surfaces. Use detergent and soft brushes or cloths.

### Clean mortar and debris from roof; remove debris from gutters and downspouts. Rinse off roof and flush gutters and downspouts.

### Sweep and rake adjacent pavement and grounds to remove mortar and debris. Where necessary, pressure wash pavement surfaces to remove mortar, dust, dirt, and stains.

## FIELD QUALITY CONTROL

### Owner will assign Project representatives to help carry out Owner’s responsibilities at the site, including observing progress and quality of portion of the Work completed. Allow Owner’s Project representatives use of lift devices and scaffolding, as needed, to observe progress and quality of portion of the Work completed.

### Notify Owner’s Project representatives in advance of times when lift devices and scaffolding will be relocated. Do not relocate lift devices and scaffolding until Owner’s Project representatives have had reasonable opportunity to make inspections and observations of work areas at lift device or scaffold location.

END OF SECTION

Note: Edit Mock Up Schedule to suit project.

| Mock Up Schedule |
| --- |
| Section | Contractor Verification – Mock Up Complete | Date | Contractor Verification – Mock Up Review Requested | Date |
| 04 05 00 - Common Work Results for Masonry |  |  |  |  |
| 04 20 00.08 - Masonry for Minor Works |  |  |  |  |
| 04 21 13 - Brick Unit Masonry |  |  |  |  |
| 04 22 00 - Concrete Unit Masonry |  |  |  |  |
| 04 23 00 - Glass Unit Masonry |  |  |  |  |
| 06 40 00 - Architectural Woodwork |  |  |  |  |
| 06 40 23.13 - Plastic Laminate for Interior Architectural Woodwork |  |  |  |  |
| 07 13 26 - Self Adhered Sheet Waterproofing |  |  |  |  |
| 07 21 29 - Sprayed Insulation – Polyurethane Foam |  |  |  |  |
| 07 26 00 - Vapour Retarders |  |  |  |  |
| 07 27 00.01 - Air Barriers – Descriptive or Proprietary |  |  |  |  |
| 07 42 23 - Composite Wall Panels |  |  |  |  |
| 07 52 00 - Modified Bituminous Membrane Roofing |  |  |  |  |
| 07 54 23 - Thermoplastic Polyolefin (TPO) Roofing |  |  |  |  |
| 07 81 00 - Applied Fireproofing |  |  |  |  |
| 07 84 00 - Firestopping |  |  |  |  |
| 07 92 00 - Joint Sealants |  |  |  |  |
| 08 44 13 - Glazed Aluminum Curtain Walls |  |  |  |  |
| 08 51 13 - Aluminum Windows |  |  |  |  |
| 08 62 00 - Plastic Skylights |  |  |  |  |
| 08 80 00 - Glazing |  |  |  |  |
| 09 01 90.62 - Exterior Re-Painting |  |  |  |  |
| 09 01 90.63 - Interior Re-Painting |  |  |  |  |
| 09 21 16 - Gypsum Board Assemblies |  |  |  |  |
| 09 30 13 - Ceramic Tiling |  |  |  |  |
| 09 30 15 - Quarry and Paver Tiling |  |  |  |  |
| 09 51 13 - Acoustic Panel Ceilings |  |  |  |  |
| 09 65 16 - Resilient Sheet Flooring |  |  |  |  |
| 09 65 20 - Safety Sheet Flooring |  |  |  |  |
| 09 72 16 - Vinyl Coated Fabric Wall Covering |  |  |  |  |
| 09 80 00 - Acoustic Treatment |  |  |  |  |
| 09 91 13 - Exterior Painting |  |  |  |  |
| 09 91 23 - Interior Painting |  |  |  |  |
| 10 21 13.13 - Metal Toilet Partitions |  |  |  |  |
| 12 20 00 - Curtains and Drapes |  |  |  |  |
| 12 59 13 - Panel Hung Component System Furniture |  |  |  |  |