# GENERAL

## RELATED SECTIONS

### Section 01 29 83 - Payment Procedures for Testing Laboratory Services.

### Section 01 33 00 - Submittal Procedures.

### Section 01 43 39 – Mock Up Requirements.

### Section 01 45 00 - Quality Control.

### Section 01 61 00 - Common Product Requirements.

### Section 01 74 21 - Construction/Demolition Waste Management and Disposal.

### Section 03 30 00 - Cast-in-Place Concrete.

### Section 04 05 13 - Masonry Mortar and Grout.

### Section 04 05 19 - Masonry Anchorage and Reinforcing.

### Section 04 05 23 - Masonry Accessories.

### Section 04 21 13 - Brick Masonry.

### Section 04 22 00 - Concrete Unit Masonry.

### Section 04 23 00 - Glass Unit Masonry.

### Section 05 50 00 - Metal Fabrications.

### Section 07 21 13 - Board Insulation.

### Section 07 92 00 - Joint Sealants.

## REFERENCES

### Canadian Standards Association (CSA International).

#### CSA-A165 Series, Standards on Concrete Masonry Units.

#### CSA A179, Mortar and Grout for Unit Masonry.

#### CSA-A371, Masonry Construction for Buildings.

### International Masonry Industry All-Weather Council (IMIAC).

#### Recommended Practices and Guide Specification for Cold Weather Masonry Construction.

## SUBMITTALS

### Product Data.

#### Submit manufacturer's printed product literature, specifications and data, including product characteristics, performance criteria, limitations and colors.

### Submit two copies of Workplace Hazardous Materials Information System (WHMIS) - Safety Data Sheets (SDS).

### Samples.

#### Submit samples:

##### Two of each type of masonry unit specified including special shapes.

##### One of each cured and coloured samples of mortar and grout, illustrating mortar colour and colour range.

##### One of each type of masonry accessory specified.

##### One of each type of masonry reinforcement, tie and connector proposed for use.

#### Submit samples tested to laboratories employing technicians certified/trained in procedures for testing masonry units.

#### Samples used for testing, when accepted, become standard for material used.

### Shop drawings.

#### Provide drawings stamped and signed by professional engineer licensed in Province of Newfoundland and Labrador, Canada.

#### Provide confirmation to Owner that temporary bracing and support has been designed by professional engineer.

### Manufacturer's Instructions.

#### Submit manufacturer's installation instructions.

## QUALITY ASSURANCE

### Submit laboratory test reports certifying compliance of masonry units and mortar ingredients with specification requirements.

### Submit certified test reports showing compliance with specified performance characteristics and physical properties.

### For clay units, in addition to requirements set out in referenced CSA and ASTM Standards include data indicating initial rate of absorption.

### Qualifications:

#### Manufacturer: minimum five (5) years experience in manufacturing components similar to or exceeding requirements of project.

#### Installer: experienced in performing work of this section who has specialized in installation of work similar to that required for this project.

#### Masons: company or person specializing in masonry installations with minimum five (5) years documented experience with masonry work similar to this project.

##### Masons employed on this project must demonstrate ability to reproduce mock-up standards.

## JOB MOCK-UPS.

### Construct mock-ups in accordance with Section 01 43 39 – Mock Up Requirements.

### Construct mock-up panel of exterior masonry wall construction 1200 x 1800 mm showing masonry colours and textures, use of reinforcement, ties, through-wall flashing, weep holes, jointing, coursing, mortar and workmanship.

### Construct mock-up where directed.

## DELIVERY, STORAGE, AND HANDLING

### Deliver, store, handle and protect materials in accordance with Section 01 61 00 - Common Product Requirements.

### Deliver materials to job site in dry condition.

### Keep materials dry until use except where wetting of bricks is specified

### Store under waterproof cover on pallets or plank platforms held off ground by means of plank or timber skids.

### Replace defective or damaged materials with new.

## SITE CONDITIONS

### Cold weather requirements.

#### In accordance with CSA-A371 and as outlined below.

##### Maintain temperature of mortar between 5˚C and 50˚C until batch is used or becomes stable.

##### Maintain ambient temperature of masonry work and its constituent materials between 5°C and 50°C and protect site from exposure to wind.

##### Maintain temperature of masonry above 0°C for minimum of 3 days, after mortar is installed.

##### Preheat unheated wall sections in enclosure for minimum 72 hours about 10°C, before applying mortar.

### Hot weather requirements.

#### In accordance with CSA-A371 and as outlined below.

##### Protect freshly laid masonry from drying too rapidly, by means of waterproof, non-staining coverings.

##### Keep masonry dry using waterproof, non-staining coverings that extend over walls and down sides sufficient to protect walls from wind driven rain, until masonry work is completed and protected by flashings or other permanent construction.

### Protect masonry and other work from marking and other damage. Protect completed work from mortar droppings. Use non-staining coverings.

### Provide temporary bracing of masonry work during and after erection until permanent lateral support is in place.

# PRODUCTS

## MATERIALS

### Masonry materials are specified in related Sections indicated in 1.1.

# EXECUTION

## MANUFACTURER'S INSTRUCTIONS

### Compliance: comply with manufacturer's written data, including product technical bulletins, product catalogue installation instructions, product carton installation instructions, and data sheets.

## PREPARATION

### Provide temporary bracing and support of masonry work during and after erection until permanent lateral support is in place.

### Bracing approved by Owner.

### Establish and protect lines, levels, and coursing.

### Protect adjacent materials from damage and disfiguration.

## INSTALLATION

### Do masonry work in accordance with CSA-A371, except where specified otherwise.

### Build masonry plumb, level, and true to line, with vertical joints in alignment respecting construction tolerances permitted by CAN/CSA-A371.

### Layout coursing and bond to achieve correct coursing heights, and continuity of bond above and below openings, with minimum of cutting.

## CONSTRUCTION

### Exposed masonry:

#### Remove chipped, cracked, and otherwise damaged units, in accordance with CSA A-165, in exposed masonry and replace with undamaged units.

### Jointing:

#### Allow joints to set just enough to remove excess water, then tool with round jointer to provide smooth, joints true to line, compressed, uniformly concave joints where concave joints are indicated.

#### Strike flush joints concealed in walls and joints in walls to receive plaster, tile, insulation, or other applied material except paint or similar thin finish coating.

### Cutting:

#### Cut out for electrical switches, outlet boxes, and other recessed or built-in objects.

#### Make cuts straight, clean, and free from uneven edges.

### Building-In:

#### Build in items required to be built into masonry.

#### Prevent displacement of built-in items during construction. Check plumb, location and alignment frequently, as work progresses.

#### Brace door jambs to maintain plumb. Fill spaces between jambs and masonry with mortar.

### Wetting of bricks:

#### Except in cold weather, wet bricks having an initial rate of absorption exceeding 1 g/minute/1000 mm2: wet to uniform degree of saturation, 3 to 24 hours before laying, and do not lay until surface dry.

#### Wet tops of walls built of bricks qualifying for wetting, when recommencing work on such walls.

### Support of loads:

#### Use 30 MPa concrete to Section 03 30 00 - Cast-in-Place Concrete, where concrete fill is used in lieu of solid units.

#### Use grout to CSA A179, where grout is used in lieu of solid units.

#### Install building paper below voids to be filled with grout; keep paper 25 mm back from faces of units.

### Provision for movement:

#### Leave 3 mm space below shelf angles.

#### Leave 6 mm space between top of non-load bearing walls and partitions and structural elements. Do not use wedges.

#### Built masonry to tie in with stabilizers, with provision for vertical movement.

### Loose steel lintels:

#### Install loose steel lintels. Centre over opening width.

### Control joints:

#### Construct continuous control joints where indicated or detailed.

### Expansion joints:

#### Build-in continuous expansion joints where indicated or detailed.

### Interference with other work:

#### Cut openings in existing work as indicated.

#### Openings in walls: approved by Owner.

#### Make good existing work. Use materials to match existing.

## SITE TOLERANCES

### Tolerances in notes to CSA-A371 apply.

## FIELD QUALITY CONTROL

### Inspection and testing will be carried out by Testing Laboratory designated by Owner.

### Owner will pay costs for testing, as specified in Section 01 29 83 – Payment Procedures for Testing Laboratory Services.

### Cost of testing will be paid from cash allowance specified in Section 01 21 00 - Allowances. Re-testing as a result of deficient work will be paid for by contractor, credit change order.

### Provide Certificate of Field Quality Inspection and testing to Owner for inclusion in Commissioning Manual.

## CLEANING

### Perform cleaning after installation to remove construction and accumulated environmental dirt.

### Upon completion of installation, remove surplus materials, rubbish, tools and equipment barriers.

## PROTECTION

### Temporary Bracing and Supports:

#### Provide temporary bracing and supports of masonry work during and after erection until permanent lateral support is in place.

#### Provide confirmation to Owner that temporary bracing and support has been designed by professional engineer.

#### Brace masonry walls as necessary to resist wind pressure and lateral forces during construction.

### Moisture Protection:

#### Keep masonry dry using waterproof, nonstaining coverings that extend over walls and down sides sufficient to protect walls from wind driven rain, until completed and protected by flashing or other permanent construction.

#### Cover completed and partially completed work not enclosed or sheltered with waterproof covering at end of each work day. Anchor securely in position.

#### Air Temperature Protection: protect completed masonry as per Part 1 article Site Conditions.

END OF SECTION