# GENERAL

## RELATED SECTIONS

### Section 01 33 00 - Submittal Procedures.

### Section 01 74 21 - Construction/Demolition Waste Management and Disposal.

### Section 04 05 00 - Common Work Results for Masonry.

### Section 04 05 13 - Masonry Mortar and Grout.

### Section 04 05 23 - Masonry Accessories.

### Section 04 21 13 - Brick Masonry.

### Section 04 22 00 - Concrete Unit Masonry.

## REFERENCES

### Canadian Standards Association (CSA International).

#### CSA-A23.1/A23.2, Concrete Materials and Methods of Concrete Construction/Methods of Test and Standard Practices for Concrete.

#### CSA-A370, Connectors for Masonry.

#### CSA-A371, Masonry Construction for Buildings.

#### CSA G30.18, Carbon Steel Bars for Concrete Reinforcement.

#### CSA S304.1, Design of Masonry Structures.

#### CSA A179, Mortar and Grout For Unit Masonry.

#### CSA W186, Welding of Reinforcing Bars in Reinforced Concrete Construction.

#### .2 	Reinforcing Steel Institute of Canada (RSIC).

#### .1	Reinforcing Steel Manual of Standard Practice.

## SUBMITTALS

### Product Data:

#### Submit manufacturer's printed product literature, specifications and data sheet.

#### Submit two copies of WHMIS SDS - Safety Data Sheets. Indicate VOC's for epoxy coatings and galvanized protective coatings and touch-up products illustrating products to be incorporated into project for specified products.

### Shop Drawings:

#### Shop drawings consist of bar bending details, lists and placing drawings. Provide shop drawings detailing bar bending details, anchorage details, lists and placing drawings.

#### On placing drawings, indicate sizes, spacing, location and quantities of reinforcement and connectors.

#### Indicate on shop drawings, bar bending details, lists, quantities of reinforcement, sizes, spacings, locations of reinforcement and mechanical splices if approved by Owner, with identifying code marks to permit correct placement without reference to structural drawings. Indicate sizes, spacings and locations of chairs, spacers and hangers. Prepare reinforcement drawings in accordance with Reinforcing Steel Manual of Standard Practice - by Reinforcing Steel Institute of Canada. ANSI/ACI 315 and ACI 315R, Manual of Engineering and Placing Drawings for Reinforced Concrete Structure.

### Manufacturer's Instructions:

#### Submit manufacturer's installation instructions.

## SITE MEASUREMENTS

#### .1	Make site measurements necessary to ensure proper fit of members.

# PRODUCTS

## MATERIALS

### Bar reinforcement: to CSA-A371, and CAN/CSA G30.18, Grade 400.

### Wire reinforcement: to CSA-A371, and CSA S304.1, two wire ladder or truss type, galvanized.

### Ties:

#### For metal stud or wood stud and masonry construction: to CSA-A370 and CSA-S304, 1.6 mm thick side mounting, stainless steel flat plate, c/w 5.8 mm ø holes for veneer tire wire attachment, 4.76 mm ø veneer ties with polyethylene insulation supports. Total length of flat plate to suit stud width, sheathing, air space and insulation.

#### For cast-in-place concrete and masonry construction: to CSA-A370 and CSA-S304, 1.6 mm thick stainless steel L-Plate, c/w 5.8 mm ø holes for veneer tire wire attachment, 4.76 mm ø veneer ties with polyethylene insulation supports.

#### For concrete block and masonry construction: to CSA-A370 and CSA-S304, 1.6 mm thick stainless steel connector plate, c/w 5.8 mm ø holes for veneer tire wire attachment, 4.76 mm ø veneer ties with polyethylene insulation supports. Total length of connector plate to suit block width, air space and insulation.

### Corrosion protection for wire reinforcement: to CSA S304.1, galvanized to CSA S304.1 and CSA-A370.

## FABRICATION

### Fabricate reinforcing in accordance with CSA-A23.1/A23.2 and Reinforcing Steel Manual of Standard Practice by the Reinforcing Steel Institute of Canada.

### Fabricate connectors in accordance with CSA-A370.

### Obtain Owner’s approval for locations of reinforcement splices other than shown on placing drawings.

### Upon approval of Owner, weld reinforcement in accordance with CSA W186.

### Ship reinforcement and connectors, clearly identified in accordance with drawings.

## SOURCE QUALITY CONTROL

### Upon request, provide Owner with certified copy of mill test report of reinforcement steel and connectors, showing physical and chemical analysis, minimum 5 weeks prior to commencing reinforcement work.

### Upon request inform Owner of proposed source of material to be supplied.

# EXECUTION

## MANUFACTURER'S INSTRUCTIONS

### Compliance: comply with manufacturer's written data, including product technical bulletins, product catalogue installation instructions, product carton installation instructions, and data sheets.

## GENERAL

### Supply and install masonry connectors and reinforcement in accordance with CSA-A370, CSA-A371, CSA-A23.1/A23.2, and CSA-S304.1, unless indicated otherwise.

### Prior to placing concrete, mortar, obtain Owner’s approval of placement of reinforcement and connectors.

### Supply and install additional reinforcement to masonry as indicated.

## BONDING AND TYING

### Bond walls of two or more wythes using metal connectors in accordance with CSA S304.1, CSA-A371, and as indicated.

### Tie masonry veneer to backing in accordance with NBC, CSA-S304.1, CSA-A371, and as indicated.

## REINFORCED LINTELS AND BOND BEAMS

### Reinforce masonry lintels and bond beams as indicated.

### Place and grout reinforcement in accordance with CSA-S304.1, CSA-A371 and CSA-A179.

### Support and position reinforcing bars in accordance with CAN/CSA A371.

## GROUTING

### Grout masonry in accordance with CSA-S304.1, CSA-A371 and CSA-A179, and as indicated.

## ANCHORS

### Supply and install metal anchors as indicated.

## LATERAL SUPPORT AND ANCHORAGE

### Supply and install lateral support and anchorage in accordance with CSA-S304.1 and as indicated.

## MOVEMENT JOINTS

### Reinforcement will not be continuous across movement joints unless otherwise indicated.

## FIELD BENDING

### Do not field bend reinforcement and connectors except where indicated or authorized by Owner.

### When field bending is authorized, bend without heat, applying a slow and steady pressure.

### Replace bars and connectors which develop cracks or splits.

## FIELD TOUCH-UP

### Touch up damaged and cut ends of epoxy coated or galvanized reinforcement steel and connectors with compatible finish to provide continuous coating.

## CLEANING

### Upon completion of installation, remove surplus materials, rubbish, tools and equipment barriers.

END OF SECTION