# GENERAL

## RELATED SECTIONS

### Section 01 33 00 - Submittal Procedures.

### Section 01 43 39 – Mock Up Requirements.

## REFERENCES

### ASTM International (ASTM)

#### ASTM A1064/A1064M, Standard Specification for Carbon-Steel Wire and Welded Wire Reinforcement, Plain and Deformed, for Concrete.

### Canadian Standards Association (CSA)

#### CAN/CSA-A165 SERIES, CSA Standards on Concrete Masonry Units (Consists of A165.1 Concrete Block Masonry Units, A165.2 Concrete Brick Masonry Units, A165.3 Prefaced Concrete Masonry Units).

#### CAN/CSA-A179, Mortar and Grout for Unit Masonry.

#### CAN/CSA-A370, Connectors for Masonry.

#### CAN/CSA A371, Masonry Construction for Buildings.

#### CSA G30.18, Carbon Steel Bars for Concrete Reinforcement.

#### CSA S304.1, Design of Masonry Structures.

## SUBMITTALS

### Product Data

#### Submit manufacturer s instructions, printed product literature and data sheets for unit masonry products, mortar and grout, connectors, anchorage and reinforcing, and accessories. Include product characteristics, performance criteria, physical size, finish and limitations.

### Samples

#### Two of each type of concrete masonry unit specified.

#### Submit duplicate full size samples of each type masonry units, mortar, connector, anchorage and reinforcing, and accessory.

### Manufacturer’s Instructions

#### Submit manufacturer’s installation instructions.

## DELIVERY, STORAGE AND HANDLING

### Deliver, store and handle materials in accordance with Section 01 61 00 - Common Product Requirements.

### Deliver materials to site in original factory packaging, labelled with manufacturer s name and address.

### Store materials off ground, in dry location and in accordance with manufacturer s recommendations in clean, dry, well-ventilated area.

### Store and protect masonry products from nicks, scratches, and blemishes.

### Replace defective or damaged materials with new.

## COLD WEATHER REQUIREMENTS

### Supplement requirements of CAN3-A371 as follows:

#### Maintain temperature of mortar between 5°C and 50°C until used.

## HOT WEATHER REQUIREMENTS

### Supplement requirements of CAN3-A371 as follows:

#### Protect freshly laid masonry from drying too rapidly by means of waterproof, non-staining coverings.

## QUALITY ASSURANCE

### Mock-up

#### Construct mock-up in accordance with Section 01 43 39 – Mock Up Requirements.

#### Construct mock-up 10 m2 minimum of brick unit masonry in area designated by Owner before proceeding with brick unit masonry work.

### Test reports:  certified test reports showing compliance with specified performance characteristics and physical properties.

### Certificates:  product certificates signed by manufacturer certifying materials comply with specified performance characteristics and criteria and physical requirements.

### Pre-installation meeting:  conduct pre-installation meeting to verify project requirements manufacturer’s instructions and manufacturer’s warranty requirements.

## QUALIFICATIONS

### Manufacturer: company specializing in manufacturing products of this section with minimum 10 years experience.

### Installer: company specializing in performing work of this section approved by manufacturer. Minimum 5 years experience.

### Design structural installations under direct supervision of Professional Engineer experienced in structural design of concrete masonry installation and registered in the Province of Newfoundland and Labrador.

# PRODUCTS

## MASONRY UNITS

### Standard concrete block units: to CAN/CSA-A165, Series (CAN/CSA-A165.1)

#### Classification: H/10/A/M

#### Size: modular.

#### Special shapes: provide bull nosed units for exposed corners. Provide purpose-made shapes for lintels and bond beams. Provide additional special shapes as indicated.

### Acoustical concrete block units: to CAN/CSA-A165 Series (CAN/CSA-A165.1) purpose made with slots to provide the acoustical characteristics specified.

#### Classification: H/10/C/M

#### Size: modular

#### Special shapes: provide special shapes indicated. Provide purpose made shapes for lintels and bond beams.

### Split-face concrete block units Type 1: to CAN/CSA-A165 Series-04 (CSA-A165.1). Decorative face treatment: split face ashlar/centre scored.

#### Classification: S/20/A/M.

#### Size: modular as indicated on drawings.

#### Special shapes: provide square units for exposed corners. Provide purpose-made shapes for lintels and bond beams. Provide additional special shapes as indicated.

#### Colour: as selected by Owner from manufacturer’s standard colour range.

### Face brick: Burned clay brick: to CAN/CSA A82.

#### Type: FBX.

#### Grade: SW.

#### Size: Modular.

#### Colour and texture: to match approved sample.

### Back-up brick: Burned clay brick: to CAN/CSA A82.

#### Type: II.

#### Grade: same as face brick.

#### Size: same as face brick.

## REINFORCEMENT AND CONNECTORS

### Bar reinforcement: to CSA-A371, and CAN/CSA G30.18, Grade 400.

### Wire reinforcement: to CSA-A371, and CSA S304.1, two wire ladder or truss type, galvanized.

### Ties:

#### For metal stud or wood stud and masonry construction: to CSA-A370 and CSA-S304, 1.6 mm thick side mounting, stainless steel flat plate, c/w 5.8 mm ø holes for veneer tire wire attachment, 4.76 mm ø veneer ties with polyethylene insulation supports. Total length of flat plate to suit stud width, sheathing, air space and insulation.

#### For cast-in-place concrete and masonry construction: to CSA-A370 and CSA-S304, 1.6 mm thick stainless steel L-Plate, c/w 5.8 mm ø holes for veneer tire wire attachment, 4.76 mm ø veneer ties with polyethylene insulation supports.

#### For concrete block and masonry construction: to CSA-A370 and CSA-S304, 1.6 mm thick stainless steel connector plate, c/w 5.8 mm ø holes for veneer tire wire attachment, 4.76 mm ø veneer ties with polyethylene insulation supports. Total length of connector plate to suit block width, air space and insulation.

### Corrosion protection for wire reinforcement: to CSA S304.1, galvanized to CSA S304.1 and CSA-A370.

## MORTAR AND GROUT

### Mortar: to CAN/CSA-A179.

### Mortar mixes:

#### Mortar for exterior masonry above grade:

##### Loadbearing: Type S based on proportion specifications.

##### Non-Loadbearing: Type N based on proportion specifications.

#### Mortar for interior masonry:

##### Loadbearing: Type S based on proportion specifications.

##### Non-Loadbearing:  Type N based on proportion specifications.

#### Mortar for Parapet walls, chimneys, unprotected walls: Type S based on proportion specifications.

#### Pointing Mortar:  CAN/CSA A179, Type N using property specification with maximum 2 percent ammonium stearate or calcium stearate per cement weight.

#### Stain Resistant Pointing Mortar: one part Portland cement, 1/8 part hydrated lime, and two parts graded (80 mesh) aggregate, proportioned by volume.  Add aluminum tristearate, calcium stearate, or ammonium stearate to 2 percent of Portland cement by weight.

#### Mortar for Glass Block Masonry:  CAN/CSA A179, Type S, using the property specification.

#### Pointing Mortar For Glass Block Masonry: CAN/CSA A179, Type S, using the property specification; with maximum 2 percent ammonium stearate or calcium stearate per cement weight.

#### Parging mortar: Type N to CAN/CSA A179.

#### Mortar for foundation walls, manholes, sewers, pavements, walks, patios and other exterior masonry at or below grade: Type M based on proportion specifications.

#### Following applies regardless of mortar types and uses specified above:

##### Mortar for calcium silicate brick and concrete brick: Type N based on proportion specifications.

##### Mortar for stonework: Type N based on proportion specifications.

##### Mortar for grouted reinforced masonry: Type S based on proportion specifications.

### Grout Mixes:

#### Bond Beams: minimum grout mix 10 to 12.5 MPa strength at 28 days or as otherwise indicated on drawings; 200-250 mm slump; mixed in accordance with CAN/CSA A179.

#### Lintels: minimum grout mix 10 to 12.5 MPa strength at 28 days or as otherwise indicated on drawings; 200-250 mm slump; mixed in accordance with CAN/CSA A179.

#### Grout: minimum compressive strength of 12.5 MPa at 28 days or as otherwise indicated on drawings.  Maximum aggregate size and grout slump: CAN/CSA A179.

## Accessories

### Weep hole vents: purpose-made PVC.

### Cavity screening: three dimensional random weave plastic mesh, thickness to match cavity, minimum height 3 brick masonry courses.

### Anchor Bolts: 12 mm diameter x 150 mm long with embedded ends bent 50 mm at 90 degrees, exposed ends threaded with washer and nut.

### Embedded Flexible Flashings: Self-adhering sheet 1.0 mm thick consisting of rubberized asphalt compound banded to high density cross laminated polyethylene film, complete with manufacturer’s recommended primer.

### Loose steel lintels: in accordance with Section 05 50 00 - Metal Fabrications.

## Cleaning Compounds

### Use VOC products to limits listed in Section 01 35 21 - LEED® Requirements.

### Compatible with substrate and acceptable to masonry manufacturer for use on products.

### Cleaning compounds compatible with concrete unit masonry and in accordance with manufacturer's written recommendations and instructions.

## Tolerances

### Tolerances for standard concrete unit masonry tolerances in accordance with CAN/CSA A165.1, supplemented as follows:

#### Maximum variation between units within specific job lot  not to exceed 2.0 mm.

#### No parallel edge length, width or height dimension for individual unit to differ by more than 2.0 mm.

#### Out of square tolerance not to exceed 2.0 mm.

# EXECUTION

## INSTALLATION

### Do masonry work in accordance with CAN/CSA-A371 except where specified otherwise.

### Concrete block units.

#### Bond: running

#### Coursing height: 200 mm for one block and one joint

#### Jointing: concave where exposed or where paint or other finish coating is specified

### Special Shapes:

#### Install special units to form corners, returns, offsets, reveals and indents without cut ends being exposed and without losing bond or module.

#### Install reinforced concrete block lintels over openings in masonry where steel or reinforced concrete lintels are not indicated.

#### End bearing: not less than 200 mm.

### Acoustical Concrete Unit Masonry:

#### Bond: running.

#### Coursing height: 200 mm for one block and one joint.

#### Jointing: concave where exposed or where paint or finish coating is specified.

### Build masonry plumb, level, and true to line, with vertical joints in alignment.

### Layout coursing and bond to achieve correct coursing heights, and continuity of bond above and below openings, with minimum of cutting.

## Construction

### Exposed masonry:

#### Remove chipped, cracked, and otherwise damaged units, in exposed masonry and replace with undamaged units.

#### Cut out for electrical switches, outlet boxes, and other recessed or built-in objects. Make cuts straight, clean, and free from uneven edges.

### Building-in:

#### Install masonry connectors and reinforcement where indicated on drawings.

#### Build in items required to be built into masonry.

#### Prevent displacement of built-in items during construction. Check plumb, location and alignment frequently, as work progresses.

#### Brace door jambs to maintain plumb. Fill spaces between jambs and masonry with mortar.

#### Install loose steel lintels centered over openings where indicated, with minimum 200 end bearing.

### Concrete block lintels:

#### Install reinforced concrete block lintels over openings in masonry where steel or reinforced concrete lintels are not indicated.

#### End bearing: not less than as indicated on drawings.

### Construct masonry walls using running bond unless otherwise noted.

### Provision for movement:

#### Leave 6.0 mm space below shelf angles.

#### Leave 6.0 mm space between top of non-load bearing walls and partitions and structural elements. Do not use wedges.

#### Built masonry to tie in with stabilizers, with provision for vertical movement.

#### Build expansion and control joints where and as indicated.

#### Install movement joints and keep free of mortar where indicated.

### Interface with other work:

#### Cut openings in existing work as indicated.

#### Openings in walls: approved by Owner.

#### Make good existing work. Use materials to match existing.

### Build in flashings in masonry in accordance with CAN/CSA-A371.

#### Install flashings under exterior masonry bearing on foundation walls, slabs, shelf angles, and steel angles over openings. Install flashings under weep hole courses and as indicated. Seal laps, penetrations and terminations to resist water penetration.

#### In cavity walls and veneered walls, carry flashings from front edge of masonry, under outer wythe, then up backing not less than 250 mm, and as follows:

##### For self-adhesive flashing, apply primer and firmly press sheet against backing. Lap under sheathing paper. Seal penetrations with recommended sealant or mastic. Installation shall be free of wrinkles, fish-mouths and punctures.

##### Provided turned up end dams minimum 50 mm high at ends of all flashings.

##### For masonry backing embed flashing 25 mm in joint.

##### For concrete backing, insert flashing into reglets.

##### For wood frame backing, staple flashing to walls behind sheathing paper.

##### For gypsum board backing, bond to wall using manufacturer s recommended adhesive.

#### Lap joints 150 mm and seal with adhesive or mastic.

### Install weep hole vents in vertical joints immediately over flashings, in exterior wythes of cavity wall and masonry veneer wall construction, at maximum horizontal spacing of 610 mm on center.

### Place drainage mesh in cavity as indicated as construction progresses.

### Hollow Units: spread mortar setting bed from outside edge of face shells.  Gauge amount of mortar on top and end of unit to create full joints, equivalent to shell thickness. Avoid excess mortar.

### Solid Units: apply mortar over entire vertical and horizontal surfaces. Avoid bridging of airspace between brick veneer and backup wall with mortar.

### Ensure compacted head joints. Use full or face-shell joint as indicated.

### Tamp units firmly into place.

### Do not adjust masonry units after mortar has set.  Where resetting of masonry is required, remove, clean and reset units in new mortar.

### Tool exposed joints concave; strike concealed joints flush.

### After mortar has achieved initial set up, tool joints.

### Do not interrupt bond below or above openings.

## REINFORCING AND CONNECTING

### Install masonry connectors and reinforcement in accordance with CAN/CSA-A370, CAN/CSA-A371 and CSA S304.1 unless indicated otherwise.

### Prior to placing concrete, grout, mortar, obtain Owner’s approval of placement of reinforcement and connectors.

## BONDING AND TYING

### Bond walls of two or more wythes using metal connectors in accordance with CAN/CSA-A371, and as indicated.

### Tie masonry veneer to backing in accordance with National Building Code of Canada (NBC), CAN/CSA-A371, CSA S304.1 and as indicated.

## MODIFICATIONS TO EXISTING MASONRY

### Match existing bond and coursing height of adjacent masonry to remain.

### Tooth new masonry into existing masonry in run of wall and at intersections with existing partitions.

### At new openings in masonry walls, remove units, clean and re-install rotated to conceal cut and expose finish surface.

### Clean bond areas of adjacent masonry to remain, remove loose material and prepare masonry to receive new masonry toothed in.

### Install reinforcement as necessary to provide continuity of reinforcing and stability between existing and new masonry work.

### Provide repair anchors as necessary to stabilize existing masonry adjacent to and affected by the Work.

## REINFORCED LINTELS AND BOND BEAMS

### Reinforce masonry lintels and bond beams as indicated.

### Place and grout reinforcement in accordance with CAN/CSA-A179, CAN/CSA-A371.

## GROUTING

### Grout masonry in accordance with CAN/CSA-A179, CAN/CSA-A371 and as indicated.

## ANCHORS

### Supply and install metal anchors as indicated.

## LATERAL SUPPORT AND ANCHORAGE

### Supply and install lateral support and anchorage in accordance with CSA S304.1 and as indicated.

## SITE TOLERANCES

### Tolerances of CAN/CSA-A371 apply.

## CLEANING

### Standard block: Allow mortar droppings on masonry to partially dry then remove by means of trowel, followed by rubbing lightly with small piece of block and finally by brushing.

### Upon completion of installation remove surplus materials, rubbish, tools and equipment barriers.

## Protection

### Brace and protect concrete unit masonry in accordance with Section 04 05 00 - Common Work Results for Masonry.

### Keep masonry dry using waterproof, non-staining coverings that extend over walls and down sides sufficient to protect from wind-driven rain until masonry work is completed and protected by flashings or other permanent construction.

### Protect masonry and other work from marking and other damage. Protect completed work from mortar droppings. Use non-staining coverings.

### Repair damage to adjacent materials caused by masonry products installation.

### END OF SECTION