# General

## RELATED SECTIONS

### Section 01 33 00 - Submittal Procedures.

### Section 01 74 21 - Construction/Demolition Waste Management and Disposal.

### Section 05 21 00 - Steel Joist Framing.

### Section 05 31 00 - Steel Decking.

### Section 05 50 00 - Metal Fabrications.

### Section 09 91 13 - Exterior Painting.

### Section 09 91 23 - Interior Painting.

## REFERENCES

### American Society for Testing and Materials International (ASTM)

#### ASTM A36/A36M, Standard Specification for Carbon Structural Steel.

#### ASTM A325, Standard Specification for Structural Bolts, Steel, Heat Treated, 120/105 ksi Minimum Tensile Strength.

#### ASTM A325M, Standard Specification for Structural Bolts, Steel, Heat Treated 830 MPa Minimum Tensile Strength [Metric].

### Canadian General Standards Board (CGSB)

#### CAN/CGSB-85.10, Protective Coatings for Metals.

### Canadian Institute of Steel Construction (CISC)/Canadian Paint Manufacturer’s Association (CPMA)

#### Handbook of the Canadian Institute of Steel Construction.

#### CISC/CPMA 2, Quick-Drying, Primer for use on Structural Steel.

### Canadian Standards Association (CSA)

#### CAN/CSA G40.20/G40.21, General Requirements for Rolled or Welded Structural Quality Steel/Structural Quality Steel.

#### CAN/CSA-G164, Hot Dip Galvanizing of Irregularly Shaped Articles.

#### CAN/CSA-S16, Limit States Design of Steel Structures.

#### CAN/CSA-S136, North American Specifications for the Design of Cold Formed Steel Structural Members.

#### CSA W47.1, Certification of Companies for Fusion Welding of Steel.

#### CSA W48, Filler Metals and Allied Materials for Metal Arc Welding.

#### CSA W55.3, Resistance Welding Qualification Code for Fabricators of Structural Members Used in Buildings.

#### CSA W59, Welded Steel Construction (Metal Arc Welding).

### The Society for Protective Coatings (SSPC) and National Association of Corrosion Engineers (NACE) International

#### NACE No. 1/ SSPC SP 1, Solvent Cleaning.

#### NACE No. 7/SSPC SP-7, Brush-Off Blast Cleaning.

## Shop Drawings

### Submit shop drawings including fabrication and erection documents and materials list.

### On erection drawings: indicate details and information necessary for assembly and erection purposes such as, description of methods, sequence of erection, type of equipment used in erection and temporary bracings.  Show detail of all non-standard connections such as bracing connections, truss connections, moment connections and hanger assemblies and other non-standard connections as requested by the Owner.

### Erections drawings to be stamped by a qualified professional Engineer licensed to practice in the Province of Newfoundland and Labrador.  The erection drawings are to contain a clause stating that the professional Engineer who stamped the erection drawings is responsible for all fabricator designed assemblies, components and connections required for this project.

### Drawings for all fabricator designed assemblies, components and connections are to be stamped and signed by the professional Engineer who stamped the erection drawings.

## SAMPLES

### Prepare sample of typical exposed structural connections in accordance with approval of Owner. Samples to be judged upon alignment of surfaces, uniform contact between surfaces, smoothness and uniformity of finished welds. When approved, sample units will serve as a standard for workmanship, appearance and material acceptable for entire project.

## DESIGN REQUIREMENTS

### Design details and connections in accordance with requirements of CAN/CSA-S16 and CAN/CSA-S136 with CSA-S136.1 to resist forces, moments, shears and allow for movements indicated.

### Unless noted otherwise on the drawings or in the specifications connection design is the responsibility of the structural steel fabricator.  Fully detailed connections shown on the contract drawings including bolt and welded sizes are deemed to have been designed by the Owner.

### If connection for shear only (standard connection is required):

#### Select framed beam shear connections from an industry accepted publication such as "Handbook of the Canadian Institute of Steel Construction".

#### If shears are not indicated, select or design connections to support reaction from maximum uniformly distributed load that can be safely supported by beam in bending, provided no point loads act on beam.

### For non-standard connections, submit sketches and design calculations stamped and signed by qualified professional Engineer licensed in the Province of Newfoundland and Labrador.

## Source Quality control

### If requested submit on certified copy of mill reports covering chemical and physical properties of steel used in this work.

## QUALITY ASSURANCE

### At least 2 weeks prior to fabrication of structural steel submit to Owner a letter from the fabricators Welding engineer stating the Welding engineer is responsible for welding procedures and practices for this project as outlined in CSA S47.1

### Provide certificate of Quality Compliance from steel fabricator upon completion 	of structural steel fabrication stating that the work has been designed and fabricated in accordance with the requirements of the contract documents.

### If requested, submit to the Owner one copy of all approved welding procedures for this project.

# Products

## MATERIALS

### Structural steel: to CAN/CSA-G40.20/G40.21 Grade as indicated, 300W and/or CAN/CSA-S136.

### Cold formed structural members:  to CAN/CSA S-136.

### Anchor bolts: to CAN/CSA-G40.20/G40.21, Grade 300W.

### Bolts, nuts and washers: to ASTM A325M

### Welding materials: to CSA W59 and certified by Canadian Welding Bureau.

### Shop paint primer:

#### To CISC/CPMA 1 for interior steel.

#### To CISC/CPMA 2 for exterior steel.

### Hot dip galvanizing: galvanize steel for exterior steel to CAN/CSA-G164, minimum zinc coating of 600 g/m2.

## FABRICATION

### Fabricate structural steel in accordance with CAN/CSA-S16 and in accordance with approved reviewed shop drawings.

### Install shear studs in accordance with CSA W59.

### Continuously seal members by continuous welds where indicated.

### Provide holes in top bottom flanges for attachment of wood nailers.

## SHOP PAINTING

### Clean, prepare surfaces and shop prime structural steel in accordance with CAN/CSA-S16 except where members to be encased in concrete.

### Clean members, remove loose mill scale, rust, oil, dirt and other foreign matter. Prepare surface by solvent cleaning to SSPC SP 1, followed by brush-off blast cleaning to SSPC SP 7.

### Apply one coat of primer in shop to steel surfaces except:

#### Surfaces to be encased in concrete.

#### Surfaces to receive field installed stud shear connections.

#### Surfaces and edges to be field welded.

#### Faying surfaces of friction-type connections.

#### Below grade surfaces in contact with soil.

### Apply paint under cover, on dry surfaces when surface and air temperatures are above 5˚ C.

### Maintain dry condition and 5˚C minimum temperature until paint is thoroughly dry.

### Strip paint from bolts, nuts, sharp edges and corners before prime coat is dry.

# Execution

## GENERAL

### Structural steel work: in accordance with CAN/CSA-S16.

### Welding: in accordance with CSA W59.

### Companies to be certified under Division 1 or 2.1 of CSA W47.1 for fusion welding of steel structures and/or CSA W55.3 for resistance welding of structural components.

## CONNECTION TO EXISTING WORK

### Verify dimensions and condition of existing work, report discrepancies and potential problem areas to Owner for direction before commencing fabrication.

## MARKING

### Mark materials in accordance with CAN/CSA G40.20/G40.21. Do not use die stamping. If steel is to be left in unpainted condition, place marking at locations not visible from exterior after erection.

### Match marking: shop mark bearing assemblies and splices for fit and match.

## ERECTION

### Erect structural steel, as indicated and in accordance with CAN/CSA-S16 and in accordance with approved reviewed erection drawings.

### Field cutting or altering structural members: to approval of Owner.

### Clean with mechanical brush and touch up shop primer to bolts, rivets, welds and burned or scratched surfaces at completion of erection.

### Continuously seal members by continuous welds where indicated. Grind smooth.

## FIELD PAINTING

### Paint in accordance with Section 09 91 23 – Interior Painting.

#### Touch up damaged surfaces and surfaces without shop coat with primer to SSPC SP 7 except as specified otherwise. Apply in accordance with CAN/CGSB 85.10.

## FIELD QUALITY CONTROL

### Inspection and testing of materials and workmanship will be carried out by an Inspection and Testing company designated by Owner.

### The Inspection and Testing Company will carry out vertical and horizontal alignment checks, torque testing and inspection of representative connection welds.

### Provide safe access and working areas for testing on site, as required by testing agency and as authorized by Owner.

### Submit test reports to Owner within 2 weeks of completion of inspection.

### Owner will pay costs of inspection and testing.  Costs for any reinspection and/or re-testing as a result of deficient work will be paid for by the contractor, by credit change order

### Prior to inspection & testing by the Inspection and Testing company the structural steel erection contractor will carry out an inspection of the work and make the inspection results available to the Owner and the Inspection and Testing company.  The inspection report will identify the areas of work inspected, deficiencies identified and measures taken to correct the deficiencies.

### Test shear studs in accordance with CSA W59.

### Copies of test reports and inspections to be included in Commissioning Manual

END OF SECTION