# General

## Related Sections

### Section 01 33 00 - Submittal Procedures.

### Section 01 74 21 - Construction/Demolition Waste Management and Disposal.

### Section 07 27 00.01 - Air Barriers – Descriptive or Proprietary.

### Section 09 21 16 - Gypsum Board Assemblies.

## References

### American Society for Testing and Materials (ASTM)

#### ASTM A123/A123M, Standard Specification for Zinc (Hot-Dip Galvanized) Coatings on Iron and Steel Products.

#### ASTM A653/A653 M- Specification for Steel Sheet, Zinc-Coated (Galvanized) or Zinc Iron Alloy-Coated (Galvannealed) by the Hot-Dip Process.

#### ASTM A792/A792M- Specification for Steel Sheet, 55% Aluminum-Zinc Alloy-Coated by the Hot-Dip Process.

### Canadian Standards Association (CSA)

#### CSA W55.3, Certification of Companies for Resistance Welding of Steel and Aluminum.

#### CSA W59, Welded Steel Construction (Metal Arc Welding) (Metric Version).

#### CAN/CSA S136, North American Specification for the Design of Cold-Formed Steel Structural Members.

### Canadian Sheet Steel Building Institute (CSSBI)

#### CSSBI 51, Lightweight Steel Framing Design Manual.

#### CSSBI S5, Guide Specification for Wind Bearing Steel Studs.

#### CSSBI Fact Sheet #3, Care and Maintenance of Prefinished Sheet Steel Building Products.

#### CSSBI Technical Bulletin Vol. 7, No. 2, Changing Standard Thicknesses for Canadian Lightweight Steel Framing Applications.

## SUBMITTALS

### Indicate design loads, member sizes, materials, design thickness exclusive of coatings, coating specifications, connection and bracing details, screw sizes and spacing, and anchors.

### Indicate locations, dimensions, openings and requirements of related work.

### Indicate welds by welding symbols as defined in CSA W59.

### Submit samples of framing components and fasteners to Owner.

## DELIVERY, STORAGE AND HANDLING

### Protect steel studs during transportation, site storage and installation in accordance with CSSBI Sheet Steel Facts #3.

### Handle and protect galvanized materials from damage to zinc coating.

# Products

## Materials

### Steel: to CSA S136, fabricated from ASTM A653/A653M, Grade 230 steel.

### Zinc coated steel sheet: quality to A653M, with Z275 designation zinc coating.

### Aluminum-zinc alloy coated steel sheet: to ASTM A792M, commercial quality, grade 37 with AZ180 coating, regular spangle surface, chemically treated for unpainted finish.

### Welding materials: to CSAW59 and certified by Canadian Welding Bureau.

### Screws: pan head, self-drilling, self-tapping sheet metal screws, corrosion protected to minimum requirements of CSSBI, (minimum coating thickness of 0.008 mm of zinc), length to suit application, but not less than 5.0 mm longer than twice the thickness of steel.

### Anchors: concrete expansion anchors or other suitable drilled type fasteners.

### Bolts, nuts, washers: hot dipped galvanized to ASTM A123/A123M, 600 g/m2 zinc coating.

### Touch up primer to repair damaged or cut metallic coatings: zinc rich, to CAN/CGSB 1-GP-181.

## Steel Stud Designations

### Colour code steel studs in accordance with CSSBI Technical Bulletin Vol. 7, No.2.

## Metal Framing

### Steel studs: to CSA S136, fabricated from zinc coated steel, depth as indicated. Minimum steel thickness of 1.52 mm.

### Stud tracks: fabricated from same material and finish as steel studs, depth to suit.

#### Bottom track: single piece.

#### Top track: single piece track or double track or slotted single top track. (double track or slotted single top track to accommodate deflection).

### Bridging: fabricated from same material and finish as studs, 38 x 12 x 1.22 mm minimum thickness.

### Angle clips: fabricated from same material and finish as studs, 38 x 38mm x depth of steel stud, 1.22 mm minimum thickness.

### Tension straps and accessories: as recommended by manufacturer.

## Source Quality Control

### Prior to commencement of work, submit:

#### Two certified copies of mill reports covering material properties.

# Execution

## General

### Do welding in accordance with CSA W59.

### Companies to be certified under Division 1 or 2.1 of CSA W47.1 for fusion welding of steel structures and/or CSA W55.3 for resistance welding of structural components.

### Do work in accordance with CSSBI S5.

## Erection

### Erect components to requirements of reviewed shop drawings.

### Anchor tracks securely to structure at 800 mm oc maximum, unless lesser spacing prescribed on shop drawings.

### Erect studs plumb, aligned and securely attached with two screws minimum, or welded in accordance with manufacturer's recommendations.

### Seat studs into bottom tracks and top track. Gap between end of stud and web of track not to exceed 4.0 mm. Secure studs with two (2) screws minimum (in top and bottom tracks), or in accordance with manufacturer’s recommendations.

### Allow minimum deflection gap of 16.5 mm for double track or slotted single top track.

### Install studs at not more than 50.0 mm from abutting walls, openings, and each side of corners and terminations with dissimilar materials.

### Brace steel studs with horizontal internal bridging at 1200 mm maximum. Fasten bridging to steel clips fastened to steel studs with screws or by welding.

### Frame openings in stud walls to adequately carry loads by use of additional framing members and bracing as detailed on shop drawings.

### Touch up welds with coat of zinc rich primer.

## Erection Tolerances

### Plumb: not to exceed 1/500th of member length.

### Camber: not to exceed 1/1000th of member length.

### Spacing: not more than 3.0 mm from design spacing.

### Gap between end of stud and track web: not more than 4.0 mm.

## Cutouts

### Maximum size of cutouts for services as follows:

| Member Depth | Across Member Depth | Along Member Length | Centre to Centre Spacing (mm) |
| --- | --- | --- | --- |
| 92 | 40 max. | 105 max. | 600 min. |
| 102 | 40 max. | 105 max. | 600 min. |
| 152 | 65 max. | 115 max. | 600 min. |

### Limit distance from centerline of last unreinforced cutout to end of member to less than 300 mm.

END OF SECTION