# General

## RELATED SECTIONS

### Section 01 29 83 - Payment Procedures for Testing Laboratory Services.

### Section 01 33 00 - Submittal Procedures.

### Section 01 74 21 - Construction/Demolition Waste Management and Disposal.

### Section 05 12 23 - Structural Steel for Buildings.

### Section 05 31 00 - Steel Decking.

### Section 05 50 00 - Metal Fabrications.

### Section 09 91 13 - Exterior Painting.

### Section 09 91 23 - Interior Painting.

## REFERENCES

### American National Standards Institute/National Association of Architectural Metal Manufacturers (ANSI/NAAMM)

#### ANSI/NAAMM MBG531, Metal Bar Grating Manual.

### American Society for Testing and Materials, (ASTM)

#### ASTM A53/A53M, Specification for Pipe, Steel, Black and Hot-Dipped, Zinc-Coated Welded and Seamless.

#### ASTM A307, Specification for Carbon Steel Bolts and Studs, 60,000 PSI Tensile Strength.

#### ASTM A325M, Specification for Structural Bolts, Steel, Heat Treated, 830 MPa Minimum Tensile Strength.

### Canadian General Standards Board (CGSB)

#### CAN/CGSB-1.40, Anti-corrosive Structural Steel Alkyd Primer.

#### CAN/CGSB-1.181, Ready-Mixed Organic Zinc-Rich Coating.

### Canadian Standards Association (CSA)

#### CAN/CSA-G40.20/G40.21, General Requirements for Rolled or welded Structural Quality Steel.

#### CAN/CSA-G164, Hot Dip Galvanizing of Irregularly Shaped Articles.

#### CSA W59,Welded Steel Construction (Metal Arc Welding/Imperial Version).

### National Association of Architectural Metal Manufactures (NAAMM)

#### AMP 510, Metal Stair Manual.

### Steel Structures Painting Council (SSPC)

#### Systems and Specifications Manual, Volume 2.

## SYSTEM REQUIREMENTS

### Design metal stair, balustrade and landing construction and connections to NBC vertical and horizontal live load requirements.

### Detail and fabricate stairs to NAAMM Metal Stairs Manual.

## SUBMITTAL PROCEDURES

### Product Data:

#### Submit manufacturer's printed product literature, specifications and data sheet.

#### Submit two copies of WHMIS SDS - Safety Data Sheets. Indicate VOC's:

##### For finishes, coatings, primers and paints.

### Shop Drawings

#### Indicate construction details, sizes of steel sections and thickness of steel sheet.

#### Submit shop drawing bearing stamp of a qualified professional Engineer registered or licensed in the Province of Newfoundland and Labrador.

## QUALITY ASSURANCE

### Test Reports: Submit Certified test reports showing compliance with specified performance characteristics and physical properties.

### Certificates: Submit Product certificates signed by manufacturer certifying materials comply with specified performance characteristics and criteria and physical requirements.

# Products

## MATERIALS

### Steel sections: to CAN/CSA-G40.20/G40.21 Grade 300 W.

### Floor plate: to CAN/CSA-G40.20/G40.21, Grade 260 W.

#### Thickness: 3 mm.

### Steel pipe: to ASTM A53/A53M, standard weight, schedule 40 seamless black.

### Steel tubing: to CAN/CSA-G40.20/G40.21, Grade 300W, square, wall thickness, sizes and dimensions as indicated.

### Steel bars to CAN/CSA-G40.21, 20 mm diameter.

### Welding materials: to CSA W59.

### Bolts: to ASTM A307.

### High strength bolts: to ASTM A325M.

## FABRICATION

### Fabricate to NAAMM, Metal Stair Manual.

### Weld connections where possible, otherwise bolt connections. Countersink exposed fastenings, cut off bolts flush with nuts. Make exposed connections of same material, colour and finish as base material on which they occur.

### Accurately form connections with exposed faces flush; mitres and joints tight. Make risers of equal height.

### Grind or file exposed welds and steel sections smooth.

### Shop fabricate stairs in sections as large and complete as practicable.

## STEEL PAN STAIRS

### Fabricate stairs with closed riser steel pan construction.

### Form treads and risers from 3 mm thick steel plate. Secure treads and risers to L 35 x 35 x 5 horizontal and vertical welded to stringers.

### Form wall stringers from MC 310 x 15.8.

### Form outer stringers from MC 310 x 15.8 with 5 mm thick plate fascia welded on.

### Form landings from 3 mm thick steel plate, reinforced by L 55 x 55 x 6 mm spaced at 400 mm on centre.

### Provide clip angles for fastening of furring channels, where applied finish is indicated for underside of stairs and landings.

### Extend stringers around mid landings to form steel base.

### Close ends of stringers where exposed.

## PIPE/TUBING BALUSTRADES

### Construct balusters and handrails from steel pipe or steel tubing.

### Cap and weld exposed ends of balusters and handrails.

### Terminate at abutting wall with end flange.

## BAR BALUSTRADES

### Construct bar balustrades as follows:

#### Balusters: 25 x 25 mm bar.

#### Top rail: 30 x 10 mm bar.

#### Bottom rail: 25 x 10 mm bar.

#### Pickets: 12 x 12 mm bar at 100 mm on center.

### Weld balustrades to stringers as indicated.

## FINISHES

### Shop coat primer: to CAN/CGSB-1.40.

## SHOP PAINTING

### Clean surfaces in accordance with Steel Structures Painting Council Manual Volume 2.

### Apply one coat of shop primer except interior surfaces of pans.

### Apply two coats of primer of different colours to parts inaccessible after final assembly.

### Use primer as prepared by manufacturer without thinning or adding admixtures. Paint on dry surfaces, free from rust, scale, grease, do not paint when temperature is below 7 degrees C.

### Do not paint surfaces to be field welded.

# Execution

## INSTALLATION OF STAIRS

### Install in accordance with NAAMM, Metal Stair Manual.

### Install plumb and true in exact locations, using welded connections wherever possible to provide rigid structure. Provide anchor bolts, bolts and plates for connecting stairs to structure.

### Hand items over for casting into concrete or building into masonry to appropriate trades together with setting templates.

### Do welding work in accordance with CSA W59 unless specified otherwise.

### Touch up shop primer to bolts, welds, and burned or scratched surfaces at completion of erection.

## CLEANING

### Perform cleaning as soon as possible after installation to remove construction and accumulated environmental dirt.

### Upon completion of installation, remove surplus materials, rubbish, tools and equipment barriers.

## PROTECTION

### Protect installed products and components from damage during construction.

### Repair damage to adjacent materials caused by metal stairs and ladders installation.

END OF SECTION