# GENERAL

## RELATED SECTIONS

### Section 01 33 00 - Submittal Procedures.

### Section 01 43 39 – Mock Up Requirements.

### Section 01 45 00 - Quality Control.

### Section 01 61 00 - Common Product Requirements.

### Section 01 74 21 - Construction/Demolition Waste Management and Disposal.

### Section 06 20 00 - Finish Carpentry.

### Section 06 40 23.13 - Plastic Laminate Finishing for Interior Architectural Woodwork.

### Section 06 41 93 - Cabinet and Miscellaneous Hardware.

### Section 07 92 00 - Joint Sealants.

## REFERENCES

### American National Standards Institute (ANSI)

#### ANSI/NPA A208.1, Particle board.

#### ANSI A208.2, Medium Density Fiberboard (MDF) for Interior Applications.

#### ANSI/HPVA HP-1, Standard for Hardwood and Decorative Plywood.

### Architectural Woodwork Manufacturers Association of Canada (AWMAC)

#### Architectural Woodwork Standards (AWS).

##### AWS Manual.

### American Society for Testing and Materials (ASTM)

#### ASTM D5116, Standard Guide For Small-Scale Environmental Chamber Determinations of Organic Emissions From Indoor Materials/Products.

#### ASTM D2832, Standard Guide for Determining Volatile and Nonvolatile Content of Paint and Related Coatings.

#### ASTM E1333, Standard Test Method for Determining Formaldehyde Concentrations in Air and Emission Rates From Wood Products Using a Large Chamber.

### Canadian General Standards Board (CGSB)

#### CAN/CGSB-71.20, Adhesive, Contact, Brushable.

### Canadian Standards Association (CSA)

#### CSA B111, Wire Nails, Spikes and Staples.

#### CSA O112.10, Evaluation of Adhesives for Structural Wood Products (Limited Moisture Exposure).

#### CSA O121, Douglas Fir Plywood.

#### CSA O141, Softwood Lumber.

#### CSA O151, Canadian Softwood Plywood.

#### CSA O153, Poplar Plywood.

### National Electrical Manufacturers Association (NEMA)

#### ANSI/NEMA LD-3, High-Pressure Decorative Laminates (HPDL).

## QUALITY ASSURANCE

### Provide Certificate of Quality Compliance upon completion of Fabrication, in accordance with Architectural Woodword Manufacturer’s Association of Canada (AWMAC) quality standards.

### Provide Certificate of Quality Compliance upon satisfactory completion of installation.

### Work in accordance with Grade or Grades specified of the AWS.

## SUBMITTALS

### Indicate details of construction, profiles, jointing, fastening and other related details. Scales:

#### profiles full size, details 1/2 full size.

### Indicate all materials, thicknesses, finishes and hardware.

### Indicate locations of service outlets in casework, typical and special installation conditions, and connections, attachments, anchorage and location of exposed fastenings.

### Submit duplicate colour samples of laminated plastic for colour selection.

### Submit duplicate samples of laminated plastic joints, edging, cutouts, and postformed profiles.

## MOCK-UPS

### Construct mock-ups in accordance with Section 01 43 39 – Mock Up Requirements.

### Shop prepare one base cabinet unit, wall cabinet, counter top, shelving unit, complete with hardware and shop applied finishes, and install on project in  designated location.

## DELIVERY, STORAGE AND HANDLING

### Deliver, handle, store and protect materials of this section in accordance with Section 01 61 00 – Common Product Requirements.

### Protect millwork against dampness and damage during and after delivery.

### Store millwork in ventilated areas, protected from extreme changes of temperature or humidity.

### Store materials off ground, in dry location and in accordance with manufacturer's recommendations in clean, dry, well-ventilated area.

### Store and protect architectural woodwork from nicks, scratches, and blemishes.

### Replace defective or damaged materials with new.

# PRODUCTS

## MATERIALS

### Softwood lumber: unless specified otherwise, S4S, moisture content 19 % or less in accordance with following standards:

#### CAN/CSA-O141.

#### AWMAC premium grade, moisture content as specified.

### Machine stress-rated lumber is acceptable for all purposes.

### Hardwood lumber: moisture content 10% or less in accordance with following standards:

#### National Hardwood Lumber Association (NHLA).

#### AWMAC premium grade, moisture content as specified.

### Douglas fir plywood (DFP): to CSA O121, standard construction.

#### Urea-formaldehyde free.

### Canadian softwood plywood (CSP): to CSA O151, standard construction.

#### Urea-formaldehyde free.

### Hardwood plywood: to ANSI/HPVA HP-1.

#### Urea-formaldehyde free.

### Poplar plywood (PP): to CSA O153, standard construction.

#### Urea-formaldehyde free.

### Birch plywood: to AWMAC Natural.

#### Urea-formaldehyde free.

### Hardboard: to CAN/CGSB – 11.3.

#### Urea-formaldehyde free.

### Medium density fibreboard (MDF): to ANSI A208.2, density 769 kg/m³.

#### Urea-formaldehyde free.

#### Must meet the performance requirements of ANSI A208.2

### Laminated plastic: Section 06 40 23.13 - Plastic Laminate for Interior Architectural Woodwork.

### Thermofused Melamine: to NEMA LD3 Grade VGL.

#### High wear resistant thermofused melamine: equal or exceed 400 cycles (Minimum standard for HPL abrasion test).

### Nails and staples: to CSA B111.

### Wood screws: steel plain, type and size to suit application.

### Splines: wood.

### Sealant: Section 07 92 00 – Joint Sealants.

### Glazing: provide glazing to the requirements of Section 08 80 50 – Glazing.

## MANUFACTURED UNITS

### Casework.

#### Fabricate caseworks to AWMAC premium quality grade.

#### Furring, blocking, nailing strips, grounds and rough bucks and sleepers.

##### S2S is acceptable.

##### Board sizes: "Standard" or better grade.

##### Dimension sizes: "Standard" light framing or better grade.

#### Framing birch or maple species, NHLA premium grade.

#### Premanufactured plastic laminate covered Particle board grade premium 20mm thick.

#### Backs.

##### Premanufactured plastic laminate covered particle board, grade premium 6 mm thick.

#### Shelving.

##### Premanufactured plastic laminate covered particle board, grade premium 20mm thick.

##### Edge banding: provide 10mm thick solid matching wood strip on plywood particleboard edges 12mm or thicker, exposed in final assembly. Strips same width as plywood particleboard.

### Wood Drawers

#### Fabricate drawers to AWMAC premium grade supplemented as follows:

#### Sides and Backs.

##### Hardwood plywood:

###### Thickness: 12mm.

#### Bottoms.

##### Preformed plastic laminate covered particle board, grade premium 12 mm thick.

#### Fronts.

##### Hardwood plywood:

###### Thickness: 12 mm.

##### Preformed plastic laminate covered particleboard, grade premium 12mm thick.

### Metal Drawers Sidebox

#### Metal sidebox drawer profiles, heights to suite drawer dimensions, c/w brackets for securing wood drawer front, back and bottom.

#### Provide sliding drawer profiles, length to suite metal sidebox. Sliding drawer profile to provide full drawer extension operation

#### Backs

##### Hardwood plywood:

###### Thickness: 12 mm.

#### Bottoms

##### Preformed plastic laminate covered particle board, grade premium 12 mm thick.

#### Fronts

##### Hardwood plywood:

###### Thickness: 12 mm

##### Preformed plastic laminate covered particleboard, grade premium 12 mm thick.

### Casework Doors

#### Fabricate doors to AWMAC premium grade supplemented as follows:

#### Preformed plastic laminate covered particleboard, grade premium 20 mm thick.

### Hardware

#### Door and Drawer rolls, hinges, slides, locks, pulls, knobs shelf rest, standards, rods track shall be in accordance with CAN/CGSB-69.25-M90/ANSI/BHMA A156.9 and Section 06 41 93 – Cabinet and Miscellaneous Hardware.

## FABRICATION

### Set nails and countersink screws apply stained wood filler to indentations, sand smooth and leave ready to receive finish.

### Shop install cabinet hardware for doors, shelves and drawers. Recess shelf standards unless noted otherwise.

### Shelving to cabinetwork to be adjustable unless otherwise noted.

### Provide cutouts for plumbing fixtures, inserts, appliances, outlet boxes and other fixtures.

### Shop assemble work for delivery to site in size easily handled and to ensure passage through building openings.

### Obtain governing dimensions before fabricating items which are to accommodate or abut appliances, equipment and other materials.

### Ensure adjacent parts of continuous laminate work match in colour and pattern.

### Veneer laminated plastic to core material in accordance with adhesive manufacturer's instructions. Ensure core and laminate profiles coincide to provide continuous support and bond over entire surface. Use continuous lengths up to 3000 mm. Keep joints 600 mm from sink cutouts.

### Form shaped profiles and bends as indicated, using postforming grade laminate to laminate manufacturer's instructions.

### Use straight self-edging laminate strip for flatwork to cover exposed edge of core material. Chamfer exposed edges uniformly at approximately 20 degrees. Do not mitre laminate edges.

## FINISHING

### Section 09 91 23 – Interior Painting

# EXECUTION

## INSTALLATION

### Do architectural woodwork to Quality Standards of the Architectural Woodwork Manufacturers Association of Canada (AWMAC), except where specified otherwise.

### Install prefinished millwork at locations shown on drawings. Position accurately, level, plumb straight.

### Fasten and anchor millwork securely. Provide heavy duty fixture attachments for wall mounted cabinets.

### Use draw bolts in countertop joints.

### Scribe and cut as required to fit abutting walls and to fit properly into recesses and to accommodate piping, columns, fixtures, outlets or other projecting, intersecting or penetrating objects.

### At junction of plastic laminate counter back splash and adjacent wall finish, apply small bead of sealant in accordance with section 07 92 00 – Joint Sealants.

### Apply bituminous coating over wood framing members in contact with masonry or cementitious construction.

### Fit hardware accurately and securely in accordance with manufacturer's written instructions.

## CLEANING

### Clean millwork and cabinet work inside cupboards and drawers and outside surfaces.

### Remove excess glue from surfaces.

## PROTECTION

### Protect millwork and cabinet work from damage until final inspection.

### Protect installed products and components from damage during construction.

### Repair damage to adjacent materials caused by architectural woodwork installation.

END OF SECTION