NL Master Specification Guide

for Public Funded Buildings
Re-Issued 2022/10/11
Section 07 46 19 – Steel Siding
Page 4 of 4

Part 1 GENERAL

1.1 RELATED SECTIONS

.1 Section 01 33 00 – Submittal Procedures.

.2 Section 01 74 21 – Construction/Demolition Waste Management and Disposal.

.3 Section 06 10 53 – Miscellaneous Rough Carpentry.
.4 Section 07 62 00 – Sheet Metal Flashing and Trim.
.5 Section 07 92 00 - Joint Sealants.
1.2 REFERENCES

.1 American Society of Mechanical Engineers (ASME)
.1 ASME B18.6.3, Machine Screws, Tapping Screws, and Metallic Drive Screws (Inch Series).
.2 ASTM International
.1 ASTM A 653/A 653M, Standard Specification for Steel Sheet, Zinc-Coated (Galvanized) or Zinc-Iron Alloy-Coated (Galvannealed) by the Hot-Dip Process.
.2 ASTM D2369, Test Method for Volatile Content of Coatings.
.3 ASTM D2832, Standard Guide for Determining Volatile and Nonvolatile Content of Paint and Related Coatings.
.4 ASTM D5116, Standard Guide For Small-Scale Environmental Chamber Determinations of Organic Emissions From Indoor Materials/Products.
.3 Canadian General Standards Board (CGSB)

.1 CAN/CGSB-51.32, Sheathing, Membrane, Breather Type.

.2 CAN/CGSB-93.4, Galvanized and Aluminum-Zinc Alloy Coated Steel Siding Soffits and Fascia, Prefinished, Residential.

.3 CGSB 93.5, Installation of Metal Residential Siding, Soffits and Fascia.

.4 Canadian Standards Association (CSA)

.1 CSA B111, Wire Nails, Spikes and Staples.

1.3 SUBMITTALS
.1 Product data: submit manufacturer's printed product literature, specifications and data sheet.

.1 Submit two copies of WHMIS SDS ‑ Safety Data. Indicate VOC's for caulking materials during application and curing.
.2 Submit duplicate 300 x 300 mm samples of siding material, of colour and profile specified.

.3 Shop drawings to indicate dimensions, profiles, attachment methods, schedule of wall elevations, trim and closure pieces, soffits, fascia, metal furring, and related work.
.4 Submit manufacturer’s installation instructions.
1.4 Warranty

.1 Provide a written guarantee, signed and issued in the name of the owner, covering the metal cladding/siding material for 10 (ten) years and workmanship for a period of two (2) years from the date of Substantial Completion. 

.2 Areas which prove to be defective in any way shall be repaired or replaced and any damage to other work as a result of such defects shall be repaired at no cost to the Owner. 

Part 2 PRODUCTS
2.1 STEEL CLADDING AND COMPONENTS
.1 Strip siding: to ASTM A 652M, Type A vertical, Class plain.

.1 Finish coating: silicone modified polyester (SMP) topcoat system.
.2 Colour: colour selected by Owner.

.3 Gloss: 30 ± 5.
.4 Thickness: 0.65 mm base metal thickness.

.5 Profile: preformed interlocking joints, fastener holes prepunched, profile as indicated on drawings.

.2 Soffit: to ASTM A 652M, class plain

.1 Finish coating: silicone modified polyester (SMP) topcoat system.
.2 Colour: selected by Owner.

.3 Gloss: 30 ± 5.
.4 Thickness: 0.65 mm base metal thickness.

.5 Profile:  flat sheet “V” crimped for stiffness, vented 0.1m2 of opening for every 30 m 2 of building area.

.3 Fascia facings and exposed trim: to ASTM A 652M, Class plain

.1 Finish coating: silicone modified polyester (SMP) topcoat system.
.2 Colour: colour selected by Owner.

.3 Gloss: 30 ± 5.
.4 Thickness: 0.65 mm base metal thickness.

.5 Profile: flat sheet ”V” crimped for stiffness, preformed with elongated slits and small perforations.

2.2 ACCESSORIES
.1 Exposed trim: inside corners, outside corners, cap strip, drip cap, undersill trim, starter strip and window/door trim of same material, colour and gloss as cladding, with fastener holes pre-punched.

2.3 FASTENERS
.1 Nails: to CSA B111. Screws to ASME B18.6.3. Purpose made aluminum alloy stainless steel.

2.4 CAULKING
.1 Sealants: Section 07 92 00 – Joint Sealants.

2.5 SHEATHING membrane
.1 Exterior wall sheathing membrane: to CAN2-51.32, single ply spunbound olefin type coated.

Part 3 EXECUTION
3.1 INSTALLATION
.1 Install cladding in accordance with CGSB 93.5, and manufacturer's written instructions

.2 Install one layer exterior wall sheathing membrane horizontally by stapling or nailing lapping edges 150 mm.

.3 Install continuous starter strips, inside and outside corners, edgings, soffit, drip, cap, sill and window/door opening flashings as indicated.

.4 Install outside corners, fillers and closure strips with carefully formed and profiled work.

.5 Install soffit and fascia cladding as indicated.

.6 Maintain joints in exterior cladding, true to line, tight fitting, hairline joints.

.7 Attach components in manner not restricting thermal movement.

.8 Caulk junctions with adjoining work with sealant. Do work in accordance with Section 07 92 00 - Joint Sealants.

3.2 CLEANING

.1 Upon completion of installation, remove surplus materials, rubbish, tools and equipment barriers.
3.3 PROTECTION

.1 Protect installed products and components from damage during construction.
.2 Repair damage to adjacent materials caused by preformed metal siding installation.
END OF SECTION
Ver. 10/22

