# GENERAL

## RELATED SECTIONS

### Section 01 33 00 - Submittal Procedures.

### Section 01 74 21 – Construction/Demolition Waste Management and Disposal.

### Section 06 10 53 – Miscellaneous Rough Carpentry.

### Section 07 52 00 – Modified Bituminous Membrane Roofing.

### Section 07 61 00 – Sheet Metal Roofing.

### Section 07 92 00 – Joint Sealants.

## REFERENCES

### The Aluminum Association Inc. (AA)

#### AA Aluminum Design Manual, Part VIII Guidelines for Aluminum Sheet Metal Work in Building Construction.

#### AA DAF45, Designation System for Aluminum Finishes.

### American Society for Testing and Materials (ASTM International)

#### ASTM A653/A653M, Standard Specification for Steel Sheet, Zinc-Coated (Galvanized) or Zinc-Iron Alloy-Coated (Galvannealed) by the Hot-Dip Process.

#### ASTM A755/A755M, Standard Specification for Steel Sheet, Metallic coated by the Hot-Dip Process and Prepainted by the Coil-Coating Process for Exterior Exposed Building Products.

#### ASTM A792/A792M, Standard Specification for Steel Sheet, 55% Aluminum-Zinc Alloy-Coated by the Hot-Dip Process.

#### ASTM D523, Standard Test Method for Specular Gloss.

### Canadian Roofing Contractors Association (CRCA)

#### Roofing Specifications Manual.

### Canadian Standards Association (CSA International)

#### CSA A123.3, Asphalt Saturated Organic Roofing Felt.

#### CSA B111, Wire Nails, Spikes and Staples.

### Canadian Sheet Steel Building Institute (CSSBI)

#### CSSBI S8, Quality and Performance Specification for Prefinished Sheet Steel Used for Building Products.

#### CSSBI B17, Barrier Series Prefinished Steel Sheet: Product Performance &amp; Applications.

#### CSSBI Sheet Steel Facts #12, Fastener Guide for Sheet Steel Building Products.

## ACTION AND INFORMATION SUBMITTALS

### Provide submittals in accordance with Section 01 33 00 - Submittal Procedures.

### Product Data:

#### Submit manufacturer's printed product literature including product specifications and technical data sheets for sheet metal flashing fasteners and accessory materials. Include product characteristics, performance criteria, physical size, finish and limitations.

### Shop Drawings:

#### Submit shop drawings for all sheet metal fabrications.

#### Indicate sheet thickness, flashing dimensions and fastenings. Include anchorage, expansion joints and other provisions for thermal movement.

#### Submit manufacturer’s catalogue cut sheets for manufactured items.

### Samples:

#### Submit 50 x 50 mm samples of each type of sheet metal material, finishes and colour.

## DELIVERY, STORAGE AND HANDLING

### Deliver, store and handle materials in accordance with Section 01 61 00 - Common Product Requirements.

### Handle and store flashing materials to prevent creasing, buckling, scratching, or other damage.

# PRODUCTS

## SHEET METAL MATERIALS

### Provide sheet metal in base metal thickness specified. Where no thickness specified, provide base sheet metal in thickness recommended in SMACNA Architectural Sheet Metal Manual for type of item being fabricated, but not less than the thickness required by the authority having jurisdiction.

### Aluminum-zinc alloy coated steel sheet: to ASTM A792/A792M, commercial quality, grade 33 with AZ150 coating, regular spangle surface, 0.60 mm base metal thickness. Pre-painted to CGSB –GP-71.

## PREFINISHED STEEL SHEET

### Prefinished steel with factory applied two-coat polyvinylidene fluoride resin on specified steel sheet substrate conforming to ASTM A755.

#### Class F1S

#### Colour as selected by Owner from manufacturer's standard range.

#### Specular gloss: 30 units +/- 5 in accordance with ASTM D523.

#### Exposed coating thickness: dry film coating system thickness not less than 22 micrometres.

#### Resistance to accelerated weathering for caulk rating of 8, colour fade 5 units or less and erosion rate less than 20 % to ASTM D822 as follows:

##### Outdoor exposure period 2500 hours.

##### Humidity resistance exposure period 5000 hours.

## ACCESSORIES

### Isolation coating: alkali resistant bituminous paint.

### Underlay for metal flashing: No. 15 perforated asphalt felt to CSA A123.3.

### Sealants: Section 07 92 00 – Joint Sealants.

### Cleats: of same material, and temper as sheet metal, minimum 50 mm wide. Thickness same as sheet metal being secured.

### Fasteners: of same material as sheet metal, to CSA B111, ring thread flat head roofing nails of length and thickness suitable for metal flashing application.

### Washers: of same material as sheet metal, 1 mm thick with rubber packings.

### Touch-up paint: as recommended by prefinished material manufacturer.

## FABRICATION

### Fabricate metal flashings and other sheet metal work in accordance with applicable CRCA 'FL' series details as indicated.

### Fabricate aluminum flashings and other sheet aluminum work in accordance with Aluminum Association Aluminum Sheet Metal Work in Building Construction.

### Form pieces in 2400 mm maximum lengths. Make allowance for expansion at joints.

### Hem exposed edges on underside 12 mm. Mitre and seal corners with sealant.

### Form sections square, true and accurate to size, free from distortion and other defects detrimental to appearance or performance.

### Apply isolation coating to metal surfaces to be embedded in concrete or mortar.

## METAL FLASHINGS

### Form flashings, copings and fascias to profiles indicated of 0.60 mm thick prefinished steel.

# EXECUTION

## INSTALLATION

### Install sheet metal work in accordance with CRCA FL series details and as detailed.

### Use concealed fastenings except where approved before installation.

### Provide underlay under sheet metal. Secure in place and lap joints 100 mm.

### Counterflash bituminous flashings at intersections of roof with vertical surfaces and curbs. Flash joints using S-lock forming tight fit over hook strips, as detailed.

### Lock end joints and caulk with sealant.

### Where flashing installed with mechanical fasteners, install fasteners in slots or oversize holes to allow expansion and contraction of flashings.

### Provide isolation coating or impervious self-adhesive membrane to separate aluminum items from concrete and masonry.

## CLEANING

### Proceed in accordance with Section 01 74 00 – Cleaning.

### On completion and verification of performance of installation, remove surplus materials, excess materials, rubbish, tools and equipment.

### Leave work areas clean, free from grease, finger marks and stains.

END OF SECTION