# GENERAL

## RELATED SECTIONS

### Section 01 33 00 - Submittal Procedures.

### Section 01 74 21 – Construction/Demolition Waste Management and Disposal.

### Section 01 78 00 - Closeout Submittals.

### Section 05 50 00 - Metal Fabrications.

### Section 06 10 53 – Miscellaneous Rough Carpentry.

### Section 07 21 20 – Low Expanding Foam Sealant.

### Section 07 92 00 - Joints Sealants.

### Section 08 71 00 - Door Hardware.

### Division 26 – Wiring and conduit for electronic hardware.

## REFERENCES

### American Architectural Manufacturers Association (AAMA)

#### AAMA 609/610, Cleaning and Maintenance Guide for Architecturally Finished Aluminum.

### American Society for Testing and Materials International, (ASTM).

#### ASTM E330, Standard Test Method for Structural Performance of Exterior Windows, Doors, Skylights and Curtain Walls by Uniform Static Air Pressure Difference.

### Canadian General Standards Board (CGSB).

#### CGSB 1.40, Anticorrosive, Structural Steel, Alkyd Primer.

#### CAN/CGSB-12.1, Tempered or Laminated Safety Glass.

#### CAN/CGSB-12.20, Structural Design of Glass for Buildings.

### Canadian Standards Association (CSA).

#### CAN/CSA-G40.20/G40.21, General Requirements for Rolled or Welded Structural Quality Steel/Structural Quality Steel.

#### CAN/CSA G164, Hot Dip Galvanizing of Irregularly Shaped Articles.

## SYSTEM DESCRIPTION

#### Design frames and doors in exterior walls to:

##### Accommodate expansion and contraction within service temperature range of -35˚ to 35˚C.

##### Limit deflection of mullions to maximum 1/175th of clear span when tested to ASTM E330 under wind load of 1.2Kpa.

##### Movement within system.

##### Movement between system and perimeter framing components or substrate.

### Size glass thickness and glass unit dimensions to limits in accordance with CAN/CGSB-12.20.

### Provide continuous air barrier and vapour retarder through door system. Primarily in line with inside pane of glass and heel bead of glazing compound.

## SUBMITTALS

### Submit one 300 x 300 mm corner sample of each type door and frame.

### Submit sample showing glazing detail, reinforcement, finish and location of manufacturer's nameplates.

### Frame sample to show glazing stop, door stop, jointing detail & finish.

### Manufacturer's Instructions:

#### Submit manufacturer's installation instructions.

### Indicate materials and profiles and provide full-size, scaled details of components for each type of door and frame. Indicate:

#### Interior trim and exterior junctions with adjacent construction.

#### Junctions between combination units.

#### Elevations of units.

#### Core thicknesses of components.

#### Type and location of exposed finishes, method of anchorage, number of anchors, supports, reinforcement, and accessories.

#### Location of caulking.

#### Each type of door system including location.

#### Arrangement of hardware and required clearances.

### Submit catalogue details for each type of door and frame illustrating profiles, dimensions and methods of assembly.

### Product Data:

#### Submit manufacturer's printed product literature, specifications and data sheets.

#### Submit two copies of WHMIS SDS - Safety Data Sheets for door materials, adhesives and aluminum cleaner. Indicate VOC's for caulking materials during application and curing.

## CLOSEOUT SUBMITTALS

### Provide maintenance data for cleaning and maintenance of aluminum finishes for incorporation into manual specified in Section 01 78 00 - Closeout Submittals.

## WARRANTY

### Provide a written warranty for work of this section from manufacturer for failure due to defective materials and from contractor for failure due to defective workmanship for ten (10) years respectively from the date of Substantial Completion.

## DELIVERY, STORAGE AND HANDLING

### Apply temporary protective coating to finished surfaces. Remove coating after erection. Do not use coatings that will become hard to remove or leave residue.

### Leave protective covering in place until final cleaning of building.

# PRODUCTS

## MATERIALS

### Aluminum extrusions: Aluminum Association alloy AA6063-T5 anodizing quality.

### Steel reinforcement: to CAN/CSA-G40.20/G40.21, grade 300 W.

### Fasteners: stainless steel, finished to match adjacent material.

### Weatherstrip: mohair metal backed wool pile.

### Door bumpers: black neoprene.

### Door bottom seal: adjustable door seal of anodized extruded aluminum frame and vinyl weather seal, surface mounted with drip cap, closed ends.

### Provide low expanding, single component polyurethane foam sealant installed at head and jamb perimeter of door frame for sealing to building air barrier, vapour retarder and door frame.  Foam sealant width to be adequate to provide required air tightness and vapour diffusion control to building air barrier and vapour retarder foam interior. Refer to Section 07 21 20 – Low Expanding Foam Sealant.

### Isolation coating: alkali resistant epoxy resin solution.

### Glass in exterior and interior doors: 6.0 mm transparent, tempered glass to CAN/CGSB-12.1, Type 2, Class B.

### Glazing materials: Section 08 80 00 – Glazing.

### Sealants: Section 07 92 00 – Joint Sealants, colour as selected by Owner.

## ALUMINUM DOORS

### Construct doors of porthole extrusions with minimum wall thickness of 3.0 mm.

### Door stiles: widths as indicated on drawings.

### Top rail: widths as indicated on drawings.

### Bottom rail: widths as indicated on drawings.

### Centre rail: widths as indicated on drawings.

### Reinforce mechanically-joined corners of doors to produce sturdy door unit.

### Glazing stops: interlocking snap-in type for dry glazing. Exterior stops: tamperproof type.

### Provide thermally broken doors for exterior.

### Hardware: as per Section 08 71 00 – Door Hardware.

## ALUMINUM FRAMES

### Construct thermally broken frames of aluminum extrusions with minimum wall thickness of 3.0 mm.

### Centre rails and base for sidelights: same material as doors, 210 mm x door thickness x length required.

### Frame members 114 x 45 mm nominal size, for applied stops.

## ALUMINUM FINISHES

### Finish exposed surfaces of aluminum components in accordance with Aluminum Association Designation System for Aluminum Finishes.

#### Clear anodic finish: designation AA-M12, C22, A31.

### Appearance and properties of anodized finishes designated by the Aluminum Association as Architectural Class 1, Architectural Class 2, and Protective and Decorative.

## STEEL FINISHES

### Finish steel clips and reinforcing steel with zinc coating to CSA G164.

## FABRICATION

### Doors and framing to be by same manufacturer.

### Fabricate doors and frames to profiles and maximum face sizes as shown.

### Provide structural steel reinforcement as required.

### Fit joints tightly and secure mechanically.

### Conceal fastenings.

### Mortise, reinforce, drill and tap doors, frames and reinforcements to receive hardware using templates provided under Section 08 71 00 - Door Hardware.

### Isolate aluminum from direct contact with dissimilar metals, concrete and masonry.

# EXECUTION

## MANUFACTURER’S INSTRUCTIONS

### Compliance: comply with manufacturer’s written data, including product technical bulletins, product catalogue installation instructions, product carton installation instructions and data sheets.

## INSTALLATION

### Set frames plumb, square, level at correct elevation in alignment with adjacent work.

### Anchor securely.

### Install doors and hardware in accordance with hardware templates and manufacturer's instructions.

### Adjust operable parts for correct function.

### Make allowances for deflection of structure to ensure that structural loads are not transmitted to frames.

## GLAZING

### Glaze aluminum doors and frames in accordance with Section 08 80 00 - Glazing.

## CAULKING

### Seal joints to provide weathertight seal at outside and air, vapour seal at inside.

### Apply sealant in accordance with Section 07 92 00 - Joint Sealants. Conceal sealant within the aluminum work except where exposed use is permitted by Owner.

## CLEANING

### Perform cleaning of aluminum components in accordance with AAMA 609.1 - Voluntary Guide Specification for Cleaning and Maintenance of Architectural Anodized Aluminum.

### Perform cleaning as soon as possible after installation to remove construction and accumulated environmental dirt.

### Clean aluminum with damp rag and approved non-abrasive cleaner.

### Remove traces of primer, caulking, epoxy and filler materials; clean doors and frames.

### Clean glass and glazing materials with approved non-abrasive cleaner.

### Upon completion of installation, remove surplus materials, rubbish, tools and equipment barriers.

## PROTECTION

### Protect installed products and components from damage during construction.

### Repair damage to adjacent materials caused by aluminum door and frame installation.

END OF SECTION