# GENERAL

## RELATED SECTIONS

### Section 01 33 00 - Submittal Procedures.

### Section 01 74 21 – Construction/Demolition Waste Management and Disposal.

### Section 01 78 00 - Closeout Submittals.

### Section 05 50 00 - Metal Fabrications.

### Section 08 80 00 - Glazing.

### Section 09 91 13 – Exterior Painting.

### Section 09 91 23 - Interior Painting.

### Division 26: Electrical power supply.

## REFERENCES

### The Aluminum Association Inc. (AA).

#### Aluminum Association Designation System for Aluminum Finishes- DAF 45.

### American Society for Testing and Materials, (ASTM).

#### ASTM A1008/A1008M, Standard Specification for Steel, Sheet, Cold-Rolled, Carbon, Structural, High-Strength Low-Alloy and High-Strength Low-Alloy with Improved Formability.

#### ASTM D523, Test Method for Specular Gloss.

#### ASTM D822, Standard Practice for Filtered Open-Flame Carbon-Arc Exposures of Paint and Related Coatings.

### Canadian General Standards Board (CGSB).

#### CAN/CGSB-1.105, Quick-Drying Primer.

#### CGSB 1.181, Coating, Zinc-Rich, Organic, Ready Mixed.

### Canadian Standards Association (CSA).

#### CSA G164, Hot Dip Galvanizing of Irregularly Shaped Articles.

## SYSTEM DESCRIPTION

### Design Requirements.

#### Design exterior door assembly to withstand windload of 1 kPa with a maximum horizontal deflection of 1/240 of opening width.

#### Design door panel assemblies with thermal insulation factor of 2.8 RSI.

#### Design door assembly to withstand minimum 10,000 cycles per annum.

## SUBMITTALS

### Product Data:

#### Submit manufacturer's printed product literature, specifications and data sheet.

#### Submit two copies of WHMIS SDS –Safety Data Sheets. Indicate VOC’s:

##### For caulking materials during application and curing.

##### For door materials and adhesives.

### Shop Drawings:

#### Indicate sizes, service rating, types, materials, operating mechanisms, glazing locations and details, hardware and accessories, required clearances and electrical connections.

### Manufacturer's Instructions:

#### Submit manufacturer's installation instructions.

### Submit copies of manufacturer’s field reports.

## CLOSEOUT SUBMITTALS

### Provide operation and maintenance data for overhead door hardware for incorporation into manual specified in Section 01 78 00 - Closeout Submittals.

## QUALITY ASSURANCE

### Company specializing in manufacturing products specified with a minimum of five (5) years documented experience.

## WARRANTY

### Provide a written warranty for work of this section from manufacturer for failure due to defective materials and from contractor for failure due to defective installation workmanship, for ten (10) years respectively from the date of Substantial Completion.

# PRODUCTS

## MATERIALS

### Galvanized steel sheet: commercial quality Z275 zinc coating.

### Primer: to CGSB-1-GP-181, for galvanized steel surfaces.

### Insulation: to meet design requirements.

### Glazing: Plastic glazing, to CAN2-12.12-M79, clear, acrylic sheet, 3.2 mm thick, light transmission of 80% minimum.

### Cable: multi-strand galvanized steel aircraft cable.

## DOORS

### Fabricate insulated panel doors of interlocking steel sections as indicated.

### Fabricate panel frames in a continuous box frame with vertical stiffeners at 600 mm centres.

### Install glazing for vision panels. Sizes and number of vision panels as indicated.

### Assemble components by means of spot or arc welding or coated rivet system or adhesive and self tapping screws to manufacturer's recommendations.

### Apply shop coat of: galvanizing, primer after fabrication of door. Fabricate doors from steel stock.

## HEAVY DUTY INDUSTRIAL HARDWARE

### Track: standard hardware with 75 mm size 2.66 mm core thickness galvanized steel track.

### Track Supports: 2.3 mm core thickness continuous galvanized steel angle track supports.

### Spring counter balance: heavy duty oil tempered torsion spring with manufacturers standard brackets.

#### Drum: 200 mm diameter die cast aluminum.

#### Shaft: 25 mm diameter galvanized steel.

### Top roller carrier: galvanized Steel 3.04 mm thick adjustable.

### Rollers: full floating grease packed hardened steel, ball bearing size to suit track.

### Roller brackets: adjustable, minimum 2.5 mm galvanized steel.

### Hinges: heavy duty, secured with rivets on self tapping screws.

### Cable: 6.0 mm diameter galvanized steel aircraft cable.

## ACCESSORIES

### Overhead horizontal track and operator supports: galvanized steel, type and size to suit installation.

### Track guards: 5.0 mm thick formed sheet 1500 mm high track guards.

### Pusher springs.

### Handles.

#### Flat bar door latch.

#### Handles: operated from outside.

### Two horizontal sliding lock bolts on interior.

### Weatherstripping.

#### Sills:  double contact, full width extended neoprene weathertstrip.

#### Jambs and head:  extended aluminum and artic grade vinyl weatherstrip to manufacturer’s standard.

### Finish ferrous hardware items with minimum zinc coating of 300 g/m² to CSA G164.

## PREFINISHED STEEL SHEET

### Prefinished steel with factory applied silicone modified polyester.

#### Class: F1S

#### Colour as selected by Owner from manufacturer’s standard range.

#### Specular gloss: 30 units + 5 in accordance with ASTM D523.

#### Coating thickness: not less than 25 micrometres.

#### Resistance to accelerated weathering for chalk rating of 8, colour fade 5 units or less and erosion rate less than 20% to ASTM D822 as follows:

##### Outdoor exposure period 1000 hours.

##### Humidity resistance exposure period 1000 hours.

## OPERATORS

### Equip doors for operation by:

#### Hand, two handles on inside and outside face of door.

#### Chain hoist with galvanized steel chain.

#### Cable fail safe device.

##### Able to stop door immediately if cable breaks on door free fall. Braking capacity 500 kg.

## ELECTRICAL OPERATOR

### Electrical motors, controller units, remote pushbutton stations, relays and other electrical components: to CSA approval with CSA enclosure.

### Power supply: 208 V, 3 phase, 60 Hz.

#### Motor: 746W (1 HP) 208V, 3 phase

#### Confirm that door motor size is adequate for O/H door size and weight.

### Operation:

#### Remote pushbutton stations: flush surface mounted, in with "OPEN-STOP-CLOSE" designations on pushbuttons in English.

#### Cable control: pendant hung control to open, close and stop.

### Safety switch: electro-mechanical limit switches for full length of bottom rail of bottom section of door, to stop and reverse door to open position when coming in contact with object on closing cycle or upon failure of any component of the control system. Provide for an automatic lock-out on the door closing circuit until the failure or damage as been corrected.

### For trolley operators:

#### Attach operator to door with quick release device to disconnect door from operator in event of power failure.

### Door speed: 300 mm per second.

### Control transformer: for 24V AC control voltage.

### Mounting brackets: galvanized steel, size and gauge to suit conditions.

# EXECUTION

## MANUFACTURER'S INSTRUCTIONS

### Compliance: comply with manufacturer's written data, including product technical bulletins, product catalogue installation instructions, product carton installation instructions, and data sheets.

## INSTALLATION

### Install doors and hardware in accordance with manufacturer's instructions.

### Rigidly support rail and operator and secure to supporting structure.

### Touch-up steel doors with primer where galvanized finish damaged during fabrication.

### Install operator including electrical motors, controller units, pushbutton stations, relays and other electrical equipment required for door operation.

### Lubricate and adjust door operating components to ensure smooth opening and closing of doors.

### Adjust weatherstripping to form a weather tight seal.

### Adjust doors for smooth operation.

## CLEANING

### Perform cleaning after installation to remove construction and accumulated environmental dirt.

### Remove traces of primer, caulking; clean doors and frames.

### Clean glass and glazing materials with approved non-abrasive cleaner.

### Upon completion of installation, remove surplus materials, rubbish, tools and equipment barriers.

END OF SECTION