# GENERAL

## RELATED SECTIONS

### Section 01 33 00 - Submittal Procedures.

### Section 01 61 00 - Common Product Requirements.

### Section 01 74 21 – Construction/Demolition Waste Management and Disposal.

### Section 01 78 00 - Closeout Submittals.

### Section 08 11 00- Metal Doors & Frames.

### Section 08 11 16 – Aluminum Doors and Frames.

### Section 08 14 16 – Flush Wood Doors.

### Division 26 - Electrical wiring for magnetic strikes, electric releases, electric locks.

## REFERENCES

### American National Standards Institute (ANSI) / Builders Hardware Manufacturers Association (BHMA)

#### ANSI/BHMA A156.1, American National Standard for Butts and Hinges.

#### ANSI/BHMA A156.2, Bored and Preassembled Locks and Latches.

#### ANSI/BHMA A156.3, Exit Devices.

#### ANSI/BHMA A156.4, Door Controls - Closers.

#### ANSI/BHMA A156.5, Cylinders and Input Devices for Locks.

#### ANSI/BHMA A156.6, Architectural Door Trim.

#### ANSI/BHMA A156.8, Door Controls - Overhead Stops and Holders.

#### ANSI/BHMA A156.12, Interconnected Locks and Latches.

#### ANSI/BHMA A156.13, Mortise Locks and Latches Series 1000.

#### ANSI/BHMA A156.14, Sliding and Folding Door Hardware.

#### ANSI/BHMA A156.15, Release Devices - Closer Holder, Electromagnetic and Electromechanical.

#### ANSI/BHMA A156.16, Auxiliary Hardware.

#### ANSI/BHMA A156.17, Self-closing Hinges and Pivots.

#### ANSI/BHMA A156.18, Materials and Finishes.

#### ANSI/BHMA A156.19, Power Assist and Low Energy Power - Operated Doors.

#### ANSI/BHMA A156.21, Thresholds.

#### ANSI/BHMA A156.22, Door Gasketing and Edge Seal Systems.

#### ANSI/BHMA A156.26, Continuous Hinges.

#### ANSI/BHMA A156.28, Keying Systems.

#### ANSI/BHMA A156.31, Electronic Strikes.

### Canadian Steel Door and Frame Manufacturers' Association (CSDFMA)

#### CSDFMA Canadian Metric Guide for Steel Doors and Frames (Modular Construction).

#### CSDFMA Recommended Dimensional Standards for Commercial Steel Doors and Frames.

## SUBMITTALS

### Product Data:

#### Submit manufacturer's printed product literature, specifications and data sheet.

#### Include in submitted product literature, copy of manufacturer’s standard product warranty for each hardware item submitted.

### Samples:

#### Identify each sample by label indicating applicable specification paragraph number, brand name and number, finish and hardware package number.

#### After approval samples will be returned for incorporation in the Work.

### Hardware List:

#### Submit contract hardware list.

#### Indicate specified hardware, including make, model, material, function, size, finish and other pertinent information.

### Manufacturer's Instructions:

#### Submit manufacturer's installation instructions.

### Closeout Submittals

#### Provide operation and maintenance data for door closers, locksets, door holders electrified hardware and fire exit hardware for incorporation into manual specified in Section 01 78 00 - Closeout Submittals.

## MAINTENANCE MATERIALS

### Provide maintenance materials in accordance with Section 01 78 00 - Closeout Submittals.

### Supply two sets of wrenches for door closers, locksets and fire exit hardware.

## WARRANTY

### Provide a written manufacturer’s warranty, dated from Substantial Completion Certificate, for work of this Section for failure due to defective materials as per the following requirements:

#### Locks and Latches: minimum seven (7) years.

#### Butts and Hinges: minimum three (3) years.

#### Exit Devices: minimum ten (10) years.

#### Door Closers and assemblies: minimum twenty five (25) years.

#### Door Operators: minimum two (2) years.

#### Power Supplies: minimum two (2) years.

#### Architectural Door Trim: minimum five (5) years.

#### Door Bottoms, Thresholds, Weatherstripping:  minimum five (5) years.

#### Astragals: minimum one (1) year.

### Provide a written Contractor’s warranty for work of this Section for failure due to defective installation workmanship for one (1) year, dated from submittal completion certificate.

## QUALITY ASSURANCE

### Regulatory Requirements:

#### Hardware for doors in fire separations and exit doors certified by a Canadian Certification Organization accredited by Standards Council of Canada.

### Only products certified in accordance with ANSI/BHMA standards are acceptable. Items that are equal in design, function and quality will be accepted upon approval of the Owner.

### Only recognized contract hardware distributors will be considered for the work of this section. The distributor shall have on staff a qualified Architectural Hardware Consultant recognized by the Door and Hardware Institute or a person with equivalent qualifications to assist installers and direct detailing, processing and delivery of material, and certify installation acceptance.

### Upon completion of finish hardware installation, hardware supplier shall inspect work and shall certify in writing that all items and their installation are in accordance with requirements of Contract Documents and are functioning properly.

## DELIVERY, STORAGE, AND HANDLING

### Deliver, store, handle and protect materials in accordance with Section 01 61 00 - Common Product Requirements.

### Store finishing hardware in locked, clean and dry area.

### Package each item of hardware including fastenings, separately or in like groups of hardware, label each package as to item definition and location.

## MAINTENANCE SERVICE

### Provide maintenance service for one year during warranty period to maintain all barrier free entrance automatic operators as follows:

#### Qualified service personal approved by manufacturer of operators.

#### Site inspection every three months will all necessary adjustment made during this visit. Separate warranty service calls, if required, will only qualify as an inspection if time of call is close to the three month intervals.

#### Make detailed reports of each visit and copy to Owner and Engineer.

#### Cost of this service will be included as part of this Section and is not covered by any allowance amount.

# PRODUCTS

## HARDWARE ITEMS

### Only door locksets and latches listed on ANSI/BHMA Standards list are acceptable for use on this project.

### Use one manufacturer's products only for similar items.

## DOOR HARDWARE

### Locks and latches:

#### Bored and preassembled locks and latches: to ANSI/BHMA A156.2, 4000 bored lock, grade 1, designed for function and keyed as stated in Hardware Schedule.

#### Mortise locks and latches: to ANSI/BHMA A156.13, series 1000 mortise lock, designed for function and keyed as stated in Hardware Schedule.

#### Lever handles: design as indicated in hardware groups.

#### Roses: round.

#### Normal strikes: box type, lip projection not beyond jamb.

#### Cylinders: key into keying system as directed.

#### All corresponding cylinders to be removable.

#### Finished as indicated in Hardware Groups.

### Butts and hinges:

#### Butts and hinges: to ANSI/BHMA A156.1, designated by letter A and numeral identifiers, followed by size and finish, listed in Hardware Schedule.

#### Interior hinges of steel, unless otherwise indicated.

#### Continuous hinges shall be heavy duty as indicated, full height, complete with installation aids and fasteners to suit door and frame conditions. Hinge to have access to electrical items without removing hinge.

#### Quantity, size and width of hinges in accordance with manufacturer’s recommendations and ASNI/BHMA 156.1.

### Exit devices:

#### To ANSI/BHMA A156.3, function, grade and finish as per schedule. Rim type with push pad design.

### Door Closers and Accessories:

#### Door controls (closers): to ANSI/BHMA A156.4, designated by letter C and numeral identifiers listed in Hardware Schedule, size in accordance with ANSI/BHMA A156.4. Table A1.

#### Closers of narrow, slim line design complete with backcheck, rack and pinion hydraulic action.

#### Closers equipped with full cover, as noted in Hardware Groups, complete with secure and concealed mounting screws

#### Adapter plates for added reinforcing shall be added to any opening if required to suit field conditions or door design.

#### Closers shall include all necessary arm brackets, cush arm supports and blade stop spacers to suit door swing, frame reveals or stop conditions.

#### Closers capable of field adjustments of at least fifteen (15) percent.

#### Finish as indicated in Hardware Groups.

### Door Operators:

#### Power-operated pedestrian doors: to ANSI/BHMA A156.10.

#### Complete with all components including operator housing, power operator, electronic control, soft start, switching networks, and all connecting hardware.

#### Design intent and function of opening as indicated in Hardware Groups. Supplier to include additional components and power supplies required to properly operate all hardware devices, door control devices, remote control devices, complete with any special cables or wirings to connect all parts.

#### Operator housing shall be complete with finished end caps prepared for mounting to door frame.

#### Operator housing shall be factory assembled with all necessary components for proper operation and switching. Relays, wiring harness and other components shall be plug-in type.

#### Operator controls shall include adjustable time delay, safe-swing circuit as well as provision for accessories as detailed in Hardware Groups.

#### Complete unit shall be mounted with provisions for easy servicing or replacement without removing the door or frame.

#### All wiring shall be of shielded type with proper number and gauge of conductor wires to install all components as specified.

#### Installation of operators shall be carried out by manufacturer’s certified and authorized personnel.

### Power Supplies:

#### To ANSI/BHMA 156.19, designated by numerical identifiers listed in Hardware Groups.

#### Shall be concealed in ceiling space of suitable adjacent area.

#### Shall interface with all electrical security components and supplied with all relays and devices to operate as per Hardware Groups.

#### When key switch is used, it will operate as per hardware notes and reset the power supply.

### Auxiliary locks and associated products: to ANSI/BHMA A156.5, designated by letter E and numeral identifiers listed in Hardware Schedule.

#### Key into keying system as noted.

### Architectural door trim: to ANSI/BHMA A156.6, designated by letter J and numeral identifiers listed in Hardware Schedule.

#### Door protection plates: 1.27 mm thick stainless steel, finished to BMHA 630.

#### Push plates: 1.27 mm thick stainless steel finished to BMHA 630.

#### Push/Pull units: type stainless steel finished to BMHA 630.

#### Fastened with through bolts or concealed bolts depending on application.

#### Where pull has back plate, fasteners will be countersunk and bevelled with no sharp edges.

#### Where bolts cannot be concealed under the push plate they shall have a grommet washer finished to match other hardware.

### Auxiliary hardware: to ANSI/BHMA A156.16, designated by letter L and numeral identifiers listed in Hardware Schedule.

#### Combination stop and holder, floor mounted: finished to BMHA 626.

#### Surface bolt lever extension flush bolt: finish to BMHA 626.

### Door bottom seal: heavy duty, door seal of extruded aluminum frame and hollow closed cell neoprene weather seal, surface mounted with drip cap closed ends, clear anodized finish.

### Thresholds:

#### To ANSI/BHMA A156.21 extruded aluminum mill finish, serrated surface, with lip and vinyl door seal insert, thermally broken.

#### Thresholds of aluminum material. Provide 50 mm longer than opening to allow fitting on site.

#### When mullion is used, increase length of threshold to fit around mullion.

#### Fasteners of countersink type suitable to properly install to floor/sill conditions. Supply complete with screw anchors.

### Weatherstripping:

#### Head and jamb seal:

##### Extruded aluminum frame and solid closed cell neoprene insert, clear anodized finish.

### Astragal: overlapping, extruded aluminum frame with vinyl insert, finished to match doors.

## KEY CABINET

### Provide one wall mounted steel key cabinet with capacity for 1.5 times the number of keys with an indexed key control system to ANSI/BHMA A156.5.

## FASTENINGS

### Use only fasteners provided by manufacturer. Failure to comply may void warranties and applicable licensed labels.

### Supply screws, bolts, expansion shields and other fastening devices required for satisfactory installation and operation of hardware.

### Exposed fastening devices to match finish of hardware.

### Where pull is scheduled on one side of door and push plate on other side, supply fastening devices, and install so pull can be secured through door from reverse side. Install push plate to cover fasteners.

### Use fasteners compatible with material through which they pass.

## KEYING

### Doors, padlocks and cabinet locks to be master keyed as directed. Prepare detailed keying schedule in conjunction with Owner.

### Provide keys in triplicate for every lock in this Contract.

### Provide six master keys for each MK or GMK group. Allow for six (6) levels of sub master keying.

### Stamp keying code numbers on keys and cylinders.

### Provide construction cores.

### Provide all permanent cores and keys to Owner.

### Supply fifty (50) blanks for each sub master group used.

## FINISHES

### Following finishes are indicated in hardware groups.

### BHMA		CAN MATERIAL	FINISH

626		C26D Brass/Bronze	Satin Chrome

628		C28 Aluminum		Satin Alum, Anodized

630		C32D Stainless Steel	Satin Stainless Steel

652		C26D Steel		Plated Satin Chrome

689		Al  All			Painted Aluminum

Alum Aluminum	Mill Finish

TMDFF (to match door and frame finish).

## ABBREVIATIONS

ALD		Aluminum Door and Frame

ATMS STMS	Arm/strike To Template with Machine Screws

ASB		Arm Complete with Sex Bolts

BC		Back Check

C to C, C/L	Centerline to Centerline

Cyl		Cylinder (of a lock)

CMK		Construction Master Key

Deg.		Degree (of opening)

DEL		Delayed Action

FBB or BB	Ball bearing hinge

# EXECUTION

## MANUFACTURER'S INSTRUCTIONS

### Compliance: comply with manufacturer's written data, including product technical bulletins, product catalogue installation instructions, product carton installation instructions, and data sheets.

### Furnish metal door and frame manufacturers with complete instructions and templates for preparation of their work to receive hardware.

### Furnish manufacturers' instructions for proper installation of each hardware component.

## INSTALLATION

### Install door hardware in accordance with manufacturer’s instructions, using special tools and jigs. Fit accurately and apply securely. Ensure that hardware is installed correctly.

### Install hardware to standard hardware location dimensions in accordance with Canadian Metric Guide for Steel Doors and Frames (Modular Construction) prepared by Canadian Steel Door and Frame Manufacturers' Association.

### No operating hardware shall be installed at a height of more than 1200 above the finished floor (NBC 3.4.6.16).

### Installation to be done by a qualified tradesman. Technical assistance provide by door hardware supplier where required.

### Closers shall be installed according to manufacturer’s templates and installation instructions. Unless required otherwise, installation shall be on pull side of door. Outswing doors shall be on push side using top jamb or parallel arm installation.

### Where closer or arm is installed on door, sex bolts will be used, finished to match other hardware.

### Where pull is scheduled on one side of door and push plate on other side, supply fastening devices, and install so pull can be secured through door from reverse side. Install push plate to cover fasteners. Plates drilled to accept through bolts will not be acceptable.

### Where door stop contacts door pulls, mount stop to strike bottom of pull.

### Install key control cabinet.

### Use only manufacturer’s supplied fasteners. Use of "quick" type fasteners, unless specifically supplied by manufacturer, is unacceptable.

### Remove construction cores and locks when directed by Owner; install permanent cores and check operation of locks.

### Installation of all Automatic Operator items to be performed by AAADM certified and manufacturer authorized personnel, including connections to hardware products installed by others.

### Installation of Access Control items to be performed by manufacturer certified authorized personnel, including connections to hardware products installed by others.

### Wiring Diagrams:

#### Provide any special information, voltage requirements and wiring diagrams to other trades requiring such information.

## EXAMINATION

### Visit site prior to start of installation of hardware.

### Visit will include examination of openings, site conditions and materials for conditions that prevent proper application of finish hardware.

### Report to General Contractor, in writing, defects of work prepared by other trades and other unsatisfactory site conditions. Commencement of installation will imply acceptance pf prepared work by others.

## FIELD QUALITY CONTROL

### Hardware contractor to have a qualified AHC representative from the manufacturer/supplier on site at Substantial Completion Inspection and at commissioning of the finished hardware. Cost of the visits to be included in contract.

### Provide an inspection report 6 (six) months after Substantial Completion, completed by a qualified Architectural Hardware Consultant, to note any deficiencies. The inspection should include checking each lock against the key schedule to make sure the correct locks and cylinders are on the proper doors.

### Fire Rated Door Assemblies On-Site Inspection:

#### Upon completion of the installation, inspect each fire rated door assembly to confirm proper operation of its closing device, confirming it meets the criteria of NFPA 80.

#### Provide a written report to the Owner listing each fire rated door assembly for the project including:

##### Each door number,

##### An itemized list of hardware set components for each door opening, and

##### Each door location in the facility.

## ADJUSTING

### Adjust door hardware, operators, closures and controls for optimum, smooth operating condition, safety and for weather tight closure.

### Lubricate hardware, operating equipment and other moving parts.

### Adjust door hardware to provide tight fit at contact points with frames.

### Where hardware is found defective, repair or replace or correct as desired by inspection reports.

## CLEANING

### Perform cleaning after installation to remove construction and accumulated environmental dirt.

### Clean hardware with damp rag and approved non-abrasive cleaner, and polish hardware in accordance with manufacture's instructions.

### Remove protective material from hardware items where present.

### Upon completion of installation, remove surplus materials, rubbish, tools and equipment barriers.

## PROTECTION

### All hardware shall be protected against damage from paint, plaster or other defacing materials. Whenever possible manufacturers protective covering when applied, shall not be removed until final project cleaning takes place. Material not protected by manufacture shall be covered or removed from door during painting or any other adjustments that can cause damage to hardware.

## HARDWARE GROUPS

### Provide hardware as specified in the previous articles in sets according to the following groups: (insert hardware groups).

## DEMONSTRATION

### Keying System Setup and Cabinet:

#### Set up key control system with file key tags, duplicate key tags, numerical index, alphabetical index and key change index, label shields, control book and key receipt cards.

#### Place file keys and duplicate keys in key cabinet on their respective hooks.

#### Lock key cabinet and turn over key to Owner.

### Designated Staff Briefing:

#### Brief designated staff regarding:

##### Proper care, cleaning, and general maintenance of projects complete hardware.

##### Description, use, handling, and storage of keys.

##### Use, application and storage of wrenches for door closers, locksets, and fire exit hardware.

### Demonstrate operation, operating components, adjustment features, and lubrication requirements.

## COMMISSIONING

### Site inspection or visit at Substantial Completion and training follow up and inspection at commissioning as directed by Owner.

### Provide 10 month warranty service.

END OF SECTION