# GENERAL

## RELATED SECTIONS

### Section 01 33 00 - Submittal Procedures.

### Section 01 43 39 – Mock Up Requirements.

### Section 01 45 00 - Quality Control.

### Section 01 74 21 - Construction/Demolition Waste Management and Disposal.

### Section 01 78 00 - Closeout Submittals.

### Section 06 10 53 – Miscellaneous Rough Carpentry.

### Section 09 21 16 - Gypsum Board Assemblies.

### Section 09 53 00.01 - Acoustical Suspension.

## REFERENCES

### American Society for Testing and Materials (ASTM)

#### ASTM C423, Standard Test Method for Sound Absorption and Sound Absorption Coefficients by the Reverberation Room Method.

#### ASTM C635/C635M, Standard Specifications for the Manufacture, Performance and Testing of Metal Suspension Systems for Acoustical Tile and Lay-In Panel Ceilings.

#### ASTM C636/C636M, Standard Practice for Installation of Metal Ceiling Suspension Systems for Acoustical Tile and Lay-In Panels.

#### ASTM E1264, Classification for Acoustical Ceiling Products.

#### ASTM F1667, Standard Specification for Driven Fasteners: Nails, Spikes and Staples.

### Underwriters Laboratories of Canada (ULC)

#### CAN/ULC-S102, Surface Burning Characteristics of Building Materials and Assemblies.

## ACTION AND INFORMATIONAL SUBMITTALS

### Submit samples in accordance with Section 01 33 00 - Submittal Procedures.

### Product Data:

#### Submit manufacturer's instructions, printed product literature and data sheets for acoustical suspension, acoustic panels, acoustic tiles, and system accessories. Include product characteristics, performance criteria, physical size, finish and limitations.

### Shop Drawings:

#### Submit reflected ceiling plans for special grid patterns as indicated.

#### Indicate lay-out , insert and hanger spacing and fastening details, splicing method for main and cross runners, location of access splines, change in level details, access door dimensions, and locations, and lateral bracing and accessories, acoustical unit support at ceiling fixture.

### Samples:

#### Submit for review and acceptance of each component specified or necessary for complete installation. Include technical descriptive data.

#### Submit samples of each component proposed for use in [each type of] ceiling suspension system.

#### Submit duplicate 150 mm x 100 mm samples of each type of acoustical unit.

## REGULATORY REQUIREMENTS

### Fire-resistance rated floor/ceiling and roof/ceiling assembly: certified by a Canadian Certification Organization accredited by Standards Council of Canada.

## MOCK-UP

### Construct mock-ups in accordance with Section 01 43 39 – Mock Up Requirements.

### Construct mock-up 10 m2 minimum of each type acoustical tile ceiling including: one inside corner, one outside corner.

### Construct mock-up where directed.

## ENVIRONMENTAL REQUIREMENTS

### Permit wet work to dry before commencement of installation.

### Maintain uniform minimum temperature of 15˚ C and humidity of 20 - 40% before and during installation.

### Store materials in work area 48 hours prior to installation.

## CLOSEOUT SUBMITTALS

### Provide maintenance data for acoustical ceilings for incorporation into manual specified in Section 01 78 00 – Closeout Submittals.

## DELIVERY, STORAGE AND HANDLING

### Deliver, store and handle materials in accordance with Section 01 61 00 - Common Product Requirements.

### Delivery and Acceptance Requirements: deliver materials to site in original factory packaging, labelled with manufacturer's name and address.

### Replace defective or damaged materials with new.

### Store extra materials required for maintenance, where directed by Owner.

## COORDINATION

### Do not begin erection of ceiling suspension system until work above ceiling has been inspected by Owner.

## PRE-INSTALLATION MEETING

### Convene pre-installation meeting one week prior to beginning work of this Section, with Owner to:

#### Verify project requirements.

#### Review installation and substrate conditions.

#### Coordination with work of other sections.

#### Review manufacturer’s installation instructions and warranty requirements.

#### Review accepted shop drawings for installation requirements.

# PRODUCTS

## ACOUSTICAL CEILING SUSPENSION

### Acoustical ceiling suspension system, non-fire rated, made up as follows:

#### Two directional exposed tee bar grid.

#### Concealed tee access spline.

#### Concealed tongue and groove runner.

#### Concealed H runner, tee spline and flat steel spline.

#### Concealed zee runner and flat steel spline.

#### Metal pan special tee system.

### Fire-resistance rated suspension system, made up as follows:

#### One directional exposed tee bar grid.

#### Concealed tee access spline.

#### Concealed tongue and groove runner.

#### Concealed H runner, tee spline and flat steel spline.

#### Concealed zee runner and flat steel spline.

#### Metal pan special tee system.

### Basic materials for suspension system: commercial quality cold rolled steel, zinc coated.

### Exposed tee bar grid components: shop painted satin sheen white colour. Components die cut. Main tee with double web, rectangular bulb and 25 mm rolled cap on exposed face. Cross tee with rectangular bulb; web extended to form positive interlock with main tee webs; lower flange extended and offset to provide flush intersection.

### Hanger wire: galvanized soft annealed steel wire.

#### 3.6 mm diameter for access tile ceilings.

#### To ULC design requirements for fire rated assemblies.

#### 2.6 mm diameter for other ceilings.

### Hanger inserts: purpose made.

### Accessories: splices, clips, wire ties, retainers and wall moulding to be shadow mould, to complement suspension system components, as recommended by system manufacturer.

## ACOUSTCIAL CEILING PANELS

### Acoustic units for suspended ceiling system: to ATSM E1264.

#### Type 3.

#### Pattern as selected by Owner.

#### Flame spread rating of 25 or less in accordance with CAN/ULC-S102.

#### Smoke developed 50 or less in accordance with CAN/ULC-S102.

#### Noise reduction coefficient (NRC) designation of 0.55 to 0.65.

#### Ceiling Attenuation Class (CAC), in accordance with ASTM E1264.

#### Light reflectance range of 25.

#### Edge type square.

#### Colour white.

#### Size 610 x 1220 x 19 mm thick.

#### Shape flat.

## ACCESSORIES

### Hold down clips: purpose made clips to secure tile to suspension system, approved for use in fire-rated systems.

# EXECUTION

## EXAMINATION

### Do not install acoustical panel ceiling systems until work above ceiling has been inspected by Owner.

## INTERFACE WITH OTHER WORK

### Co-ordinate ceiling work to accommodate components of other sections, such as light fixtures, diffusers, speakers, sprinkler heads, to be built into acoustical ceiling components.

## SUSPENSION SYSTEM INSTALLATION

### Comply with manufacturer s written installation instructions and recommendations, including product technical bulletins, product carton installation instructions, and data sheets.

### Install suspension system in accordance with accepted shop drawings, and ASTM C636/C636M except where specified otherwise.

### Lay out system according to reflected ceiling plan.

### Finished ceiling system to be square with adjoining walls and level within 1:1000.

### Secure hangers to overhead structure using attachment methods acceptable to Owner.

### Install hangers spaced at maximum 1200 mm centres and within 150 mm from ends of main tees.

### Ensure suspension system is coordinated with location of related components. Provide carrying channels as necessary to bridge at unavoidable interference between suspension system and other work above ceiling.

### Install wall moulding to provide correct ceiling height.

### Completed suspension system to support super-imposed loads, such as grilles, lighting fixtures, diffusers and speakers.

### Support at light fixtures and diffusers with additional ceiling suspension hangers within 150 mm of each corner and at maximum 610 mm around perimeter of fixture.

### Interlock cross member to main runner to provide rigid assembly.

### Frame at openings for light fixtures, air diffusers, speakers and at changes in ceiling heights.

### Install access splines to provide 10% ceiling access.

## ACOUSTICAL CEILING PANEL INSTALLATION

### Install lay-in acoustical panels in ceiling suspension system in accordance with manufacturer’s instructions and as indicated.

### In fire rated ceiling systems, secure lay-in panels with hold-down clips and protect over light fixtures, diffusers, air return grilles and other appurtenances according to Certification Organizations design requirements.

### Install acoustical units parallel to building lines with edge unit not less than 50% of unit width. Refer to reflected ceiling plan.

### Scribe acoustic units to fit adjacent work butt joints tight, terminate edges with moulding.

## CLEANING

### Progress Cleaning: clean in accordance with Section 01 74 00 - Cleaning. Leave Work area clean at end of each day.

### Final Cleaning: upon completion remove surplus materials, rubbish, tools and equipment in accordance with Section 01 74 00 - Cleaning. Touch up scratches, abrasions, voids and other defects in painted surfaces.

## PROTECTION

### Protect installed products and components from damage during construction.

### Repair damage to adjacent materials caused by acoustical suspension installation.

## COMMISSIONING

### Train user staff in the care, cleaning and replacement of acoustical ceiling tile.

### Acceptance of maintenance material turned over to owner.

END OF SECTION