# GENERAL

## RELATED SECTIONS

### Section 01 33 00 – Submittal Procedures.

### Section 01 43 39 – Mock Up Requirements.

### Section 01 45 00 - Quality Control.

### Section 01 61 00 - Common Product Requirements.

### Section 01 74 21 – Construction/Demolition Waste Management and Disposal.

### Section 01 78 00 – Closeout Submittals.

### Section 32 17 23 - Pavement Marking.

## REFERENCES

### Environmental Protection Agency (EPA)

#### EPA Test Method for Measuring Total Volatile Organic Compound Content of Consumer Products, Method 24 (for Surface Coatings).

### Master Painters Institute (MPI)

#### MPI Architectural Painting Specifications Manual

### Society for Protective Coatings (SSPC).

#### SSPC Painting Manual, Systems and Specifications Manual.

### National Research Council (NRC).

#### National Fire Code of Canada

## QUALITY ASSURANCE

### Contractor shall have a minimum of five years proven satisfactory experience.  When requested, provide a list of last three comparable jobs including, job name and location, specifying authority, and project manager.

### Qualified journeyperson shall be engaged in painting work.  Apprentices may be employed provided they work under the direct supervision of a qualified journeyperson in accordance with trade regulations.

### Conform to latest MPI requirements for exterior painting work including preparation and priming.

### Materials (primers, paints, coatings, varnishes, stains, lacquers, fillers, thinners, solvents, etc.) shall be in accordance with MPI Painting Specification Manual "Approved Products" listing and shall be from a single manufacturer for each system used.

### Other paint materials such as linseed oil, shellac, turpentine, etc. shall be the highest quality product of an approved manufacturer listed in MPI Painting Specification Manual and shall be compatible with other coating materials as required.

### Retain purchase orders, invoices and other documents to prove conformance with noted MPI requirements when requested by Owner.

### Standard of Acceptance:

#### Walls:  No defects visible from a distance of 1000 mm at 90° to surface.

#### Ceilings:  No defects visible from floor at 45° to surface when viewed using final lighting source.

#### Final coat to exhibit uniformity of colour and uniformity of sheen across full surface area.

### Mock-Ups:

#### When requested by Owner or Paint Inspection Agency, prepare and paint designated surface, area, room or item to requirements specified herein, with specified paint or coating showing selected colours, number of coats, gloss/sheen, textures and quality of work to MPI Painting Specification Manual standards for review and approval.

#### Construct mock-ups in accordance with Section 01 43 39 – Mock Up Requirements.

#### Mock-up will be used to judge quality of work, substrate preparation, operation of equipment and material application and skill to MPI Architectural Painting Specification Manual standards.

#### Locate as directed by Owner.

## ENVIRONMENTAL PERFORMANCE REQUIREMENTS

### Provide paint products meeting MPI "Environmentally Friendly" E2 or E3 ratings based on VOC (EPA Method 24) content levels.

## SCHEDULING OF WORK

### Submit work schedule for various stages of painting to Owner for approval.  Submit schedule minimum of two (2) working days in advance of proposed operations.

### Obtain written authorization from Owner for changes in work schedule.

### Schedule painting operations to prevent disruption of occupants in and about the building.

## SUBMITTALS

### Submit product data and manufacturer's installation/application instructions for paints and coating products to be used.

### Submit WHMIS - SDS - Safety Data Sheets.

### Upon completion, submit records of products used, records to be included in Operation and Maintenance Manuals.  List products in relation to finish system and include the following:

#### Product name, type and use.

#### Manufacturer's product number.

#### Colour numbers.

#### Manufacturer's Safety Data Sheets (SDS).

#### MPI Environmentally Friendly classification system rating.

### Submit manufacturer’s application instructions for each product specified.

### Submit duplicate 200 x 300 mm sample panels of each paint, stain, clear coating, with specified paint or coating in colours, gloss/sheen and textures required to MPI Painting Specification Manual standards submitted on the following substrate materials:

#### 3.0 mm plate steel for finishes over metal surfaces.

#### 13 mm birch plywood for finishes over wood surfaces.

#### 50 mm concrete block for finishes over concrete or concrete masonry surfaces.

#### 13 mm gypsum board for finishes over gypsum board and other smooth surfaces.

### When approved, samples shall become acceptable standard of quality for appropriate on-site surface with one of each sample retained on-site.

### Submit full range of available colours where colour availability is restricted.

## DELIVERY, HANDLING AND STORAGE

### Deliver, store and handle materials in accordance with Section 01 61 00 - Common Product Requirements.

### Deliver and store materials in original containers, sealed, with labels intact.

### Labels shall clearly indicate:

#### Manufacturer's name and address.

#### Type of paint or coating.

#### Compliance with applicable standard.

#### Colour number in accordance with established colour schedule.

### Remove damaged, opened and rejected materials from site.

### Provide and maintain dry, temperature controlled, secure storage.

### Observe manufacturer's recommendations for storage and handling.

### Store materials and supplies away from heat generating devices.

### Store materials and equipment in a well ventilated area with temperature range 7º C to 30º C.

### Store temperature sensitive products above minimum temperature as recommended by manufacturer.

### Keep areas used for storage, cleaning and preparation, clean and orderly to approval of Consultant.  After completion of operations, return areas to clean condition to approval of Consultant.

### Remove paint materials from storage only in quantities required for same day use.

### Comply with requirements of Workplace Hazardous Materials Information System (WHMIS) regarding use, handling storage, and disposal of hazardous materials.

### Fire Safety Requirements:

#### Provide one 9 kg Type ABC dry chemical fire extinguisher adjacent to storage area.

#### Store oily rags, waste products, empty containers and materials subject to spontaneous combustion in ULC approved, sealed containers and remove from site on a daily basis.

#### Handle, store, use and dispose of flammable and combustible materials in accordance with the National Fire Code of Canada.

### Comply with requirements of Workplace Hazardous Materials Information System (WHMIS) regarding use, handling, storage, and disposal of hazardous materials.

## SITE REQUIREMENTS

### Heating, Ventilation and Lighting:

#### Ventilate enclosed spaces.

#### Perform no painting work unless adequate and continuous ventilation and sufficient heating facilities are in place to maintain ambient air and substrate temperatures above 10º C for 24 hours before, during and after paint application until paint has cured sufficiently.

#### Where required, provide continuous ventilation for seven days after completion of application of paint.

#### Provide temporary ventilating and heating equipment where permanent facilities are not available.

#### Perform no painting work unless a minimum lighting level of 323 Lux is provided on surfaces to be painted.  Adequate lighting facilities shall be provided by General Contractor.

### Temperature, Humidity and Substrate Moisture Content Levels:

#### Unless specifically pre-approved by Owner and, applied product manufacturer, perform no painting work when:

##### ambient air and substrate temperatures are below 10º C.

##### substrate temperature is over 32º C unless paint is specifically formulated for application at high temperatures.

##### substrate and ambient air temperatures are expected to fall outside MPI or paint manufacturer's prescribed limits.

##### the relative humidity is above 85% or when dew point is less than 3º C variance between air/surface temperature.

##### rain or snow are forecast to occur before paint has thoroughly cured or when  it is foggy, misty, raining or snowing at site.

#### Perform no painting work when maximum moisture content of substrate exceeds:

##### 12% for concrete and masonry (clay and concrete brick/block).

##### 15% for wood.

##### 12% for plaster and gypsum board.

#### Conduct moisture tests using a properly calibrated electronic Moisture Meter, except test concrete floors for moisture using a simple "cover patch test".

#### Test concrete, masonry and plaster surfaces for alkalinity as required.

### Surface and Environmental Conditions:

#### Apply paint finish only in areas where dust is no longer being generated by related construction operations or when wind or ventilation conditions are such that airborne particles will not affect quality of finished surface.

#### Apply paint only to adequately prepared surfaces and to surfaces within moisture limits noted herein.

#### Apply paint only when previous coat of paint is dry or adequately cured.

#### Apply paint finishes only when conditions forecast for entire period of application fall within manufacturer's recommendations.

#### Do not apply paint when:

##### Temperature is expected to drop below 10º C before paint has thoroughly cured.

##### Substrate and ambient air temperatures are expected to fall outside MPI or paint manufacturer's limits.

##### Surface to be painted is wet, damp or frosted.

#### Provide and maintain cover when paint must be applied in damp or cold weather.  Heat substrates and surrounding air to comply with temperature and humidity conditions specified by manufacturer.  Protect until paint is dry or until weather conditions are suitable.

#### Schedule painting operations such that surfaces exposed to direct, intense sunlight are scheduled for completion during early morning.

#### Remove paint from areas which have been exposed to freezing, excess humidity, rain, snow or condensation. Prepare surface again and repaint.

#### Paint occupied facilities in accordance with approved schedule only.  Schedule operations to approval of the Owner such that painted surfaces will have dried and cured sufficiently before occupants are affected.

## WASTE MANAGEMENT AND DISPOSAL

### Separate waste materials for reuse and recycling in accordance with Section 01 74 21 - Construction/Demolition Waste Management and Disposal.

### Remove from site and dispose of packaging materials at appropriate recycling facilities.

### Place materials defined as hazardous or toxic in designated containers.

### Ensure emptied containers are sealed and stored safely.

### Unused paint, coating materials must be disposed of at official hazardous material collections site as approved by Owner.

### Paint, stain and wood preservative finishes and related materials (thinners, and solvents) are regarded as hazardous products and are subject to regulations for disposal.

### Material which cannot be reused must be treated as hazardous waste and disposed of in an appropriate manner.

### Place materials defined as hazardous or toxic waste, including used sealant and adhesive tubes and containers, in containers or areas designated for hazardous waste.

### To reduce the amount of contaminants entering waterways, sanitary/storm drain systems or into ground follow these procedures:

#### Retain cleaning water for water-based materials to allow sediments to be filtered out.

#### Retain cleaners, thinners, solvents and excess paint and place in designated containers and ensure proper disposal.

#### Return solvent and oil soaked rags used during painting operations for contaminant recovery, proper disposal, or appropriate cleaning and laundering.

#### Dispose of contaminants in approved legal manner in accordance with hazardous waste regulations.

### Empty paint cans are to be dry prior to disposal or recycling (where available).

# PRODUCTS

## MATERIALS

### Paint materials listed in the latest edition of the MPI Approved Products List (APL) are acceptable for use on this project.

### Paint materials for each coating formula to be products of a single manufacturer.

### Low odour products: whenever possible, select products exhibiting low odour characteristics. If two products are otherwise equivalent, select the product with the lowest odour. Only qualified products with E2 or E3 "Environmentally Friendly" rating are acceptable for use on this project.

### Paints, coatings, adhesives, solvents, cleaners, lubricants, and other fluids, shall:

#### be water-based, water soluble, water clean-up.

#### be non-flammable

#### be manufactured without compounds which contribute to ozone depletion in the upper atmosphere.

#### be manufactured without compounds which contribute to smog in the lower atmosphere.

#### do not contain methylene chloride, chlorinated hydrocarbons, toxic metal pigments.

### Water-borne surface coatings must be manufactured and transported in a manner that steps of processes, including disposal of waste products arising therefrom, will meet requirements of applicable governmental acts, by-laws and regulations including, for facilities located in Canada, Fisheries Act and Canadian Environmental Protection Act (CEPA).

### Water-borne surface coatings must not be formulated or manufactured with aromatic solvents, formaldehyde, halogenated solvents, mercury, lead, cadmium, hexavelant chromium or their compounds.

### Water-borne surface coatings must have a flash point of 61.0ºC or greater.

### Both water-borne surface coatings and recycled water-borne surface coatings must be made by a process that does not release:

#### Matter in undiluted production plant effluent generating a 'Biochemical Oxygen Demand' (BOD) in excess of 15 mg/L to a natural watercourse or a sewage treatment facility lacking secondary treatment.

#### Total Suspended Solids (TSS) in undiluted production plant effluent in excess of 15 mg/L to a natural watercourse or a sewage treatment facility lacking secondary treatment.

### Water-borne paints and stains, and water borne varnishes must meet a minimum "Environmentally Friendly" E2 rating.

## COLOURS

### Owner will provide Colour Schedule after Contract award.

### Selection of colours will be from manufacturer’s full range of colours.

### Where specific products are available in a restricted range of colours, selection will be based on the limited range.

### Second coat in a three coat system to be tinted slightly lighter colour than top coat to show visible difference between coats.

### For deep and ultra-deep colours 4 coats may be required.

## MIXING AND TINTING

### Perform colour tinting operations prior to delivery of paint to site.  On-site tinting of painting materials is allowed only with Owner written permission.

### Paste, powder or catalyzed paint mixes shall be mixed in strict accordance with manufacturer's written instructions.

### Where thinner is used, addition shall not exceed paint manufacturer's recommendations.  Do not use kerosene or any such organic solvents to thin water-based paints.

### Thin paint for spraying according in strict accordance with paint manufacturer's instructions.  If directions are not on container, obtain instructions in writing from manufacturer and provide copy of instructions to Owner.

### Re-mix paint in containers prior to and during application to ensure break-up of lumps, complete dispersion of settled pigment, and colour and gloss uniformity.

## GLOSS/SHEEN RATINGS

### Paint gloss shall be defined as the sheen rating of applied paint, in accordance with the following values:

| Gloss Level /Category | Units @ 60/ | Units @ 85º |
| --- | --- | --- |
| G1 - matte finish | 0 to 5 | max. 10 |
| G2 - velvet finish | 0 to 10 | 10 to 35 |
| G3 - eggshell finish | 10 to 25 | 10 to 35 |
| G4 - satin finish | 20 to 35 | min. 35 |
| G5 - semi-gloss finish | 35 to 70 |  |
| G6 – gloss finish | 70 to 85 |  |
| G7 - high gloss finish | > 85 |  |

### Gloss level ratings of painted surfaces shall be as specified herein.

## EXTERIOR PAINTING SYSTEMS

### The following paint formulas requires a three coat finish as indicated in the MPI Architectural Painting Specifications Manual.

### Asphalt Surfaces: zone/traffic marking for drive and parking areas, etc.

#### EXT 2.1B Alkyd zone/traffic marking finish.

### Concrete Vertical Surfaces:  (including horizontal soffits)

#### EXT 3.1A – Latex G4 finish

### Concrete Horizontal Surfaces:  decks

#### EXT 3.2D - Alkyd floor enamel G4 finish.

### Clay Masonry Units:  (pressed and extruded brick)

#### EXT 4.1A - Latex G4 finish.

### Concrete Masonry Units:  smooth and split face block and brick

#### EXT 4.2A - Latex G4 finish.

### Structural Steel and Metal Fabrications:

#### EXT 5.1J - Pigmented polyurethane finish (over high build epoxy).

### Galvanized Metal:  not chromate passivated

#### EXT 5.3D - Pigmented polyurethane finish for use in high contact/high traffic areas.

### Dimension Lumber:  columns, beams, exposed joists, underside of decking, siding, fencing, etc.

#### EXT 6.2L - Semi-transparent stain finish.

#### EXT 6.2M - Latex G4 finish (over latex primer).

### Dressed Lumber:  doors, door and window frames, casings, battens, smooth facias, etc.

#### EXT 6.3L - Latex G4 finish (over latex primer)

### Wood Panelling:  plywood siding, fascias, soffits, etc.

#### EXT 6.4K - Latex G4 finish (over latex primer).

### Wood Decks and Stairs/Steps:  using spaced lumber

#### EXT 6.5A - Latex porch and floor G4 finish (over primer).

#### EXT 6.5F - Deck stain finish.

# EXECUTION

## GENERAL

### Perform preparation and operations for exterior painting in accordance with MPI Painting Specifications Manual except where specified otherwise.

### Apply all paint materials in accordance with paint manufacturer's written application instructions.

## EXISTING CONDITIONS

### Investigate existing substrates for problems related to proper and complete preparation of surfaces to be painted.  Report to Owner damages, defects, unsatisfactory or unfavourable conditions before proceeding with work.

### Conduct moisture testing of surfaces to be painted using a properly calibrated electronic moisture meter, except test concrete floors for moisture using a simple "cover patch test" and report findings to Owner.  Do not proceed with work until conditions fall within acceptable range as recommended by manufacturer.

### Maximum moisture content as follows:

#### Concrete: 12%.

#### Clay and Concrete Block/Brick: 12%.

#### Wood: 15%.

## PROTECTION

### Protect existing building surfaces and adjacent structures from paint spatters, markings and other damage by suitable non-staining covers or masking.  If damaged, clean and restore such surfaces as directed by Owner.

### Cover or mask windows and other ornamental hardware adjacent to areas being painted to prevent damage and to protect from paint drops and splatters. Use non-staining coverings.

### Protect items that are permanently attached such as Fire Labels on doors and frames.

### Protect factory finished products and equipment.

### Protect passing pedestrians, building occupants and general public in and about the building.

### Remove electrical cover plates, light fixtures, surface hardware on doors, and all other surface mounted fittings, equipment and fastenings prior to undertaking any painting operations. Store for re-installation after painting is completed.

### Cover or move exterior furniture and portable equipment around building as necessary to carry out painting operations.  Replace as painting operations progress.

### As painting operations progress, place "WET PAINT" signs in areas of work to approval of Owner.

## CLEANING AND PREPARATION

### Clean and prepare exterior surfaces in accordance with MPI Painting Specification Manual requirements.  Refer to the MPI Manual in regard to specific requirements and as follows:

#### Remove dust, dirt, and other surface debris by wiping with dry, clean cloths or compressed air.

#### Wash surfaces with a biodegradable detergent and bleach where applicable and clean warm water using a stiff bristle brush to remove dirt, oil and other surface contaminants.

#### Rinse scrubbed surfaces with clean water until foreign matter is flushed from surface.

#### Allow surfaces to drain completely and allow to dry thoroughly.

#### Prepare surfaces for water-based painting, water-based cleaners should be used in place of organic solvents.

#### Use trigger operated spray nozzles for water hoses.

#### Many water-based paints cannot be removed with water once dried.  However, minimize the use of kerosene or any such organic solvents to clean up water-based paints.

### Prevent contamination of cleaned surfaces before prime coat is applied and between applications of remaining coats.  Apply primer, paint, or pretreatment as soon as possible after cleaning and before deterioration occurs.

### Where possible, prime surfaces of new wood surfaces before installation.  Use same primers as specified for exposed surfaces.

#### Apply vinyl sealer to MPI #36 over knots, pitch, sap and resinous areas.

#### Apply wood filler to nail holes and cracks.

#### Tint filler to match stains for stained woodwork.

### Sand and dust between coats as required to provide adequate adhesion for next coat and to remove defects visible from a distance up to 1000 mm.

### Clean metal surfaces to be painted by removing rust, loose mill scale, welding slag, dirt, oil, grease and other foreign substances in accordance with MPI requirements.  Remove traces of blast products from surfaces, pockets and corners to be painted by brushing with clean brushes or blowing with clean dry compressed air.

### Touch up of shop primers with primer as specified in applicable section.  Major touch-up  including cleaning and painting of field connections, welds, rivets, nuts, washers, bolts, and damaged or defective paint and rusted areas, shall be by supplier of fabricated material.

### Do not apply paint until prepared surfaces have been accepted by Owner.

## APPLICATION

### Method of application to be as approved by Owner.  Apply paint by brush roller, air sprayer, airless sprayer.  Conform to manufacturer's application instructions unless specified otherwise.

### Brush and Roller Application:

#### Apply paint in a uniform layer using brush and/or roller of types suitable for application.

#### Work paint into cracks, crevices and corners.

#### Paint surfaces and corners not accessible to brush using spray, daubers and/or sheepskins.  Paint surfaces and corners not accessible to roller using brush, daubers or sheepskins.

#### Brush and/or roll out runs and sags, and over-lap marks.  Rolled surfaces shall be free of roller tracking and heavy stipple.

#### Remove runs, sags and brush marks from finished work and repaint.

### Spray Application:

#### Provide and maintain equipment that is suitable for intended purpose, capable of properly atomizing paint to be applied, and equipped with suitable pressure regulators and gauges.

#### Keep paint ingredients properly mixed in containers during paint application either by continuous mechanical agitation or by intermittent agitation as frequently as necessary.

#### Apply paint in a uniform layer, with overlapping at edges of spray pattern.

#### Brush out immediately runs and sags.

#### Use brushes to work paint into cracks, crevices and places which are not adequately painted by spray.

#### Wood, stucco, concrete, cement masonry units CMU’s and brick; if sprayed, must be back rolled.

### Use dipping, sheepskins or daubers only when no other method is practical in places of difficult access and only when specifically authorized by Owner.

### Apply coats of paint as a continuous film of uniform thickness.  Repaint thin spots or bare areas before next coat of paint is applied.

### Allow surfaces to dry and properly cure after cleaning and between subsequent coats for minimum time period as recommended by manufacturer.

### Sand and dust between coats to remove visible defects.

### Finish surfaces both above and below sight lines as specified for surrounding surfaces, including such surfaces as projecting ledges.

### Finish top, bottom, edges and cutouts of doors after fitting as specified for door surfaces.

## MECHANICAL/ELECTRICAL EQUIPMENT

### Unless otherwise specified, paint exterior exposed conduits, piping, hangers, ductwork and other mechanical and electrical equipment with colour and finish to match adjacent surfaces, except as noted otherwise.

### Touch up scratches and marks on factory painted finishes and equipment with paint as supplied by manufacturer of equipment.

### Paint fire protection piping red.

### Do not paint over nameplates.

### Paint steel electrical light standards.  Do not paint outdoor transformers and substation equipment.

## FIELD QUALITY CONTROL

### Field inspection of exterior painting operations to be carried out by Owner.

### Advise Owner when each applied coating is ready for inspection.  Do not proceed with subsequent coats until previous coat has been approved.

### Co-operate with Owner and provide access to areas of work.

### Where "special" painting, coating or decorating system applications (i.e. elastomeric coatings) or non-MPI listed products or systems are to be used, paint or coating manufacturer to provide as part of this work, certification of surfaces and conditions for specific paint or coating system application as well as on site supervision, inspection and approval of their paint or coating system application as required at no additional cost.

## RESTORATION

### Clean and re-install all hardware items removed before undertaken painting operations.

### Remove protective coverings and warning signs as soon as practical after operations cease.

### Remove paint splashings on exposed surfaces that were not painted.  Remove smears and spatter immediately as operations progress, using compatible solvent.

### Protect surfaces from paint droppings and dust to approval of Owner.  Avoid scuffing newly applied paint.

### Restore areas used for storage, cleaning, mixing and handling of paint to clean condition as approved by Owner.

END OF SECTION