NL Master Specification Guide

for Public Funded Buildings
Re-Issued 2017/05/31
Section 12 21 13 – Horizontal Louvre Blinds
Page 2 of 3

Part 1 GENERAL

1.1 RELATED SECTIONS

.1 Section 01 33 00 – Submittal Procedures.
.2 Section 01 74 21 – Construction/Demolition Waste Management and Disposal.
.3 Section 06 10 53 – Miscellaneous Rough Carpentry. 

.4 Section 12 21 16 – Vertical Louvre Blinds.
1.2 REFERENCES

.1 American Society for Testing and Materials (ASTM)

.1 ASTM D 1784, Specification for Rigid Poly(Vinyl Chloride) (PVC) Compounds and Chlorinated Poly(Vinyl Chloride) (CPVC) Compounds.

1.3 DESIGN REQUIREMENTS
.1 Design horizontal louvre blinds to following requirements:

.1 Be designed in a manner that allows wear susceptible parts to be replaceable by either the user or the manufacturer.

.2 A guarantee of at least five-years of available replacement parts following discontinue of the products manufacture.

.3 Be accompanied by instructions for replacing or repairing worn parts, including inventory numbers for parts and procedures for ordering replacement parts.

1.4 SUBMITTALS
.1 Indicate dimensions in relation to window jambs, operator details, head and sill anchorage details, hardware and accessories details.

.2 Submit one representative working sample of each type horizontal louvre.

.3 Submit duplicate samples of manufacturer's standard colours for selection by Owner.

.4 After approval samples will be returned for incorporation into the Work.

1.5 WARRANTY


.1 Provide a written guarantee stating the vertical louvre blinds will be free form manufacturer’s defects for a period of five (5) years form the date of Substantial Completion. 

.2 Contractor to provide a two (2) year warranty from the date of substantial completion against defects in workmanship.

Part 2 PRODUCTS
2.1 Materials and Fabrication
.1 Slats: 25 mm wide x nominal thickness, with rounded corners and rough edges removed.

.1 Rigid polyvinylchloride, light stable, to ASTM D 1784, Class 12454-C.

.2 Colour and finish: as selected by Owner.

.2 Ladders: braided polyester yarn designed for full tilting action while retaining the same level and position of each slat. Ladders spaced not more than 150 mm from end of slats and 550 mm o.c.

.3 Headrails: one piece steel channel with rolled edges, formed to provide sufficient strength to support blind without sagging, twisting or distorting. Metal minimum 0.50 mm thick.

.4 Bottom rails: lock seam tubular steel section. 0.36 mm thick.

.5 Bottom rail end caps: soft moulded plastic fitted snugly over ends of rails. Colour to match slats.

.6 Tiltrods: solid steel.

.7 Tassels: soft moulded plastic. Colour to match slats.

.8 Pulleys: designed to permit ease of operation with minimum wear to cord.

.9 Tilters: fully enclosed and lubricated, with positively locked to drum to prevent slippage and ensure accurate timing. Use anti-friction materials for worm and gear.

.10 Cordlocks: designed to provide smooth operation with feature to prevent accidental dropping of blinds.

.11 Ladder cap: designed to provide sufficient retention when snapped onto bottom rail to hold ladders in proper position.

.12 Installation brackets: end and centre type complete with safety locking caps to secure headrail.

.13 Lift cords: 1.98 mm diameter, minimum tensile strength 689 kPa, with tassels.

.14 Hold down clips: sill, floor mountings, to engage bottom rail end caps.

.15 Tilter controls: transparent wand, minimum 8 mm diameter.

Part 3 EXECUTION
3.1 INSTALLATION

.1 Install blinds at exterior windows as indicated.

.2 Include centre brackets where necessary to prevent deflection of headrail.

.3 Adjust to provide for operation without binding.

.4 Use non corrosive metal fasteners for installation, concealed in final assembly.
3.2 ADJUSTING

.1 Adjust horizontal louvre blinds components for correct function and operation in accordance with manufacturer’s written instructions.

.2 Lubricate moving parts to operate smoothly and fit accurately. 

3.3 COMMISSIONING
.1 Instruct Owner in cleaning and maintenance.

END OF SECTION
Ver. 10/22

