# General

## SUMMARY

### Section Includes:

#### Balancing dampers for mechanical forced air ventilation and air conditioning systems.

## Related Sections:

### Section 01 33 00 – Submittal Procedures.

### Section 01 35 29.06 – Health and Safety Requirements.

### Section 01 45 00 – Quality Control.

### Section 01 74 21 – Construction/Demolition Waste Management and Disposal.

### Section 01 78 00 – Closeout Submittals.

## REFERENCES

### Sheet Metal and Air Conditioning National Association (SMACNA)

#### SMACNA HVAC Duct Construction Standards, Metal and Flexible.

### Health Canada/Workplace Hazardous Materials Information System (WHMIS)

#### Safety Data Sheets (SDS).

## SUBMITTALS

### Product Data:

#### Submit manufacturer’s printed product literature, specifications and datasheet in accordance with Section 01 33 00 – Submittal Procedures.  Include product characteristics, performance criteria, and limitations.

##### Submit two copies of Workplace Hazardous Materials Information System (WHMIS) Safety Data Sheets (SDS) in accordance with Section 01 33 00 – Submittal Procedures.

##### Indicate the following:

###### Specifications.

#### Quality assurance submittals: submit following in accordance with Section 01 33 00 – Submittal Procedures.

##### Certificates: Submit certificates signed by manufacturer certifying that materials comply with specified performance characteristics and physical properties.

##### Instructions: Submit manufacturer’s installation instructions.

## QUALITY ASSURANCE

### Health and Safety Requirements:

#### Do construction occupational health and safety in accordance with Section 01 35 29.06 – Health and Safety Requirements.

## DELIVERY, STORAGE, AND HANDLING

### Packing, shipping, handling and unloading:

#### Deliver, store and handle in accordance with Section 01 61 00 – Common Product Requirements.

### Waste Management and Disposal:

#### Construction/Demolition Waste Management and Disposal: separate waste materials for reuse and recycling in accordance with Section 01 74 21 – Construction/Demolition Waste Management and Disposal.

# Products

## General

### Manufacture to SMACNA standards.

## Single Blade Dampers

### Fabricate from same material as duct, 0.8 mm up to 450 mm wide, 1.6 mm maximum up to 1200 mm wide, V-groove stiffened.

### Size and configuration to recommendations of SMACNA, except maximum height 100 mm.

### Locking quadrant with shaft extension to accommodate insulation thickness.

### Inside and outside nylon or bronze end bearings.

### Channel frame of same material as adjacent duct, complete with angle stop.

## Multi-Bladed Dampers

### Factory manufactured of material compatible with duct.

### Opposed blade: configuration, metal thickness and construction to recommendations of SMACNA.

### Maximum blade height: 100 mm.

### Bearings: pin in bronze bushings or self-lubricating nylon.

### Linkage: shaft extension with locking quadrant.

### Channel frame of same material as adjacent duct, complete with angle stop.

### Maximum leakage: 2 % at 500 Pa.

# Execution

## manufacturer’s instructions

### Compliance: comply with manufacturer's written recommendations or specifications, including product technical bulletins, handling, storage and installation instructions, and datasheet.

## Installation

### Install where indicated.

### Install in accordance with recommendations of SMACNA and in accordance with manufacturer's instructions.

### For supply, return and exhaust systems, locate balancing dampers in each branch duct.

### Runouts to registers and diffusers: located as close as possible to main ducts.

### All dampers to be vibration free.

### Ensure damper operators are observable and accessible.

## cleaning

### Proceed in accordance with Section 01 74 00 - Cleaning.

### Upon completion and verification of performance of installation, remove surplus materials, excess materials, rubbish, tools and equipment.

END OF SECTION