# General

## RELATED SECTIONS

### Section 01 33 00 - Submittal Procedures.

### Section 01 74 21 – Construction/Demolition Waste Management and Disposal.

### Section 01 78 00 - Closeout Submittals.

### Section 01 91 13.13 – Commissioning (Cx) Requirements

### Section 23 09 33 - Electric and Electronic Control System for HVAC.

### Section 26 05 00 – Common Work Results – Electrical.

## REFERENCES

### Canadian Standards Association (CSA International)

#### CSA C22.2 No.46, Electric Air-Heaters.

### Underwriters' Laboratories (UL) Inc.

#### UL 1042, Electric Baseboard Heating Equipment.

## PRODUCT DATA

### Submit product data in accordance with Section 01 33 00 -   Submittal Procedures.

### Submit product data sheets for baseboard convectors. Include:

#### Product characteristics.

#### Performance criteria.

#### Mounting methods.

#### Physical size.

#### kW rating, voltage, phase.

#### Cabinet material thicknesses.

#### Limitations.

#### Colour and finish.

### Submit WHMIS SDS - Safety Data Sheets in accordance with Section 01 33 00 - Submittal Procedures. WHMIS acceptable to Labour Canada, and Health Canada.

### Manufacturer's Instructions: Provide to indicate special handling criteria, installation sequence and cleaning procedures.

## CLOSEOUT SUBMITTALS

### Submit operation and maintenance data for baseboard convectors in accordance with Section 01 78 00 - Submittal Procedures.

## WASTE MANAGEMENT AND DISPOSAL

### Separate and recycle waste materials in accordance with Section 01 74 21 – Construction/Demolition Waste Management and Disposal, and with Waste Reduction Workplan.

### Remove from site and dispose of packaging materials at appropriate recycling facilities.

### Collect and separate for disposal paper, plastic, polystyrene, corrugated cardboard, packaging material in appropriate on-site bins for recycling in accordance with Waste Management Plan.

### Divert unused metal and wiring materials from landfill to metal recycling facility approved by Owner.

### Collect, package and store existing unit heaters for, either reuse or recycling and return to recycler in accordance with Waste Management Plan.

# Products

## BASEBOARD CONVECTORS

### Heaters:  to CSA C22.2 No.46 standard wattage density as indicated with connection box both ends.

#### Element through-type fitted with aluminum convector vanes and resistor wire enclosed in mineral insulation in aluminum sheath.

### Element locked to cabinet and supported with non metallic supports to allow for expansion.

### Cabinet: steel 1 mm thick finished in baked enamel 2 coats, colour ivory with integral air deflector for diffusion.

### Approved wiring channel for interconnection of heaters and components.

### Knock-outs for 19 mm dia. conduit connection.

### Additional accessories as indicated:

#### Relay section.

#### Duplex outlet section.

#### Air conditioning switch section.

#### Inside and outside corners.

#### Splice plates.

## CONTROLS

### Wall mounted thermostats: type line, low voltage or electronic, Energy Star certified, to Section 23 09 33 - Electric and Electronic Control System for HVAC, or Section 25 30 02 – EMCS: Field Control Devices as indicated.

### Integral thermostats: 1 or 2 pole to control load as indicated.

### Relays and transformers to switch loads in excess of thermostat rating.

### For combination baseboard heater and air conditioner power supply, use double pole double throw switch and receptacle terminal box assembly.

# Execution

## INSTALLATION

### Attach baseboard heaters to wall with expanded shields.

### For corner extension use inside or outside corners.

### Install thermostats in locations indicated.

### Make power and control connections.

## commissioning

### Perform tests in accordance with Section 26 05 00 – Common Work Results - Electrical and Section 01 91 13.13 – Commissioning (Cx) Requirements.

### Ensure that heaters and thermostatic controls operate correctly.

### Provide written reports in accordance with Section 01 91 13.13 – Commissioning (Cx) Requirements.

END OF SECTION