NL Master Specification Guide

for Public Funded Buildings

Re-Issued 2019/02/07
Section 23 82 33.16 – Commercial Convectors 
Page 1 of 4

Part 1 General

1.1 RELATED SECTIONS
.1 Section 01 33 00 - Submittal Procedures. 
.2 Section 01 74 21 – Construction/Demolition Waste Management and Disposal.
.3 Section 01 78 00 - Closeout Submittals.
.4 Section 01 91 13.13 – Commissioning (Cx) Requirements.

.5 Section 23 09 33 – Electric and Electronic Control System for HVAC
.6 Section 26 05 00 – Common Work Results - Electrical
1.2 REFERENCES
.1 Canadian Standards Association (CSA International)

.1 CSA C22.2 No.46, Electric Air-Heaters.

.2 Underwriters' Laboratories (UL) Inc.

.1 UL 1042, Electric Baseboard Heating Equipment.

1.3 PRODUCT DATA
.1 Submit product data in accordance with Section 01 33 00 - Submittal Procedures.

.2 Submit product data sheets for baseboard convectors, include:

.1 Product characteristics.

.2 Performance criteria.

.3 Mounting methods.

.4 Physical size.

.5 kW rating, voltage, phase.

.6 Cabinet material thicknesses.

.7 Limitations.

.8 Colour and finish.

.3 Manufacturer's Instructions: Provide to indicate special handling criteria, installation sequence and cleaning procedures. 

1.4 CLOSEOUT SUBMITTALS
.1 Submit operation and maintenance data for baseboard convectors in accordance with Section 01 78 00 - Closeout Submittals.
1.5 WASTE MANAGEMENT AND DISPOSAL

.1 Separate and recycle waste materials in accordance with Section 01 74 21 – Construction/Demolition Waste Management And Disposal, and with Waste Reduction Workplan.

.2 Remove from site and dispose of packaging materials at appropriate recycling facilities.

.3 Collect and separate for disposal paper, plastic, polystyrene, corrugated cardboard, packaging material in appropriate on-site bins for recycling in accordance with Waste Management Plan.

.4 Divert unused metal and wiring materials from landfill to metal recycling facility approved by Owner.

.5 Collect, package and store existing convector units for either reuse or recycling and return to recycler in accordance with Waste Management Plan. 
Part 2 Products
2.1 BASEBOARD CONVECTORS
.1 Heaters: to CSA C22.2 No.46 standard wattage density as indicated with connection box both ends.

.1 Element through-type fitted with aluminum convector vanes and resistor wire enclosed in mineral insulation in aluminum sheath.

.2 Element: locked to cabinet and supported at additional points throughout length to allow for linear expansion with non metallic supports.

.3 Cabinet: to CSA C22.2 No.46, pre-drilled back for securing to wall. Integral air diffusion reflector with wireway at bottom and built-in clamps.

.1 Bottom inlet/front outlet.

.2 Front inlet/front outlet.

.3 Bottom inlet/sloping top outlet.

.4 Panel: steel, metal thickness, bottom 1.0 mm, front 1.6 mm thick.

.5 Finish: phosphatized and finished with 2 coats baked enamel, beige colour.

.4 Blank cabinet sections and outside, inside corners complete with wireway in sections including splice plates, to match heater cabinets in respect for continuous baseboard effect as indicated.

2.2 CONTROLS
.1 Wall mounted thermostats: type line, low voltage or electronic, and solid state relays Energy Star certified, to Section 23 09 33 - Electric and Electronic Control System for HVAC or Section 25 30 02 – EMCS: Field Control Devices as indicated.
.2  Integral thermostats 1 or 2 pole to control load as indicated.

.3 Relays and transformers to switch loads in excess of thermostat rating.

.4 Double pole, double throw switch and receptacle terminal box assembly for combination heater and air conditioner power supply.

Part 3 Execution
3.1 INSTALLATION
.1 Install baseboard convector heaters, blank sections and controls.

.2 When wireway is used, remove knock-outs and insert insulating bushing between units.

.3 Install grounding wire to maintain ground integrity between heating, blank, and auxiliary sections.

.4 Install thermostats in locations indicated.

.5 Make power and control connections.

3.2 commissioning  
.1 Perform tests in accordance with Section 26 05 00 – Common Work Results - Electrical and Section 01 91 13.13 – Commissioning (Cx) Requirements.

.2 Ensure that heaters and thermostatic controls operate correctly.

.3 Provide reports in accordance with Section 01 91 13.13 – Commissioning (Cx) Requirements.  

END OF SECTION

Ver. 10/22

