# General

## SUMMARY

### Section Includes.

#### Requirements and procedures for training program, instructors and training materials, for building Energy Monitoring and Control System (EMCS) Work.

## Related Sections

### Section 01 33 00 - Submittal Procedures.

### Section 25 05 01 - EMCS: General Requirements.

## DEFINITIONS

### CDL - Control Description Logic.

### For additional acronyms and definitions refer to Section 25 05 01 - EMCS:  General Requirements

## SUBMITTALS

### Submittals in accordance with Section 01 33 00 - Submittal Procedures and supplemented and modified by requirements of this Section.

### Submit training proposal complete with hour-by-hour schedule including brief overview of content of each segment to Owner 30 days prior to anticipated date of beginning of training.

#### List name of trainer, and type of visual and audio aids to be used.

#### Show co-ordinated interface with other EMCS mechanical and electrical training programs.

### Submit reports within one week after completion of Phase 1 and Phase 2 training program that training has been satisfactorily completed.

## QUALITY ASSURANCE

### Provide competent instructors thoroughly familiar with aspects of EMCS installed in facility.

### Owner reserves right to approve instructors.

## INSTRUCTIONS

### Provide instruction to designated personnel in adjustment, operation, maintenance and pertinent safety requirements of EMCS installed.

### Training to be project-specific.

## TIME FOR INSTRUCTION

### Number of days of instruction to be as specified in this section (1 day = 7 hours including two 15 minute breaks and excluding lunch time).

## TRAINING MATERIALS

### Provide equipment, visual and audio aids, and materials for classroom training.

### Supply manual for each trainee, describing in detail data included in each training program.

#### Review contents of manual in detail to explain aspects of operation and maintenance (O&M).

## TRAINING PROGRAM

### To be in 2 phases over 6 month period.

### Phase 1: 2 day program to begin before 30 day test period at time mutually agreeable to Contractor, Owner and Commissioning Co-ordinator.

#### Train O&M personnel in functional operations and procedures to be employed for system operation.

#### Supplement with on-the-job training during 30 day test period.

#### Include overview of system architecture, communications, operation of computer and peripherals, report generation.

#### Include detailed training on operator interface functions for control of mechanical systems, CDL's for each system, and elementary preventive maintenance.

#### Introduction to Direct Digital Controls and BACnet protocol.

#### Identification of Control Components.

#### Review of DDC Network Diagram for building.

#### Review of shop drawings for building.

#### Detailed discussion of sequences of operation

#### Walk through of mechanical systems.

### Phase 2: 5 day program to begin 8 weeks after acceptance for operators, equipment maintenance personnel and programmers.

#### Provide multiple instructors on pre-arranged schedule. Include at least

##### Operator training: provide operating personnel, maintenance personnel and programmers with condensed version of Phase 1 training.

##### Equipment maintenance training: provide personnel with 2 days training within a 5 day period in maintenance of EMCS components, maintenance and calibration of sensors and controls.

##### Programmers: provide personnel with 2 days training within a 5 day period in following subjects in approximate percentages of total course shown:

###### Software and architecture: 10%

###### Application programs: 15%

###### Controller programming: 50%

###### Trouble shooting and debugging:10%

###### Colour graphic generation: 15%

###### Display and interpret summaries

###### Command points

###### Modify points and point groups

###### Define trend logs

###### Schedule and print reports

## ADDITIONAL TRAINING

### List courses offered by name, duration and approximate cost per person per week. Note courses recommended for training supervisory personnel.

## MONITORING OF TRAINING

### Owner to monitor training program and may modify schedule and content.

# Products (NOT USED)

# EXECUTION (NOT USED)

END OF SECTION