NL Master Specification Guide

for Public Funded Buildings
Issued 2008/03/18
 Section 26 05 37 – Wireways and Auxiliary Gutters
Page 1 of 1

Part 1 General

1.1 RELATED SECTIONS
.1 Section 01 33 00 - Submittal Procedures.
1.2 REFERENCES
.1 Canadian Standards Association (CSA)
.1 CSA C22.2 No.26, Construction and Test of Wireways, Auxiliary Gutters and Associated Fittings.
Part 2 Products
2.1 WIREWAYS
.1 Wireways and fittings: to CSA C22 No. 26.
.2 Sheet steel with hinged and bolted cover to give uninterrupted access.

.3 Finish: baked grey enamel.

.4 Elbows, tees, couplings and hanger fittings manufactured as accessories to wireway supplied.

Part 3 Execution
3.1 INSTALLATION
.1 Install wireways and auxiliary gutters.
.2 Keep number of elbows, offsets, connections to minimum.

.3 Install supports, elbows, tees, connectors, fittings.

.4 Install barriers where required.

.5 Install gutter to full length of equipment.


END OF SECTION

Ver. 10/22

