NL Master Specification Guide

for Public Funded Buildings
Issued 2017/05/31
Section 26 24 01 – Service Equipment
Page 1 of 2

Part 1 General

1.1 SECTION INCLUDES
.1 Service equipment and installation.
1.2 RELATED SECTIONS
.1 Section 26 05 28 - Grounding - Secondary.

.2 Section 26 05 31 - Splitters, Junction, Pull Boxes and Cabinets.
.3 Section 26 24 16.01 - Panelboards - Breaker Type.

.4 Section 26 24 16.02 - Panelboards - Switch and Fuse Type.

.5 Section 26 28 16.02 - Moulded Case Circuit Breakers.

.6 Section 26 28 23 - Disconnect Switches - Fused and Non-Fused.

.7 Section 26 28 20 - Ground Fault Circuit Interrupters - Class "A".

Part 2 Products
2.1 EQUIPMENT
.1 Fused disconnect switch: in accordance with Section 26 28 23 - Disconnect Switches - Fused and Non-Fused, rating as indicated. 
.2 Enclosed circuit breaker: in accordance with Section 26 28 16.02 - Moulded Case Circuit Breakers, rating as indicated.  

.3 Panelboard breaker type: in accordance with Section 26 24 16.01 - Panelboards - Breaker Type Fusible type: in accordance with Section 26 28 16.02 - Panelboards - Switch and Fuse Type, rating as indicated.  

.4 Cabinet type 'A' for utility revenue metering Junction box Pull box Splitter box: in accordance with Section 26 05 31 - Splitters, Junction, Pull Boxes and Cabinets, size as indicated. 
.5 Ground fault equipment: in accordance with Section 26 28 20 - Ground Fault Circuit Interrupters - Class "A". 

Part 3 Execution
3.1 INSTALLATION
.1 Install service equipment.
.2 Connect to incoming service.

.3 Connect to outgoing load circuits.

.4 Install ground fault equipment.

.5 Make grounding connections in accordance with Section 26 05 28 - Grounding – Secondary. 

.6 Make provision for power supply authority's metering.

END OF SECTION

Ver. 10/22

