NL Master Specification Guide

for Public Funded Buildings
Issued 2008/03/18
Section 26 27 19 – Multi-Outlet Assemblies
Page 1 of 2

Part 1 General

1.1 Related Sections
.1 Section 01 33 00 – Submittal Procedures.
.2 Section 26 27 26 - Wiring Devices.
1.2 SUBMITTALS
.1 Indicate type of multi-outlet assemblies with similar terminology to these documents.
Part 2 Products
2.1 Surface Raceway for Wiring Devices
.1 Two piece assembly manufactured for mounting wiring devices and associated wiring.
.2 Cross-section dimensions: as indicated.

.3 Finish: buff enamel.
2.2 Wiring Devices
.1 Wiring devices: as indicated, to Section 26 27 26 - Wiring Devices.
2.3 Prewired Receptacle Harness
.1 Receptacle harness factory assembled with duplex receptacles at 1525 mm centres on 1 circuit.
2.4 Grounding
.1 Ground system through separate insulated conductor.
2.5 Vinyl Plastic Strip
.1 Extruded rigid vinyl plastic with 2- No.12 AWG copper wires and continuous ground strip.
.2 Unfused "U" ground lock-in receptacle for each 1.5 m of strip as indicated.

2.6 Fittings
.1 Elbows, tees, couplings, hanger fittings and other fittings providing directional or dimensional changes manufactured as accessories to product line supplied.
Part 3 Execution
3.1 Fittings
.1 Install supports, elbows, tees, connectors, fittings.
.2 Keep number of elbows, offsets and connections to minimum.

.3 Install barriers where required.

3.2 Wiring
.1  Install wiring as indicated Install receptacle harness.
3.3 Vinyl Strip Receptacles
.1  Install receptacles. 
END OF SECTION

Ver. 10/22

