NL Master Specification Guide

for Public Funded Buildings
Re-Issued 2021/05/31
Section 26 29 01 – Contactors 
Page 1 of 2

Part 1 General

1.1 SECTION INCLUDES
.1 Materials and installation for contactors for system voltages up to 600 V
1.2 RELATED SECTIONS
.1 Section 01 33 00 - Submittal Procedures.
.2 Section 01 91 13.13 – Commissioning (Cx) Requirements.
.3 Section 26 05 00 – Common Work Results - Electrical.

.4 Section 26 29 03 - Control Devices.
1.3 REFERENCES
.1 Canadian Standards Association (CSA)
.1 CSA C22.2 No.14, Industrial Control Equipment.
Part 2 Products
2.1 CONTACTORS
.1 Contactors: to CSA C22.2 No.14.
.2  Electrically held controlled by pilot devices as indicated and rated for type of load controlled. Half size contactors not accepted.  
.3  Fused switch combination contactor as indicated.

.4 Complete with 2 normally open and 2 normally closed auxiliary contacts unless indicated otherwise.

.5 Mount in CSA Enclosure 1 unless otherwise indicated.

.6 Include following options in cover:

.1 Red indicating lamp.
.2 Hand-Off-Auto selector switch.

.7 Control transformer: in accordance with Section 26 29 03 - Control Devices, in contactor enclosure.
2.2 EQUIPMENT IDENTIFICATION
.1 Provide equipment identification in accordance with Section 26 05 00 – Common Work Results - Electrical. 
.2 Size 4 nameplate indicating name of load controlled as indicated.

Part 3 Execution
3.1 INSTALLATION
.1 Install contactors and connect auxiliary control devices.
END OF SECTION

Ver. 10/22

