NL Master Specification Guide

for Public Funded Buildings
Re-Issued 2021/05/31
Section 26 56 20 – Performance Lighting System
Page 1 of 3

PART 1  
GENERAL
1.1 RELATED WORK 

.1 All raceways and associated outlet boxes have been specified under other specification sections. 

1.2 RELATED SECTIONS

.1 Section 01 33 00 – Submittals.

.2 Section 01 91 13.13 – Commissioning (Cx) Requirements.

.3 Section 26 05 00 – Common Work Results – Electrical.

.4 Section 26 05 32 – Outlet Boxes, Conduit Boxes and Fittings.

.5 Section 26 05 34 – Conduits, Conduit Fastenings and Conduit Fittings.

.6 Section 26 50 00 – Lighting.

1.3 TRAINING
.1 Arrange and pay for on-site lectures and demonstrations by system manufacturer to train operating personnel in the use and maintenance of the system.

1.4 Warranty
.1 Provide manufacturer product warranty against defects in operation, material and workmanship or a period of three (3) years from date of Substantial Completion.

Part 2 PRODUCTS

2.1 LAPTOP COMPUTER 

.1 Laptop computer to meet or exceed the Government of Newfoundland and Labrador’s current minimum specifications for microcomputer systems and peripherals identified under the latest Standing Offer Agreement for Microcomputer Hardware (Systems).
.2 The latest microcomputer specifications can be obtained from:

.1 Ms. Shirley Barnable
Office of the Chief Information Officer
40 Higgins Line
St. John’s, NL

A1B 4J6
Phone: 709-729-5137
Or

Ms. Kerry Gosse
Office of the Chief Information Officer

40 Higgins Line
St. John’s, NL

A1B 4J6

Phone: 709-729-5573
2.2 COMPUTER-SYSTEM INTERFACE 

.1 Interface module as required to connect computer to system distribution amplifier for control of lighting system.  

2.3 DISTRIBUTION AMPLIFIER 

.1 DMX distribution amplifier for control of stage lighting dimmers.  Wall mounted where indicated.  120 volt input.  

2.4 DIMMER RACEWAY 

.1 Intelligent raceway master assemblies c/w dual dimmers, connections, terminal box and pipe hangers.

.2 8 m assemblies (3 required) c/w six dual dimmers each. 

.3 1 m assemblies (two required)c/w one dimmer each.

2.5 RACEWAY SUSPENSION 

.1 Provide a retractable suspension system under this contract to raise and lower the light pipe and dimmer assembly. This contractor to ensure adequate cable is provided to accommodate this function. The excess cable droop is to be supported using an approved method. Ensure the dimmer raceway is suspended such that it remains aligned as it is raised and lowered.
2.6 STAGE LIGHTING FIXTURES

.1 Flood, wash and spot lighting fixtures for performance lighting system as per lighting schedule.

.2 Fixtures to be complete with all accessories listed in schedule and cord/plug sets. 

2.7 CONNECTION HARDWARE 

.1 Provide all connection cables, connectors, wall plates, etc. required for a complete operational system.  

2.8 SOFTWARE


.1 Software package to be installed on laptop computer supplied with system. Software to be provided on CD.

Part 3 EXECUTION

3.1 INSTALLATION 

.1 Install lighting control system, components and software in accordance with manufacturer’s instructions.  

.2 Connect all components.  
3.2 FIELD QUALITY CONTROL 
.1 Provide tests in accordance with Section 26 05 00 – Common Work Results - Electrical and Section 01 91 13.13 – Commissioning (Cx) Requirements.

.2 Demonstrate computer control of all lighting fixtures. 
END OF SECTION
Ver. 10/22

