# General

## RELATED SECTIONS

### Section 01 91 13.13 - Commissioning (Cx) Requirements.

### Section 01 21 00 - Allowances.

### Section 06 10 53 – Miscellaneous Rough Carpentry.

### Section 26 05 28 - Grounding - Secondary.

### Section 27 05 28 - Pathways for Communications Systems.

### Section 33 65 73 - Concrete Encased Duct Banks and Manholes.

### Section 33 65 76 - Direct Buried Underground Cable Ducts.

### Section 33 71 20 - Electric Pole Lines and Hardware.

## REFERENCES

### Canadian Standards Association (CSA)

#### CAN/CSA-C83, Communication and Power Line Hardware.

## DESCRIPTION OF SYSTEM

### Incoming telephone service facilities from Owner’s termination pole at property line to main terminal in concrete encased underground duct.

### Incoming cable television service facilities from Owner’s termination pole at property line to main terminal in concrete encased underground duct.

## CO-ORDINATION WITH TELEPHONE AND TELECOMMUNICATION AUTHORITIES

### Co-ordinate with Telephone authority to ensure availability of service. Use cash allowance as per Section 01 21 00 – Allowances to cover costs associated with contribution-in-aid of construction to Utility authority for telephone services as required.

### Co-ordinate with Cable TV authority to ensure availability of service.

# Products

## MATERIALS

### Manholes and duct banks: in accordance with Section 33 65 73 - Concrete Encased Duct Banks and Manholes.

### Pole lines and hardware: in accordance with Section 33 71 20 – Electric Pole Lines and Hardware

### Grounding: in accordance with Section 26 05 28 - Grounding – Secondary.

### Direct buried cable ducts: in accordance with Section 33 65 76 - Direct Buried Underground Cable Ducts.

### Telecommunications raceway system: in accordance with Section 27 05 28 – Pathways for Communications Systems.

### Overhead service mast.

### Communication line hardware to CAN/CSA-C83.

# Execution

## INSTALLATION

### Install telephone service facilities as indicated in concrete encased duct bank.

### Install cable TV service facilities as indicated in concrete encased duct bank.

### Install 19 mm thick plywood backboard in each telephone room one each for telephone and cable TV, minimum size 1200 mm x 2400 mm

### Install grounding facilities and make connections.

### Install mast on building for telephone and cable TV (one each) as indicated for services that are not available thru an underground concrete encased duct bank.

END OF SECTION