NL Master Specification Guide

for Public Funded Buildings
Re-Issued 2019/09/10
Section 31 11 00 – Clearing and Grubbing
Page 1 of 5

Part 1 GENERAL

1.1 RELATED SECTIONS

.1 Section 01 35 43 - Environmental Procedures.
.2 Section 31 23 16.26 - Rock Removal.

.3 Section 31 23 33.01 - Excavation, Trenching and Backfilling.

1.2 DEFINITIONS

.1 Clearing consists of cutting off trees and brush vegetative growth to not more than a specified height above ground and disposing of felled trees, previously uprooted trees and stumps, and surface debris.
.2 Close-cut clearing consists of cutting off standing trees, brush, scrub, roots, stumps and embedded logs, removing at, or close to, existing grade and disposing of fallen timber and surface debris.

.3 Clearing isolated trees consists of cutting off to not more than specified height above ground of designated trees, and disposing of felled trees and debris.

.4 Underbrush clearing consists of removal from treed areas of undergrowth, deadwood, and trees smaller than 50 mm trunk diameter and disposing of all fallen timber and surface debris.

.5 Grubbing consists of excavation and disposal of stumps and roots boulders and rock fragments of specified size to not less than a specified depth below existing ground surface.

1.3 QUALITY ASSURANCE

.1 Safety Requirements: worker protection.

.1 Workers must wear gloves, dust masks, eye protection, protective clothing, when applying herbicide materials.
.2 Workers must wear gloves, dust masks, safety boots, protective clothing, eye protection, safety vests when clearing and grubbing.
.3 Workers must not eat, drink or smoke while applying herbicide material.

.4 Clean up spills of preservative materials immediately with absorbent material and safely discard to landfill.

1.4 STORAGE AND PROTECTION

.1 Prevent damage to fencing, trees, landscaping, natural features, bench marks, existing buildings, existing pavement, utility lines, site appurtenances, water courses, root systems of trees which are to remain.

.2 Repair any damaged items to approval of Owner. Replace any trees designated to remain, if damaged, as directed by Owner.

1.5 WASTE MANAGEMENT AND DISPOSAL

.1 Consider felled timber from which saw logs, pulpwood, posts, poles, ties, or fuel wood can be produced as saleable timber.

.2 Trim limbs and tops, and saw into saleable lengths. Stockpile adjacent to site.

Part 2 PRODUCTS (NOT APPLICABLE)
Part 3 EXECUTION

3.1 PROTECTION

.1 Provide temporary erosion and sedimentation control measures to prevent soil erosion and discharge of soil-bearing water runoff or airborne dust to adjacent properties and walkways, according to requirements of authorities having jurisdiction.
.2 Inspect, repair, and maintain temporary erosion and sedimentation control measures during construction until permanent vegetation has been established.
.3 Remove temporary erosion and sedimentation controls and restore and stabilize areas disturbed during removal.
3.2 PREPARATION

.1 Inspect site and verify with Owner, items designated to remain.
.2 Locate and protect utility lines. Preserve in operating condition active utilities traversing site:
.1 Notify Owner immediately of damage to or when unknown existing utility lines are encountered.

.2 When utility lines which are to be removed are encountered within area of operations, notify Owner in ample time to minimize interruption of service.

.3 Notify utility authorities before starting clearing and grubbing.

.4 Keep roads and walks free of dirt and debris.

3.3 CLEARING

.1 Clearing includes felling, trimming and cutting of trees into sections and satisfactory disposal of trees and other vegetation designated for removal, including downed timber, snags brush and rubbish occurring within cleared areas.
.2 Clear as directed by Owner, by cutting at a height of not more than 300 mm above ground. In areas to be subsequently grubbed, height of stumps left from clearing operations to be not more than 1000 mm above ground surface.
.3 Cut off branches and cut down trees overhanging area cleared as directed by Owner.

.4 Cut off unsound branches on trees designated to remain as directed by Owner.

3.4 CLOSE CUT CLEARING

.1 Close cut clearing to ground level.
.2 Cut off branches down trees overhanging area cleared as directed by Owner.

.3 Cut off unsound branches on trees designated to remain as directed by Owner.

3.5 ISOLATED TREES

.1 Cut off isolated trees as directed by Owner at height of not more than 300 mm above ground surface.
.2 Grub out isolated tree stumps.
.3 Prune individual trees as indicated.
.4 Trim trees designated to be left standing within cleared areas of dead branches 4.0 cm or more in diameter; and trim branches to heights as indicated.
.5 Cut limbs and branches to be trimmed close to bole of tree or main branches.
3.6 UNDERBRUSH CLEARING

.1 Clear underbrush from areas as indicated at ground level.
3.7 GRUBBING

.1 Remove and dispose of roots larger than 7.5 cm in diameter, matted roots and designated stumps from indicated grubbing area.
.2 Grub out stumps and roots to not less than 200 mm below ground surface.
.3 Grub out visible rock fragments and boulders, greater than 300 mm in greatest dimension, but less than 0.25 m3.
.4 Fill depressions made by grubbing with suitable material and to make new surface conform with existing adjacent surface of ground.
3.8 REMOVAL AND DISPOSAL

.1 Remove cleared and grubbed materials off site.
.2 Cut timber greater than 125 mm diameter to 3000mm lengths and stockpile as indicated. Unless otherwise notified, stockpiled timber becomes property of the Owner.

.3 Dispose of cleared and grubbed materials off site.
.4 Remove diseased trees identified by Owner and dispose of this material to approval of Owner.

3.9 FINISHED SURFACE

.1 Leave ground surface in condition suitable for immediate grading operations stripping of topsoil to approval of Owner.

3.10 CLEANING

.1 On completion and verification of performance of installation, remove surplus materials, excess materials, rubbish, tools and equipment.

END OF SECTION

Ver. 10/22

