# GENERAL

## RELATED SECTIONS

### Section 31 05 16 – Aggregates for Earthwork.

### Section 32 11 16.01 - Granular Sub Base.

## REFERENCES

### American Society for Testing and Materials (ASTM).

#### ASTM C117, Standard Test Method for Material Finer Than 0.075 mm Sieve in Mineral Aggregates by Washing.

#### ASTM C136, Standard Test Method for Resistance to Degradation of Small-Size Coarse Aggregate by Abrasion and Impact in the Los Angeles Machine.

#### ASTM D136, Standard Test Method for Sieve Analysis of Fine and Course Aggregated.

#### ASTM D698, Stand Test Methods for Laboratory Compaction Characteristics of Soil Using standard Effort (12,400 ft-lbf/ft3) (600 N m/m3).

#### ASTM D1557, Test Method for Laboratory Compaction Characteristics of Soil Using Modified Effort (56,000 ft-lbf/ft3) (2,700 kN-m/m3).

#### ASTTM D 1883, Standard Test Method of CBR (California Bearing Ratio) of Laboratory Compacted Soil.

#### ASTM D4318, Standard Test Methods for Liquid Unit, Plastic Unit and Plasticity Index of Soils.

### Canadian General Standards Board (CGSB)

#### CAN/CGSB-8.1, Sieves, Testing, Woven-Wire, Inch Series.

#### CAN/CGSB-8.2-, Sieves, Testing, Woven Wire, Metric.

## DELIVERY, STORAGE, AND HANDLING

### Deliver and stockpile aggregates in accordance with Section 31 05 16 – Aggregates for Earthwork. Stockpile minimum 50% of total aggregate required prior to commencing operation.

### Store cement in weathertight bins or silos that provide protection from dampness and easy access for inspection and identification of each shipment.

# PRODUCTS

## MATERIALS

### Granular base: material to Section 31 05 16 - Aggregates for Earthwork and the following requirements:

#### Crushed stone or gravel.

#### Granulations to be within limits specified when tested to ASTM C136 and ASTM C117.  Sieve sizes to CAN/CGSB - 8.1.

##### Granulation to:

Sieve Designation                   % Passing (Base Type 1)

200 mm					-

75 mm					-

50 mm					-

38.1 mm					-

25 mm					-

19 mm				    100

15.9 mm					-

12.5 mm					-

9.5 mm				   55-80

4.75 mm			      	35-60

2.00 mm					-

1.20 mm			   	17-35

0.425 mm					-

0.180 mm					-

0.075 mm			   	 3-6

#### .Liquid limit: to ASTM D4318, maximum 25

#### Plasticity index: to ASTM D4318 maximum 6

#### Los Angeles degranulation: to ASTM C131.  Maximum % loss by weight 45.

#### Crushed particles: at least 60% of particles by mass within each of following sieve designation ranges to have at least 1 (one) freshly fractured face.  Materials to be divided into ranges using methods of ASTM C136.

Passing	Retained on

50 mm        to        25   mm

25 mm        to        19   mm

19 mm        to     4.75   mm

#### Soaked CBR to ASTMD1833, min 100 when compacted to 100% of ASTM D1557.

# EXECUTION

## SEQUENCE OF OPERATION

### Place granular base after granular sub base surface is inspected and approved by Owner.

#### Construct granular base to depth and grade in areas indicated.

#### Ensure no frozen material is placed.

#### Place material only on clean unfrozen surface, free from snow and ice.

#### Place material using methods which do not lead to segregation or degradation of aggregate.

#### Place material to full width in uniform layers not exceeding 150 mm compacted thickness. Owner may authorize thicker lifts (layers) if specified compaction can be achieved.

#### Shape each layer to smooth contour and compact to specified density before succeeding layer is placed.

#### Remove and replace that portion of layer in which material becomes segregated during spreading.

### Compaction Equipment

#### Compaction equipment to be capable of obtaining required material densities.

### Compacting

#### Compact to density not less than 100% corrected maximum dry density ASTM D698

#### Shape and roll alternately to obtain smooth, even and uniformly compacted base.

#### Apply water as necessary during compacting to obtain specified density.

#### In areas not accessible to rolling equipment, compact to specified density with mechanical tampers approved by Owner.

#### Correct surface irregularities by loosening and adding or removing material until surface is within specified tolerance.

## SITE TOLERANCES

### Finished base surface to be within plus or minus 10 mm of established grade and cross section but not uniformly high or low.

## PROTECTION

### Maintain finished base in condition conforming to this section until succeeding material is applied or until acceptance by Owner.

END OF SECTION