# GENERAL

## RELATED WORK

### Section 01 33 00 - Submittal Procedures.

### Section 01 61 00 – Common Product Requirements

### Section 01 78 00 - Closeout Submittals.

### Section 03 30 00 - Cast-in-Place Concrete.

### Section 31 05 16 – Aggregates for Earthwork.

### Section 31 23 33.01 - Excavating Trenching and Backfilling.

### Section 33 05 13 – Maintenance Holes and Catch Basin Structures.

## References

### American Society for Testing and Materials International, (ASTM)

#### ASTM B745/745M, Standard Specification of Corrugated Aluminum Pipes for Sewers and Drains.

#### ASTM C117, Standard Test Method for Material Finer Than 75 [MU] m (No. 200) Sieve in Mineral Aggregates by Washing.

#### ASTM C136, Standard Test Method for Sieve Analysis of Fine and Coarse Aggregates.

#### ASTM D698, Standard Test Method for Laboratory Compaction Characteristics of Soil Using Standard Effort (12,400 ft4-lbf/ft3 (600 kN-m/m3)).

#### ASTM D3034, Standard Specification for Type PSM Poly (Vinyl Chloride) (PVC) Sewer Pipe and Fittings.

### American Water Works Association (AWWA)

#### AWWA C104/A21.4, Cement-Mortar Lining for Ductile-Iron Pipe and Fittings.

### Canadian General Standards Board (CGSB). CSA B137, Thermoplastic Pressure Piping Compendium.

#### CAN/CGSB-8.1, Sieves, Testing, Woven Wire.

### Canadian Standards Association (CSA International)

#### CSA A257 Series, Reinforced Circular Concrete Culvert, Storm Drain, Sewer Pipe, and Fittings.

#### CAN/CSA-A3000, Cementitious Materials Compendium (Consists of A5-98, A8-98, A23.5-98, A362-98, A363-98, A456.1-98, A456.2-98, A456.3-98).

##### CAN/CSA-A5, Portland Cement.

#### CSA B137, Thermoplastic Pressure Piping Compendium.

#### CSA B1800, Plastic Non-pressure Pipe Compendium - B1800 Series (Consists of B181.1, B181.2, B181.3, B181.5, B182.1, B182.2, B182.4, B182.6, B182.7, B182.8 and B182.11).

##### CSA B182.2, PVC Sewer Pipe and Fittings (PSM Type).

##### CSA B182.11, Recommended Practice for the Installation of Thermoplastic Drain, Storm, and Sewer Pipe and Fittings.

#### CSA G401, Corrugated Steel Pipe Products.

## DEFINITIONS

### Pipe section is defined as length of pipe between successive manholes and/or between manhole and any other structure which is part of sewer system.

## SUBMITTALS

### Shop drawings to indicate proposed method for installing carrier pipe for undercrossings.

### Inform Owner at least four (4) weeks prior to beginning Work, of proposed source of bedding materials and provide access for sampling.

### Submit manufacturer's test data and certification at least two (2) weeks prior to beginning Work.

### Ensure certification is marked on pipe.

## DELIVERY, STORAGE AND HANDLING

### Deliver, store and handle materials in accordance with Section 01 61 00 - Common Product Requirements.

## RECORD DRAWINGS

### Provide record drawings, including directions of operating valves, list of equipment required to operate valves, details of pipe materials, location of air and vacuum release valves, maintenance and operating instructions in accordance with Section 01 78 00 – Closeout Submittals.

## SCHEDULING

### Schedule Work to minimize interruptions to existing services and maintain existing sewage flows during construction.

### Submit schedule of expected interruptions for approval and adhere to approved schedule.

### Notify Owner and building manager superintendent two (2) working days in advance of any interruption in service.

# PRODUCTS

## PLASTIC PIPE

### Type PSM Polyvinyl Chloride (PVC): to ASTM D3034.

#### Separate gasket and integral bell system.

#### Nominal lengths: 6.0 m.

## SERVICE CONNECTIONS

### Type PSM Poly (Vinyl) Chloride: to CAN/CSA-B182.2.

### Plastic: to CAN/CSA B182.1, with push-on-joints.

## CEMENT MORTAR

#### Portland cement: to CAN/CSA-A5. Normal type 10.

#### Mix mortar one part by volume of cement to two parts of clean, sharp sand mixed dry. Add only sufficient water after mixing to give optimum consistency for placement. Do not use additives.

## PIPE BEDDING AND SURROUND MATERIALS

### Granular material to Section 31 05 16 – Aggregates for Earthwork and following requirements:

#### Crushed or screened stone, gravel or sand.

#### Gradations to be within limits specified when tested to ASTM C136 and ASTM C117. Sieve sizes to CAN/CGSB-8.1.

### Table

| Sieve Designation | % Passing Stone/Gravel | % Passing Gravel/Sand |
| --- | --- | --- |
| 200 mm | - | - |
| 75 mm | - | - |
| 50 mm | - | - |
| 38.1 mm | - | - |
| 25 mm | 100 | - |
| 19 mm | - | - |
| 12.5 mm | 65-90 | 100 |
| 9.5 mm | - | - |
| 4.75 mm | 35-55 | 50-100 |
| 2.00 mm | - | 30 - 90 |
| 0.425 mm | 10-25 | 10 - 50 |
| 0.180 mm | - | - |
| 0.075 mm | 0-8 | 0-10 |

### Concrete mixes and materials for cradles, encasement, supports: to Section 03 30 00 - Cast-in-Place Concrete.

## BACKFILL MATERIAL

### Type 3, in accordance with Section 31 23 33.01 - Excavating, Trenching and Backfilling.

# EXECUTION

## PREPARATION

### Clean and dry pipes and fittings before installation.

### Obtain approval of pipes and fittings from Owner prior to installation.

## TRENCHING

### Do trenching Work in accordance with Section 31 23 33.01 - Excavating, Trenching and Backfilling.

### Do not allow contents of any sewer or sewer connection to flow into trench.

### Trench alignment and depth require approval of Owner prior to placing bedding material and pipe.

## CONCRETE BEDDING AND ENCASEMENT

### Do concrete Work in accordance with Section 03 30 00 - Cast-in-Place Concrete. Place concrete to details as directed by Owner.

### Position pipe on concrete blocks to facilitate placing of concrete. When necessary, rigidly anchor or weight pipe to prevent flotation when concrete is placed.

### Do not backfill over concrete within 24 hours after placing.

## GRANULAR BEDDING

### Place bedding in unfrozen condition.

### Place granular bedding materials in uniform layers not exceeding 150 mm compacted thickness to depth indicated.

### Shape bed true to grade and to provide continuous, uniform bearing surface for pipe. Do not use blocks when bedding pipe.

### Shape transverse depressions as required to suit joints.

### Compact each layer full width of bed to at least 95 % maximum density to ASTM D698.

### Fill excavation below bottom of specified bedding adjacent to manholes or structures with compacted bedding material.

## INSTALLATION

### Lay and join pipes in accordance with manufacturer's recommendations and to approval of Owner.

### Handle pipe using methods approved by Owner. Do not use chains or cables passed through rigid pipe bore so that weight of pipe bears upon pipe ends.

### Lay pipes on prepared bed, true to line and grade, with pipe invert smooth and free of sags or high points. Ensure barrel of each pipe is in contact with shaped bed throughout its full length. Tolerances: 3.0 mm in 3.0 m.

### Commence laying at outlet and proceed in upstream direction with socket ends of pipe facing upgrade.

### Do not exceed maximum joint deflection recommended by pipe manufacturer.

### Do not allow water to flow through pipe during construction, except as may be permitted by Owner.

### Whenever Work is suspended, install removable watertight bulkhead at open end of last pipe laid to prevent entry of foreign materials.

### Install plastic pipe and fittings in accordance with CSA B182.11.

### Pipe jointing:

#### Install gaskets in accordance with manufacturer's recommendations.

#### Support pipes with hand slings or crane as required to minimize lateral pressure on gasket and maintain concentricity until gasket is properly positioned.

#### Align pipes before joining.

#### Maintain pipe joints free from mud, silt, gravel and other foreign material.

#### Avoid displacing gasket or contaminating with dirt or other foreign material. Gaskets so disturbed shall be removed, cleaned and lubricated and replaced before joining is attempted.

#### Complete each joint before laying next length of pipe.

#### Minimize joint deflection after joint has been made to avoid joint damage.

#### At rigid structures, install pipe joints not more than 1.2 m from side of structure.

#### Apply sufficient pressure in making joints to ensure that joint is complete as outlined in manufacturer's recommendations.

### When stoppage of Work occurs, block pipes as directed by Owner to prevent creep during down time.

### Plug lifting holes with pre-fabricated plugs approved by Owner, set in shrinkage compensating grout.

### Cut pipes as required for special inserts, fittings or closure pieces as recommended by pipe manufacturer, without damaging pipe or its coating and to leave smooth end at right angles to axis of pipe.

### Make watertight connections to manholes. Use shrinkage compensating grout when suitable gaskets are not available.

### Use prefabricated saddles or field connections approved by Owner, for connecting pipes to existing sewer pipes. Joints to be structurally sound and watertight.

## PIPE SURROUND

### Place surround material in unfrozen condition.

### Upon completion of pipe laying, and after Owner has inspected pipe joints, surround and cover pipes as indicated. Leave joints and fittings exposed until field testing is completed.

### Hand place surround material in uniform layers not exceeding 150 mm compacted thickness as indicated. Do not dump material within 1.0 m of pipe.

### Place layers uniformly and simultaneously on each side of pipe.

### Compact each layer from pipe invert to mid height of pipe to at least 95 % maximum density to ASTM D698.

### Compact each layer from mid height of pipe to underside of backfill to at least 90 % corrected maximum density to ASTM D698.

### When field test results are acceptable to Owner, place surround material at pipe joints.

## BACKFILL

### Place backfill material in unfrozen condition.

### Place backfill material, above pipe surround in uniform layers not exceeding 150 mm compacted thickness up to grades as indicated.

### Under paving and walks, compact backfill to at least 95 % maximum density to ASTM D698. In other areas, compact to at least 90 % maximum density to ASTM D698.

## SERVICE CONNECTION

### Install pipe to CSA B182.11 and manufacturer's instructions and specifications.

### Maintain grade for sewers at 1 vertical to 50 horizontal unless directed otherwise by Owner.

### Service connection pipe: not to extend into interior of main sewer.

### Make up required horizontal and vertical bends from 45 degrees bends or less, separated by straight section of pipe with minimum length of four pipe diameters.

#### Use long sweep bends where applicable.

## FIELD TESTING

### Repair or replace pipe, pipe joint or bedding found defective.

### When directed by Owner, draw tapered wooden plug with diameter of 10 mm less than nominal pipe diameter through sewer to ensure that pipe is free of obstruction.

### Remove foreign material from sewers and related appurtenances by flushing with water.

### Perform infiltration and exfiltration testing as soon as practicable after jointing and bedding are complete, and service connections have been installed.

### Do infiltration and exfiltration testing as specified herein and as directed by Owner. Perform tests in presence of Owner. Notify Owner two (2) working days in advance of proposed tests.

### Carry out tests on each section of sewer between successive manholes including service connections.

### Install watertight bulkheads in suitable manner to isolate test section from rest of pipeline.

### Exfiltration test:

#### Fill test section with water to displace air in line. Maintain under nominal head for 24 hours to ensure absorption in pipe wall is complete before test measurements are begun.

#### Immediately prior to test period add water to pipeline until there is head of 1.0 m over interior crown of pipe measured at highest point of test section or water in manhole is 1.0 m above static ground water level, whichever is greater.

#### Duration of exfiltration test: 2 hours.

#### Water loss at end of test period: not to exceed maximum allowable exfiltration over any section of pipe between manholes.

### Infiltration test:

#### Conduct infiltration test in lieu of exfiltration test where static ground water level is 750 mm or more above top of pipe measured at highest point in line to be used.

#### Do not interpolate a head greater than 750 mm to obtain an increase in allowable infiltration rate.

#### Install watertight plug at upstream end of pipeline test section.

#### Discontinue pumping operations for at least 3 days before test measurements are to begin and during this time, keep thoroughly wet at least one third of pipe invert perimeter.

#### Prevent damage to pipe and bedding material due to flotation and erosion.

#### Place 90 degrees V-notch weir, or other measuring device approved by Owner in invert of sewer at each manhole.

#### Measure rate of flow over minimum of one (1) hour, with recorded flows for each 5 min interval.

### Infiltration and exfiltration not to exceed 5.5 L per hour per 100 m of pipe, including service connections.

### Repair visible leaks regardless of test results.

### Television and photographic inspections:  carry out inspection of installed sewers by television camera, photographic camera or by other related means.

### Provide certification of test acceptance. Provide Owner with copy of video tape, VHS format and certification of corrected deficiencies. If retesting is required Contractor to pay cost.

END OF SECTION